## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233188 | 2021-10-29 14:06 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5178 | μmol/L | 13.2582 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.43 | 131737.1592 | 299740.9399 | 59.9307 | 38.1
233198 | 2021-10-29 14:06 | 0.32742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.3497 | μmol/L | 13.2765 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.431 | 131783.1036 | 299768.7558 | 59.9307 | 38.1
233208 | 2021-10-29 14:06 | 0.66064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2424 | μmol/L | 13.2765 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.436 | 131833.0782 | 299790.4501 | 59.9307 | 38.1
233218 | 2021-10-29 14:07 | 0.99413 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.184 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.441 | 131869.7106 | 299817.474 | 59.9307 | 38.1
233228 | 2021-10-29 14:07 | 1.3272 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2233 | μmol/L | 13.2521 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.446 | 131910.9292 | 299844.4841 | 59.9307 | 38.1
233238 | 2021-10-29 14:07 | 1.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.3425 | μmol/L | 13.2399 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.445 | 131935.0957 | 299874.9091 | 59.9307 | 38.1
233248 | 2021-10-29 14:08 | 1.9937 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.3055 | μmol/L | 13.2338 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.449 | 131969.2506 | 299886.5202 | 59.9307 | 38.1
233258 | 2021-10-29 14:08 | 2.3272 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2901 | μmol/L | 13.2277 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.452 | 132017.3324 | 299921.0892 | 59.9307 | 38.1
233268 | 2021-10-29 14:08 | 2.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.1923 | μmol/L | 13.2399 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.452 | 132058.2003 | 299938.1043 | 59.9307 | 38.1
233278 | 2021-10-29 14:09 | 2.9937 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0637 | μmol/L | 13.2399 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.458 | 132089.8415 | 299941.3985 | 59.9307 | 38.1
233288 | 2021-10-29 14:09 | 3.3273 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9875 | μmol/L | 13.2521 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.457 | 132111.5187 | 299969.5577 | 59.9307 | 38.1
233298 | 2021-10-29 14:09 | 3.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0911 | μmol/L | 13.2338 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.459 | 132141.3607 | 299990.9037 | 59.9307 | 38.1
233308 | 2021-10-29 14:10 | 3.9937 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9352 | μmol/L | 13.2399 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.464 | 132164.902 | 300004.9695 | 59.9307 | 38.1
233318 | 2021-10-29 14:10 | 4.3272 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7793 | μmol/L | 13.246 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.469 | 132198.0434 | 300026.2241 | 59.9307 | 38.1
233328 | 2021-10-29 14:10 | 4.6606 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7793 | μmol/L | 13.246 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.469 | 132229.7698 | 300044.6254 | 59.9307 | 38.1
233338 | 2021-10-29 14:11 | 4.9937 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8281 | μmol/L | 13.2399 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.469 | 132260.9638 | 300061.9776 | 59.9307 | 38.1
233348 | 2021-10-29 14:11 | 5.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8281 | μmol/L | 13.2399 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.469 | 132284.1922 | 300089.9031 | 59.9307 | 38.1
233358 | 2021-10-29 14:11 | 5.6603 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6142 | μmol/L | 13.2399 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.479 | 132306.9259 | 300094.1081 | 59.9307 | 38.1
233368 | 2021-10-29 14:12 | 5.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.5868 | μmol/L | 13.246 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.478 | 132330.7577 | 300104.0401 | 59.9307 | 38.1
233378 | 2021-10-29 14:12 | 6.3273 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7057 | μmol/L | 13.2338 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.477 | 131829.8581 | 300133.4368 | 59.9307 | 38.1
233388 | 2021-10-29 14:12 | 6.6608 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.5928 | μmol/L | 13.2399 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.48 | 131877.3317 | 300163.3117 | 59.9307 | 38.1
233398 | 2021-10-29 14:13 | 6.9941 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.5347 | μmol/L | 13.2338 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.485 | 131902.9925 | 300195.8717 | 59.9307 | 38.1
233408 | 2021-10-29 14:13 | 7.3273 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6048 | μmol/L | 13.2277 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.484 | 131928.5094 | 300206.4718 | 59.9307 | 38.1
233418 | 2021-10-29 14:13 | 7.6605 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4005 | μmol/L | 13.2399 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.489 | 131942.8571 | 300227.367 | 59.9307 | 38.1
233428 | 2021-10-29 14:14 | 7.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4278 | μmol/L | 13.2338 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.49 | 131967.1709 | 300244.8818 | 59.9307 | 38.1
233438 | 2021-10-29 14:14 | 8.3273 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4278 | μmol/L | 13.2338 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.49 | 131991.2047 | 300270.9821 | 59.9307 | 38.1
233448 | 2021-10-29 14:14 | 8.6603 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4765 | μmol/L | 13.2277 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.49 | 132014.8745 | 300280.2248 | 59.9307 | 38.1
233458 | 2021-10-29 14:15 | 8.9939 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4765 | μmol/L | 13.2277 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.49 | 132026.0201 | 300306.7012 | 59.9307 | 38.1
233468 | 2021-10-29 14:15 | 9.3272 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4124 | μmol/L | 13.2277 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.493 | 132050.7797 | 300335.8389 | 59.9307 | 38.1
233478 | 2021-10-29 14:15 | 9.6603 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3971 | μmol/L | 13.2216 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.496 | 132065.5482 | 300354.7137 | 59.9307 | 38.1
233488 | 2021-10-29 14:16 | 9.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4612 | μmol/L | 13.2216 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.493 | 132079.1348 | 300369.0996 | 59.9307 | 38.1
233498 | 2021-10-29 14:16 | 10.3273 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3117 | μmol/L | 13.2216 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.5 | 132121.2233 | 300410.9119 | 59.9307 | 38.1
233508 | 2021-10-29 14:16 | 10.6607 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.0983 | μmol/L | 13.2216 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.51 | 132175.5699 | 300420.1429 | 59.9307 | 38.1
233518 | 2021-10-29 14:17 | 10.9941 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.9977 | μmol/L | 13.2155 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.517 | 132239.1646 | 300443.2584 | 59.9307 | 38.1
233528 | 2021-10-29 14:17 | 11.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8212 | μmol/L | 13.2216 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.523 | 132299.4334 | 300456.8398 | 59.9307 | 38.1
233538 | 2021-10-29 14:17 | 11.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.7999 | μmol/L | 13.2216 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.524 | 132344.7283 | 300485.9345 | 59.9307 | 38.1
233548 | 2021-10-29 14:18 | 11.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.7846 | μmol/L | 13.2155 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.527 | 132390.4659 | 300507.3081 | 59.9307 | 38.1
233558 | 2021-10-29 14:18 | 12.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.7055 | μmol/L | 13.2094 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.533 | 132446.5034 | 300540.8824 | 59.9307 | 38.1
233568 | 2021-10-29 14:18 | 12.6604 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.6842 | μmol/L | 13.2094 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.534 | 132480.8101 | 300555.838 | 59.9307 | 38.1
233578 | 2021-10-29 14:19 | 12.9938 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.52 | μmol/L | 13.2033 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.544 | 132566.4381 | 300603.2374 | 59.9307 | 38.1
233588 | 2021-10-29 14:19 | 13.3269 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5413 | μmol/L | 13.2033 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.543 | 132592.1922 | 300622.5195 | 59.9307 | 38.1
233598 | 2021-10-29 14:19 | 13.6607 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.4442 | μmol/L | 13.2155 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.543 | 132599.6328 | 300649.9102 | 59.9307 | 38.1
233608 | 2021-10-29 14:20 | 13.9939 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.52 | μmol/L | 13.2033 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.544 | 132632.6391 | 300675.7292 | 59.9307 | 38.1
233618 | 2021-10-29 14:20 | 14.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.52 | μmol/L | 13.2033 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.544 | 132647.1543 | 300704.6143 | 59.9307 | 38.1
233628 | 2021-10-29 14:20 | 14.6609 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5838 | μmol/L | 13.2033 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.541 | 132659.154 | 300730.1776 | 59.9307 | 38.1
233638 | 2021-10-29 14:21 | 14.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5625 | μmol/L | 13.2033 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.542 | 132671.2954 | 300743.1153 | 59.9307 | 38.1
233648 | 2021-10-29 14:21 | 15.3275 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5565 | μmol/L | 13.2094 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.54 | 132689.6955 | 300780.9367 | 59.9307 | 38.1
233658 | 2021-10-29 14:21 | 15.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.526 | μmol/L | 13.1972 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.546 | 132713.9102 | 300797.7075 | 59.9307 | 38.1
233668 | 2021-10-29 14:22 | 15.9936 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.4562 | μmol/L | 13.2033 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.547 | 132772.3815 | 300820.9119 | 59.9307 | 38.1
233678 | 2021-10-29 14:22 | 16.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.1588 | μmol/L | 13.2033 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.561 | 132875.2221 | 300852.0956 | 59.9307 | 38.1
233688 | 2021-10-29 14:22 | 16.6606 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.0314 | μmol/L | 13.2033 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.567 | 132926.7668 | 300871.0457 | 59.9307 | 38.1
233698 | 2021-10-29 14:23 | 16.9941 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.9193 | μmol/L | 13.2094 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.57 | 132986.4448 | 300881.6901 | 59.9307 | 38.1
233708 | 2021-10-29 14:23 | 17.327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.9189 | μmol/L | 13.2155 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.615 | 133294.1064 | 300905.9011 | 59.9307 | 38.1
233718 | 2021-10-29 14:23 | 17.6606 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.7402 | μmol/L | 13.2155 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.671 | 133646.6755 | 300935.4246 | 59.9307 | 38.1
233728 | 2021-10-29 14:24 | 17.994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.6308 | μmol/L | 13.2155 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.724 | 134023.7101 | 300959.0174 | 59.9307 | 38.1
233738 | 2021-10-29 14:24 | 18.3271 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.5689 | μmol/L | 13.2155 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.775 | 134395.8619 | 300994.6337 | 59.9307 | 38.1
233748 | 2021-10-29 14:24 | 18.6605 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.1392 | μmol/L | 13.2094 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.798 | 134529.8292 | 301000.1727 | 59.9307 | 38.1
233758 | 2021-10-29 14:25 | 18.9939 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.0296 | μmol/L | 13.2155 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.801 | 134577.6857 | 301037.7922 | 59.9307 | 38.1
233768 | 2021-10-29 14:25 | 19.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.8371 | μmol/L | 13.2216 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.808 | 134626.822 | 301055.4071 | 59.9307 | 38.1
233778 | 2021-10-29 14:25 | 19.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.8493 | μmol/L | 13.2094 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.812 | 134685.6125 | 301073.3798 | 59.9307 | 38.1
233788 | 2021-10-29 14:26 | 19.9937 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.7044 | μmol/L | 13.2094 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.819 | 134750.8748 | 301100.1227 | 59.9307 | 38.1
233798 | 2021-10-29 14:26 | 20.3274 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.4977 | μmol/L | 13.2094 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.829 | 134839.559 | 301131.7202 | 59.9307 | 38.1
233808 | 2021-10-29 14:26 | 20.6605 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.3179 | μmol/L | 13.2033 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.84 | 134939.6951 | 301158.1723 | 59.9307 | 38.1
233818 | 2021-10-29 14:27 | 20.994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.9673 | μmol/L | 13.2033 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.857 | 135052.1553 | 301173.6985 | 59.9307 | 38.1
233828 | 2021-10-29 14:27 | 21.3271 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.7674 | μmol/L | 13.1972 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.869 | 135166.9697 | 301198.3865 | 59.9307 | 38.1