## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233190 | 2021-10-29 14:06 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.3997 | μmol/L | 13.2489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.435 | 92902.3884 | 299922.8934 | 28.7 | 67.6
233200 | 2021-10-29 14:06 | 0.32875 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.2862 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.438 | 92914.462 | 299976.5555 | 28.7 | 67.6
233210 | 2021-10-29 14:06 | 0.66287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.335 | μmol/L | 13.2489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.438 | 92945.6538 | 300016.2808 | 28.7 | 67.6
233220 | 2021-10-29 14:07 | 0.99607 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.2431 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.44 | 92952.3602 | 300032.2851 | 28.7 | 67.6
233230 | 2021-10-29 14:07 | 1.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.2431 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.44 | 92978.4956 | 300084.0326 | 28.7 | 67.6
233240 | 2021-10-29 14:07 | 1.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.989 | μmol/L | 13.2732 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.445 | 92990.8176 | 300112.0179 | 28.7 | 67.6
233250 | 2021-10-29 14:08 | 1.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.946 | μmol/L | 13.2732 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.447 | 92999.6483 | 300153.9996 | 28.7 | 67.6
233260 | 2021-10-29 14:08 | 2.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.9617 | μmol/L | 13.2792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.444 | 93020.4039 | 300166.2232 | 28.7 | 67.6
233270 | 2021-10-29 14:08 | 2.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.0105 | μmol/L | 13.2732 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.444 | 93039.1639 | 300204.3955 | 28.7 | 67.6
233280 | 2021-10-29 14:09 | 2.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.86 | μmol/L | 13.2732 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.451 | 93070.0979 | 300221.0548 | 28.7 | 67.6
233290 | 2021-10-29 14:09 | 3.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.458 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.472 | 93178.3694 | 300253.0538 | 28.7 | 67.6
233300 | 2021-10-29 14:09 | 3.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.6446 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.51 | 93344.0981 | 300262.4687 | 28.7 | 67.6
233310 | 2021-10-29 14:10 | 3.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.8072 | μmol/L | 13.2732 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.547 | 93511.9076 | 300301.143 | 28.7 | 67.6
233320 | 2021-10-29 14:10 | 4.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.218 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.577 | 93683.3327 | 300313.5797 | 28.7 | 67.6
233330 | 2021-10-29 14:10 | 4.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.5612 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.608 | 93824.6946 | 300336.2018 | 28.7 | 67.6
233340 | 2021-10-29 14:11 | 4.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.0237 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.638 | 93956.5871 | 300368.7419 | 28.7 | 67.6
233350 | 2021-10-29 14:11 | 5.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.2866 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.673 | 94117.2919 | 300394.8051 | 28.7 | 67.6
233360 | 2021-10-29 14:11 | 5.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.4473 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.713 | 94350.5941 | 300415.8202 | 28.7 | 67.6
233370 | 2021-10-29 14:12 | 5.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.1948 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.773 | 94607.1297 | 300442.099 | 28.7 | 67.6
233380 | 2021-10-29 14:12 | 6.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.4024 | μmol/L | 13.2367 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.818 | 94508.3136 | 300456.0377 | 28.7 | 67.6
233390 | 2021-10-29 14:12 | 6.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.0907 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.778 | 94321.8574 | 300500.1701 | 28.7 | 67.6
233400 | 2021-10-29 14:13 | 6.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.4506 | μmol/L | 13.2489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.763 | 94220.9609 | 300520.5798 | 28.7 | 67.6
233410 | 2021-10-29 14:13 | 7.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.3763 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.762 | 94197.0984 | 300550.913 | 28.7 | 67.6
233420 | 2021-10-29 14:13 | 7.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.4388 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.759 | 94168.8557 | 300565.3699 | 28.7 | 67.6
233430 | 2021-10-29 14:14 | 7.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.7248 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.743 | 94131.0202 | 300593.7108 | 28.7 | 67.6
233440 | 2021-10-29 14:14 | 8.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.0231 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.731 | 94053.5491 | 300619.8018 | 28.7 | 67.6
233450 | 2021-10-29 14:14 | 8.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.3158 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.717 | 94001.5288 | 300649.3026 | 28.7 | 67.6
233460 | 2021-10-29 14:15 | 8.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.4055 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.715 | 93998.2034 | 300668.8669 | 28.7 | 67.6
233470 | 2021-10-29 14:15 | 9.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.1903 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.723 | 94039.2504 | 300683.8513 | 28.7 | 67.6
233480 | 2021-10-29 14:15 | 9.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.9604 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.734 | 94098.0433 | 300726.8845 | 28.7 | 67.6
233490 | 2021-10-29 14:16 | 9.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.7457 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.742 | 94131.7947 | 300744.8882 | 28.7 | 67.6
233500 | 2021-10-29 14:16 | 10.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.6355 | μmol/L | 13.2732 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.745 | 94139.7808 | 300775.915 | 28.7 | 67.6
233510 | 2021-10-29 14:16 | 10.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.4329 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.757 | 94228.0755 | 300808.5615 | 28.7 | 67.6
233520 | 2021-10-29 14:17 | 10.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.69 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.795 | 94387.5877 | 300818.5174 | 28.7 | 67.6
233530 | 2021-10-29 14:17 | 11.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.3847 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.812 | 94475.8305 | 300854.9208 | 28.7 | 67.6
233540 | 2021-10-29 14:17 | 11.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.3018 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.816 | 94478.1867 | 300883.7392 | 28.7 | 67.6
233550 | 2021-10-29 14:18 | 11.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.2958 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.814 | 94506.0154 | 300921.261 | 28.7 | 67.6
233560 | 2021-10-29 14:18 | 12.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.1775 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.822 | 94533.3485 | 300957.3196 | 28.7 | 67.6
233570 | 2021-10-29 14:18 | 12.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.3698 | μmol/L | 13.2489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.815 | 94514.724 | 300982.908 | 28.7 | 67.6
233580 | 2021-10-29 14:19 | 12.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.4884 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.807 | 94518.8386 | 301018.0718 | 28.7 | 67.6
233590 | 2021-10-29 14:19 | 13.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.6751 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.798 | 94479.6404 | 301052.7917 | 28.7 | 67.6
233600 | 2021-10-29 14:19 | 13.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.7789 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.793 | 94457.8377 | 301087.093 | 28.7 | 67.6
233610 | 2021-10-29 14:20 | 13.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.8354 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.788 | 94428.5745 | 301106.6961 | 28.7 | 67.6
233620 | 2021-10-29 14:20 | 14.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.7671 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.789 | 94462.1 | 301138.9143 | 28.7 | 67.6
233630 | 2021-10-29 14:20 | 14.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.4558 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.804 | 94530.978 | 301164.7581 | 28.7 | 67.6
233640 | 2021-10-29 14:21 | 14.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.2278 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.815 | 94599.6923 | 301189.6656 | 28.7 | 67.6
233650 | 2021-10-29 14:21 | 15.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.2603 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.818 | 94626.0359 | 301216.0266 | 28.7 | 67.6
233660 | 2021-10-29 14:21 | 15.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.4261 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.81 | 94587.4081 | 301233.529 | 28.7 | 67.6
233670 | 2021-10-29 14:22 | 15.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.5921 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.802 | 94557.0763 | 301259.9219 | 28.7 | 67.6
233680 | 2021-10-29 14:22 | 16.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.4054 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.811 | 94635.2735 | 301295.3375 | 28.7 | 67.6
233690 | 2021-10-29 14:22 | 16.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.8463 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.838 | 94741.6027 | 301315.7564 | 28.7 | 67.6
233700 | 2021-10-29 14:23 | 16.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.6397 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.848 | 94824.9122 | 301348.1966 | 28.7 | 67.6
233710 | 2021-10-29 14:23 | 17.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.681 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.846 | 94828.9791 | 301382.3801 | 28.7 | 67.6
233720 | 2021-10-29 14:23 | 17.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.8463 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.838 | 94809.9376 | 301413.13 | 28.7 | 67.6
233730 | 2021-10-29 14:24 | 17.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.7223 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.844 | 94833.7388 | 301430.4568 | 28.7 | 67.6
233740 | 2021-10-29 14:24 | 18.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.9179 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.883 | 95021.9268 | 301458.2537 | 28.7 | 67.6
233750 | 2021-10-29 14:24 | 18.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.0347 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.926 | 95244.1564 | 301494.6576 | 28.7 | 67.6
233760 | 2021-10-29 14:25 | 18.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.2369 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.965 | 95412.4204 | 301511.4131 | 28.7 | 67.6
233770 | 2021-10-29 14:25 | 19.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.8289 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.985 | 95525.7764 | 301536.6714 | 28.7 | 67.6
233780 | 2021-10-29 14:25 | 19.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.4015 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.006 | 95644.6234 | 301555.9278 | 28.7 | 67.6
233790 | 2021-10-29 14:26 | 19.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.3142 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.008 | 95665.2814 | 301596.387 | 28.7 | 67.6
233800 | 2021-10-29 14:26 | 20.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.1636 | μmol/L | 13.2489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.02 | 95717.6622 | 301607.8946 | 28.7 | 67.6
233810 | 2021-10-29 14:26 | 20.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.5611 | μmol/L | 13.2428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.052 | 95881.022 | 301627.8186 | 28.7 | 67.6
233820 | 2021-10-29 14:27 | 20.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.0234 | μmol/L | 13.255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.074 | 95997.9662 | 301655.2856 | 28.7 | 67.6
233830 | 2021-10-29 14:27 | 21.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.9771 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.074 | 96012.0082 | 301691.2204 | 28.7 | 67.6