## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233191 | 2021-10-29 14:06 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.6838 | μmol/L | 13.2733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.827 | 115617.9661 | 271611.6566 | 36.4 | 83.1
233201 | 2021-10-29 14:06 | 0.32876 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.5547 | μmol/L | 13.2794 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.83 | 115607.6033 | 271642.1139 | 36.4 | 83.1
233211 | 2021-10-29 14:06 | 0.66176 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.4583 | μmol/L | 13.2794 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.834 | 115601.1312 | 271667.6312 | 36.4 | 83.1
233221 | 2021-10-29 14:07 | 0.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.6201 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.832 | 115577.0397 | 271681.6153 | 36.4 | 83.1
233231 | 2021-10-29 14:07 | 1.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.5392 | μmol/L | 13.2733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.833 | 115542.4445 | 271699.9129 | 36.4 | 83.1
233241 | 2021-10-29 14:07 | 1.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.4188 | μmol/L | 13.2733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.838 | 115544.4661 | 271713.7516 | 36.4 | 83.1
233251 | 2021-10-29 14:08 | 1.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.185 | μmol/L | 13.2855 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.843 | 115522.2301 | 271738.3786 | 36.4 | 83.1
233261 | 2021-10-29 14:08 | 2.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.2503 | μmol/L | 13.2733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.845 | 115469.5402 | 271749.8704 | 36.4 | 83.1
233271 | 2021-10-29 14:08 | 2.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.1781 | μmol/L | 13.2733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.848 | 115455.2523 | 271775.3313 | 36.4 | 83.1
233281 | 2021-10-29 14:09 | 2.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.0819 | μmol/L | 13.2733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.852 | 115441.1543 | 271776.8147 | 36.4 | 83.1
233291 | 2021-10-29 14:09 | 3.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.9531 | μmol/L | 13.2794 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.855 | 115384.4013 | 271799.1628 | 36.4 | 83.1
233301 | 2021-10-29 14:09 | 3.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.0776 | μmol/L | 13.2733 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.852 | 115364.864 | 271809.6304 | 36.4 | 83.1
233311 | 2021-10-29 14:10 | 3.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.9377 | μmol/L | 13.2733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.858 | 115345.0787 | 271814.8354 | 36.4 | 83.1
233321 | 2021-10-29 14:10 | 4.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.8897 | μmol/L | 13.2733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.86 | 115319.6086 | 271822.9251 | 36.4 | 83.1
233331 | 2021-10-29 14:10 | 4.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.8983 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.862 | 115324.8547 | 271863.2528 | 36.4 | 83.1
233341 | 2021-10-29 14:11 | 4.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.955 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.862 | 115301.9521 | 271854.406 | 36.4 | 83.1
233351 | 2021-10-29 14:11 | 5.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.8176 | μmol/L | 13.2733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.863 | 115276.2238 | 271864.2324 | 36.4 | 83.1
233361 | 2021-10-29 14:11 | 5.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.7542 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.868 | 115272.4065 | 271884.5509 | 36.4 | 83.1
233371 | 2021-10-29 14:12 | 5.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.8743 | μmol/L | 13.2671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.863 | 115268.7061 | 271909.8167 | 36.4 | 83.1
233381 | 2021-10-29 14:12 | 6.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.8416 | μmol/L | 13.2733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.862 | 114509.3119 | 271924.7032 | 36.4 | 83.1
233391 | 2021-10-29 14:12 | 6.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.955 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.862 | 114377.5583 | 271942.5356 | 36.4 | 83.1
233401 | 2021-10-29 14:13 | 6.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.7936 | μmol/L | 13.2733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.864 | 114337.4971 | 271956.6878 | 36.4 | 83.1
233411 | 2021-10-29 14:13 | 7.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.979 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.861 | 114318.5434 | 271969.5223 | 36.4 | 83.1
233421 | 2021-10-29 14:13 | 7.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.0511 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.858 | 114276.1222 | 271988.429 | 36.4 | 83.1
233431 | 2021-10-29 14:14 | 7.9964 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.955 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.862 | 114229.7918 | 272011.1703 | 36.4 | 83.1
233441 | 2021-10-29 14:14 | 8.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.955 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.862 | 114206.3285 | 272034.4233 | 36.4 | 83.1
233451 | 2021-10-29 14:14 | 8.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.979 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.861 | 114187.8167 | 272049.1547 | 36.4 | 83.1
233461 | 2021-10-29 14:15 | 8.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.0511 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.858 | 114149.3018 | 272055.2077 | 36.4 | 83.1
233471 | 2021-10-29 14:15 | 9.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.7715 | μmol/L | 13.2549 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.872 | 114204.6763 | 272093.3393 | 36.4 | 83.1
233481 | 2021-10-29 14:15 | 9.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.5642 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.883 | 114241.8322 | 272111.0627 | 36.4 | 83.1
233491 | 2021-10-29 14:16 | 9.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.5402 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.884 | 114207.7718 | 272135.7705 | 36.4 | 83.1
233501 | 2021-10-29 14:16 | 10.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.6121 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.881 | 114188.6996 | 272147.6829 | 36.4 | 83.1
233511 | 2021-10-29 14:16 | 10.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.6035 | μmol/L | 13.2549 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.879 | 114152.902 | 272179.6585 | 36.4 | 83.1
233521 | 2021-10-29 14:17 | 10.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.5555 | μmol/L | 13.2549 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.881 | 114147.0221 | 272197.7202 | 36.4 | 83.1
233531 | 2021-10-29 14:17 | 11.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.4989 | μmol/L | 13.261 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.881 | 114162.3613 | 272212.7917 | 36.4 | 83.1
233541 | 2021-10-29 14:17 | 11.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.5162 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.885 | 114168.6192 | 272242.9999 | 36.4 | 83.1
233551 | 2021-10-29 14:18 | 11.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.5009 | μmol/L | 13.2427 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.888 | 114157.1665 | 272267.0033 | 36.4 | 83.1
233561 | 2021-10-29 14:18 | 12.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.5555 | μmol/L | 13.2549 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.881 | 114147.4019 | 272290.1288 | 36.4 | 83.1
233571 | 2021-10-29 14:18 | 12.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.5162 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.885 | 114145.7622 | 272319.2881 | 36.4 | 83.1
233581 | 2021-10-29 14:19 | 12.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.3005 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.894 | 114354.6421 | 272337.0932 | 36.4 | 83.1
233591 | 2021-10-29 14:19 | 13.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.429 | μmol/L | 13.2427 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.891 | 114362.2377 | 272358.0965 | 36.4 | 83.1
233601 | 2021-10-29 14:19 | 13.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.381 | μmol/L | 13.2427 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.893 | 114320.569 | 272376.6149 | 36.4 | 83.1
233611 | 2021-10-29 14:20 | 13.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.2286 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.897 | 114267.5307 | 272399.9473 | 36.4 | 83.1
233621 | 2021-10-29 14:20 | 14.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1807 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.899 | 114226.3459 | 272417.2514 | 36.4 | 83.1
233631 | 2021-10-29 14:20 | 14.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.3005 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.894 | 114181.7518 | 272441.2691 | 36.4 | 83.1
233641 | 2021-10-29 14:21 | 14.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.4856 | μmol/L | 13.2366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.891 | 114116.1074 | 272457.0512 | 36.4 | 83.1
233651 | 2021-10-29 14:21 | 15.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.196 | μmol/L | 13.2549 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.896 | 114142.7344 | 272481.9369 | 36.4 | 83.1
233661 | 2021-10-29 14:21 | 15.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0763 | μmol/L | 13.2549 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.901 | 114141.5717 | 272501.8596 | 36.4 | 83.1
233671 | 2021-10-29 14:22 | 15.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.2526 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.896 | 114120.9274 | 272531.6111 | 36.4 | 83.1
233681 | 2021-10-29 14:22 | 16.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1329 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.901 | 114152.3097 | 272538.5557 | 36.4 | 83.1
233691 | 2021-10-29 14:22 | 16.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.9653 | μmol/L | 13.2488 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.908 | 114161.1868 | 272562.678 | 36.4 | 83.1
233701 | 2021-10-29 14:23 | 16.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8153 | μmol/L | 13.2366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.919 | 114194.4228 | 272587.4956 | 36.4 | 83.1
233711 | 2021-10-29 14:23 | 17.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.7588 | μmol/L | 13.2427 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.919 | 114184.1346 | 272595.2314 | 36.4 | 83.1
233721 | 2021-10-29 14:23 | 17.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.887 | μmol/L | 13.2366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.916 | 114149.6342 | 272608.1976 | 36.4 | 83.1
233731 | 2021-10-29 14:24 | 17.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0153 | μmol/L | 13.2305 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.913 | 114124.5933 | 272617.7115 | 36.4 | 83.1
233741 | 2021-10-29 14:24 | 18.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0957 | μmol/L | 13.2243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.912 | 114135.2208 | 272664.1147 | 36.4 | 83.1
233751 | 2021-10-29 14:24 | 18.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1523 | μmol/L | 13.2182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.912 | 114136.2301 | 272675.1891 | 36.4 | 83.1
233761 | 2021-10-29 14:25 | 18.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0392 | μmol/L | 13.2305 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.912 | 114127.2773 | 272666.1551 | 36.4 | 83.1
233771 | 2021-10-29 14:25 | 19.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1675 | μmol/L | 13.2243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.909 | 114118.5144 | 272699.2637 | 36.4 | 83.1
233781 | 2021-10-29 14:25 | 19.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0153 | μmol/L | 13.2305 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.913 | 114141.8882 | 272722.5323 | 36.4 | 83.1
233791 | 2021-10-29 14:26 | 19.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1675 | μmol/L | 13.2243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.909 | 114128.2096 | 272751.9236 | 36.4 | 83.1
233801 | 2021-10-29 14:26 | 20.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.9588 | μmol/L | 13.2366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.913 | 114129.4375 | 272779.1798 | 36.4 | 83.1
233811 | 2021-10-29 14:26 | 20.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0066 | μmol/L | 13.2366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.911 | 114113.1482 | 272795.8012 | 36.4 | 83.1
233821 | 2021-10-29 14:27 | 20.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1588 | μmol/L | 13.2305 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.907 | 114115.229 | 272816.8376 | 36.4 | 83.1
233831 | 2021-10-29 14:27 | 21.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1349 | μmol/L | 13.2305 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.908 | 114124.3539 | 272834.4391 | 36.4 | 83.1