## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 09:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
229849 | 2021-10-27 09:19 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.9869 | μmol/L | 13.246 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.648 | 138719.0426 | 301708.6371 | 59.9307 | 38.1
229859 | 2021-10-27 09:20 | 0.33231 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.4711 | μmol/L | 13.2582 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.668 | 139103.6386 | 301762.1196 | 59.9307 | 38.1
229869 | 2021-10-27 09:20 | 0.66571 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.0671 | μmol/L | 13.2643 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.685 | 139246.8961 | 301816.696 | 59.9307 | 38.1
229879 | 2021-10-27 09:20 | 0.99869 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.7683 | μmol/L | 13.2704 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.697 | 139386.1315 | 301871.5212 | 59.9307 | 38.1
229889 | 2021-10-27 09:21 | 1.332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.47 | μmol/L | 13.2765 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.709 | 139492.6224 | 301929.7592 | 59.9307 | 38.1
229899 | 2021-10-27 09:21 | 1.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.0618 | μmol/L | 13.2887 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.724 | 139601.5776 | 301952.3181 | 59.9307 | 38.1
229909 | 2021-10-27 09:21 | 1.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.7377 | μmol/L | 13.3009 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.735 | 139718.8761 | 301999.0218 | 59.9307 | 38.1
229919 | 2021-10-27 09:22 | 2.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.3872 | μmol/L | 13.3192 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.745 | 139816.964 | 302041.2978 | 59.9307 | 38.1
229929 | 2021-10-27 09:22 | 2.6653 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.153 | μmol/L | 13.3253 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.754 | 139902.3446 | 302065.9337 | 59.9307 | 38.1
229939 | 2021-10-27 09:22 | 2.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.8568 | μmol/L | 13.3314 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.766 | 139992.1321 | 302080.4318 | 59.9307 | 38.1
229949 | 2021-10-27 09:23 | 3.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.7385 | μmol/L | 13.3253 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.774 | 140060.9099 | 302115.1388 | 59.9307 | 38.1
229959 | 2021-10-27 09:23 | 3.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.6677 | μmol/L | 13.3131 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.782 | 140177.1952 | 302145.5934 | 59.9307 | 38.1
229969 | 2021-10-27 09:23 | 3.9988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.4669 | μmol/L | 13.307 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.794 | 140292.6096 | 302177.1657 | 59.9307 | 38.1
229979 | 2021-10-27 09:24 | 4.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.3549 | μmol/L | 13.2948 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.804 | 140409.7136 | 302220.4409 | 59.9307 | 38.1
229989 | 2021-10-27 09:24 | 4.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.0865 | μmol/L | 13.2948 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.817 | 140478.6269 | 302235.9579 | 59.9307 | 38.1
229999 | 2021-10-27 09:24 | 4.9987 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.9396 | μmol/L | 13.2765 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.831 | 140602.8611 | 302250.3726 | 59.9307 | 38.1
230009 | 2021-10-27 09:25 | 5.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.6924 | μmol/L | 13.2765 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.843 | 140698.6496 | 302284.2326 | 59.9307 | 38.1
230019 | 2021-10-27 09:25 | 5.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.5543 | μmol/L | 13.2704 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.852 | 140784.8088 | 302306.7513 | 59.9307 | 38.1
230029 | 2021-10-27 09:25 | 5.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.1517 | μmol/L | 13.2826 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.867 | 140895.0772 | 302317.2183 | 59.9307 | 38.1
230039 | 2021-10-27 09:26 | 6.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.0201 | μmol/L | 13.2704 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.878 | 141016.3837 | 302362.8039 | 59.9307 | 38.1
230049 | 2021-10-27 09:26 | 6.6653 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.821 | μmol/L | 13.2643 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.89 | 141118.0949 | 302374.2028 | 59.9307 | 38.1
230059 | 2021-10-27 09:26 | 6.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5896 | μmol/L | 13.2704 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.899 | 141212.8959 | 302397.2507 | 59.9307 | 38.1
230069 | 2021-10-27 09:27 | 7.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3644 | μmol/L | 13.2704 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.91 | 141316.5707 | 302428.4698 | 59.9307 | 38.1
230079 | 2021-10-27 09:27 | 7.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.1539 | μmol/L | 13.2765 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.918 | 141369.6511 | 302438.393 | 59.9307 | 38.1
230089 | 2021-10-27 09:27 | 7.9988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.0434 | μmol/L | 13.2643 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.928 | 141439.7589 | 302449.898 | 59.9307 | 38.1
230099 | 2021-10-27 09:28 | 8.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.7721 | μmol/L | 13.2704 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.939 | 141532.4928 | 302468.9246 | 59.9307 | 38.1
230109 | 2021-10-27 09:28 | 8.6361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.6761 | μmol/L | 13.2643 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.946 | 141632.9363 | 302478.9407 | 59.9307 | 38.1
230119 | 2021-10-27 09:28 | 8.9655 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.4317 | μmol/L | 13.2643 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.958 | 141700.1052 | 302525.0018 | 59.9307 | 38.1
230129 | 2021-10-27 09:29 | 9.2994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.2485 | μmol/L | 13.2643 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.967 | 141764.5664 | 302524.9295 | 59.9307 | 38.1
230139 | 2021-10-27 09:29 | 9.6327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.9314 | μmol/L | 13.2765 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.978 | 141844.7091 | 302553.035 | 59.9307 | 38.1
230149 | 2021-10-27 09:29 | 9.9658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.7021 | μmol/L | 13.2826 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.987 | 141924.2475 | 302573.5752 | 59.9307 | 38.1
230159 | 2021-10-27 09:30 | 10.2987 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.5458 | μmol/L | 13.2765 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.997 | 142026.4329 | 302595.5856 | 59.9307 | 38.1
230169 | 2021-10-27 09:30 | 10.6324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.41 | μmol/L | 13.2704 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.006 | 142122.4438 | 302610.9476 | 59.9307 | 38.1
230179 | 2021-10-27 09:30 | 10.9667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.1468 | μmol/L | 13.2704 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.019 | 142209.7335 | 302634.7031 | 59.9307 | 38.1
230189 | 2021-10-27 09:31 | 11.2991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.9506 | μmol/L | 13.2643 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.031 | 142300.6981 | 302633.6085 | 59.9307 | 38.1
230199 | 2021-10-27 09:31 | 11.6324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.6557 | μmol/L | 13.2765 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.041 | 142393.6505 | 302667.3385 | 59.9307 | 38.1
230209 | 2021-10-27 09:31 | 11.9659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.4337 | μmol/L | 13.2765 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.052 | 142469.6637 | 302676.4481 | 59.9307 | 38.1
230219 | 2021-10-27 09:32 | 12.2989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.4459 | μmol/L | 13.2643 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.056 | 142540.5844 | 302692.5509 | 59.9307 | 38.1
230229 | 2021-10-27 09:32 | 12.6322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.2181 | μmol/L | 13.2704 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.065 | 142617.4257 | 302691.2705 | 59.9307 | 38.1
230239 | 2021-10-27 09:32 | 12.9654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.1095 | μmol/L | 13.2582 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.075 | 142686.7553 | 302705.7635 | 59.9307 | 38.1
230249 | 2021-10-27 09:33 | 13.2988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.9747 | μmol/L | 13.2521 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.084 | 142745.6898 | 302715.8232 | 59.9307 | 38.1
230259 | 2021-10-27 09:33 | 13.6326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.7937 | μmol/L | 13.2521 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.093 | 142819.3064 | 302734.7856 | 59.9307 | 38.1
230269 | 2021-10-27 09:33 | 13.9654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.6531 | μmol/L | 13.2521 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.1 | 142896.0303 | 302754.4739 | 59.9307 | 38.1
230279 | 2021-10-27 09:34 | 14.2992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.4785 | μmol/L | 13.246 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.111 | 142976.6306 | 302746.8823 | 59.9307 | 38.1
230289 | 2021-10-27 09:34 | 14.6324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.1917 | μmol/L | 13.2521 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.123 | 143096.687 | 302788.0269 | 59.9307 | 38.1
230299 | 2021-10-27 09:34 | 14.9655 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.7252 | μmol/L | 13.2582 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.144 | 143253.3242 | 302787.9547 | 59.9307 | 38.1
230309 | 2021-10-27 09:35 | 15.2986 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.4838 | μmol/L | 13.2399 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.163 | 143369.2737 | 302804.8626 | 59.9307 | 38.1
230319 | 2021-10-27 09:35 | 15.6327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.2244 | μmol/L | 13.2399 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.176 | 143474.254 | 302807.2545 | 59.9307 | 38.1
230329 | 2021-10-27 09:35 | 15.9655 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.0051 | μmol/L | 13.2399 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.187 | 143556.8659 | 302838.7469 | 59.9307 | 38.1
230339 | 2021-10-27 09:36 | 16.2989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.9117 | μmol/L | 13.2338 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.194 | 143632.094 | 302839.6161 | 59.9307 | 38.1
230349 | 2021-10-27 09:36 | 16.6322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.7984 | μmol/L | 13.2277 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.202 | 143684.1751 | 302845.2509 | 59.9307 | 38.1
230359 | 2021-10-27 09:36 | 16.9656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.6652 | μmol/L | 13.2216 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.211 | 143766.9632 | 302834.7262 | 59.9307 | 38.1
230369 | 2021-10-27 09:37 | 17.2994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.4268 | μmol/L | 13.2216 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.223 | 143876.9757 | 302865.6183 | 59.9307 | 38.1
230379 | 2021-10-27 09:37 | 17.6326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.0238 | μmol/L | 13.2277 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.241 | 143954.3581 | 302858.3576 | 59.9307 | 38.1
230389 | 2021-10-27 09:37 | 17.9661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.9766 | μmol/L | 13.2155 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.248 | 144021.3011 | 302877.0145 | 59.9307 | 38.1
230399 | 2021-10-27 09:38 | 18.2991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.8578 | μmol/L | 13.2155 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.254 | 144087.3748 | 302893.9564 | 59.9307 | 38.1
230409 | 2021-10-27 09:38 | 18.6321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.608 | μmol/L | 13.2277 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.262 | 144141.1959 | 302911.9387 | 59.9307 | 38.1
230419 | 2021-10-27 09:38 | 18.9653 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.4696 | μmol/L | 13.2277 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.269 | 144194.0944 | 302910.7057 | 59.9307 | 38.1
230429 | 2021-10-27 09:39 | 19.2992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.351 | μmol/L | 13.2277 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.275 | 144241.5956 | 302927.3266 | 59.9307 | 38.1
230439 | 2021-10-27 09:39 | 19.6323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.3115 | μmol/L | 13.2277 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.277 | 144286.0362 | 302926.6977 | 59.9307 | 38.1
230449 | 2021-10-27 09:39 | 19.9656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.1339 | μmol/L | 13.2277 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.286 | 144349.5828 | 302942.2275 | 59.9307 | 38.1
230459 | 2021-10-27 09:40 | 20.2986 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.0747 | μmol/L | 13.2277 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.289 | 144395.6667 | 302949.5922 | 59.9307 | 38.1
230469 | 2021-10-27 09:40 | 20.6326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.8836 | μmol/L | 13.2216 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.301 | 144454.1207 | 302960.1248 | 59.9307 | 38.1
230479 | 2021-10-27 09:40 | 20.9657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.8048 | μmol/L | 13.2216 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.305 | 144511.3156 | 302975.8022 | 59.9307 | 38.1
230489 | 2021-10-27 09:41 | 21.2986 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.5427 | μmol/L | 13.2277 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.316 | 144578.0186 | 302976.5662 | 59.9307 | 38.1
230499 | 2021-10-27 09:41 | 21.6325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.5808 | μmol/L | 13.2094 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.321 | 144657.2369 | 302991.2105 | 59.9307 | 38.1
230509 | 2021-10-27 09:41 | 21.966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.4038 | μmol/L | 13.2094 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.33 | 144726.8649 | 302997.1492 | 59.9307 | 38.1
230519 | 2021-10-27 09:42 | 22.2991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.2073 | μmol/L | 13.2094 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.34 | 144783.9994 | 302995.9765 | 59.9307 | 38.1
230529 | 2021-10-27 09:42 | 22.632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.9852 | μmol/L | 13.2155 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.349 | 144845.9875 | 303002.7691 | 59.9307 | 38.1
230539 | 2021-10-27 09:42 | 22.9654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.8418 | μmol/L | 13.2216 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.354 | 144903.5254 | 303006.6845 | 59.9307 | 38.1
230549 | 2021-10-27 09:43 | 23.299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.7108 | μmol/L | 13.2155 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.363 | 144967.3039 | 303014.7891 | 59.9307 | 38.1
230559 | 2021-10-27 09:43 | 23.6323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.5994 | μmol/L | 13.2094 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.371 | 145020.6405 | 303017.8171 | 59.9307 | 38.1
230569 | 2021-10-27 09:43 | 23.9658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.3461 | μmol/L | 13.2277 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.377 | 145075.7193 | 303010.8126 | 59.9307 | 38.1
230579 | 2021-10-27 09:44 | 24.2994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.0859 | μmol/L | 13.2338 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.388 | 145143.3639 | 303033.8565 | 59.9307 | 38.1
230589 | 2021-10-27 09:44 | 24.6325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.9431 | μmol/L | 13.2399 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.393 | 145203.9376 | 303046.5182 | 59.9307 | 38.1
230599 | 2021-10-27 09:44 | 24.9653 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.7809 | μmol/L | 13.246 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.399 | 145231.0029 | 303054.5737 | 59.9307 | 38.1
230609 | 2021-10-27 09:45 | 25.299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.709 | μmol/L | 13.2399 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.405 | 145276.7496 | 303049.4941 | 59.9307 | 38.1
230619 | 2021-10-27 09:45 | 25.6326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.6956 | μmol/L | 13.2338 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.408 | 145333.7701 | 303055.3871 | 59.9307 | 38.1