## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233192 | 2021-10-29 14:06 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.0477 | μmol/L | 13.2768 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.721 | 109471.0308 | 303408.0959 | 30.45 | 114.2
233202 | 2021-10-29 14:06 | 0.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.1794 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.717 | 109505.3666 | 303461.829 | 30.45 | 114.2
233212 | 2021-10-29 14:06 | 0.66134 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.0749 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.722 | 109523.0086 | 303479.951 | 30.45 | 114.2
233222 | 2021-10-29 14:07 | 0.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.123 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.722 | 109539.2189 | 303500.0103 | 30.45 | 114.2
233232 | 2021-10-29 14:07 | 1.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.0249 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.729 | 109549.3905 | 303523.8395 | 30.45 | 114.2
233242 | 2021-10-29 14:07 | 1.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.9768 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.729 | 109569.6289 | 303551.8083 | 30.45 | 114.2
233252 | 2021-10-29 14:08 | 1.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.9623 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.732 | 109586.4813 | 303594.4473 | 30.45 | 114.2
233262 | 2021-10-29 14:08 | 2.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.0667 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.727 | 109596.5408 | 303603.9509 | 30.45 | 114.2
233272 | 2021-10-29 14:08 | 2.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.8997 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.735 | 109610.4161 | 303628.8645 | 30.45 | 114.2
233282 | 2021-10-29 14:09 | 2.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.9269 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.736 | 109625.8598 | 303638.3968 | 30.45 | 114.2
233292 | 2021-10-29 14:09 | 3.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.8997 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.735 | 109649.5449 | 303671.597 | 30.45 | 114.2
233302 | 2021-10-29 14:09 | 3.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.906 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.737 | 109660.0656 | 303676.7831 | 30.45 | 114.2
233312 | 2021-10-29 14:10 | 3.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.7474 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.74 | 109672.49 | 303698.7735 | 30.45 | 114.2
233322 | 2021-10-29 14:10 | 4.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.7745 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.741 | 109692.2036 | 303713.5472 | 30.45 | 114.2
233332 | 2021-10-29 14:10 | 4.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.7537 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.742 | 109707.0335 | 303744.1357 | 30.45 | 114.2
233342 | 2021-10-29 14:11 | 4.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.7954 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.74 | 109739.9963 | 303753.9431 | 30.45 | 114.2
233352 | 2021-10-29 14:11 | 5.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.7328 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.743 | 109744.475 | 303772.942 | 30.45 | 114.2
233362 | 2021-10-29 14:11 | 5.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.6078 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.749 | 109758.8399 | 303793.3013 | 30.45 | 114.2
233372 | 2021-10-29 14:12 | 5.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.539 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.75 | 109781.3059 | 303817.9738 | 30.45 | 114.2
233382 | 2021-10-29 14:12 | 6.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.4557 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.754 | 109829.5865 | 303833.542 | 30.45 | 114.2
233392 | 2021-10-29 14:12 | 6.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.4765 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.753 | 109848.6348 | 303852.4128 | 30.45 | 114.2
233402 | 2021-10-29 14:13 | 6.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.587 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.75 | 109861.1365 | 303871.2427 | 30.45 | 114.2
233412 | 2021-10-29 14:13 | 7.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.4557 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.754 | 109871.2306 | 303898.3211 | 30.45 | 114.2
233422 | 2021-10-29 14:13 | 7.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.4349 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.755 | 109898.8797 | 303943.6997 | 30.45 | 114.2
233432 | 2021-10-29 14:14 | 7.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.3932 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.757 | 109914.9379 | 303941.0829 | 30.45 | 114.2
233442 | 2021-10-29 14:14 | 8.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.3724 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.758 | 109943.4646 | 303977.2288 | 30.45 | 114.2
233452 | 2021-10-29 14:14 | 8.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.2413 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.762 | 109950.3318 | 303992.5709 | 30.45 | 114.2
233462 | 2021-10-29 14:15 | 8.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.3245 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.758 | 109974.9374 | 304022.8848 | 30.45 | 114.2
233472 | 2021-10-29 14:15 | 9.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.2621 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.761 | 109997.6755 | 304031.5215 | 30.45 | 114.2
233482 | 2021-10-29 14:15 | 9.6614 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.2205 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.763 | 110015.4809 | 304052.8539 | 30.45 | 114.2
233492 | 2021-10-29 14:16 | 9.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.2829 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.76 | 110034.3964 | 304071.1113 | 30.45 | 114.2
233502 | 2021-10-29 14:16 | 10.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.1165 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.768 | 110045.4962 | 304102.909 | 30.45 | 114.2
233512 | 2021-10-29 14:16 | 10.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.1581 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.766 | 110072.0912 | 304130.5852 | 30.45 | 114.2
233522 | 2021-10-29 14:17 | 10.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.0894 | μmol/L | 13.2768 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.767 | 110083.9351 | 304145.5082 | 30.45 | 114.2
233532 | 2021-10-29 14:17 | 11.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.1644 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.768 | 110118.4876 | 304172.5112 | 30.45 | 114.2
233542 | 2021-10-29 14:17 | 11.6614 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.0749 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.77 | 110137.2847 | 304204.2945 | 30.45 | 114.2
233552 | 2021-10-29 14:18 | 11.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.102 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.771 | 110153.8289 | 304224.1018 | 30.45 | 114.2
233562 | 2021-10-29 14:18 | 12.3281 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.0541 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.771 | 110174.8954 | 304256.8615 | 30.45 | 114.2
233572 | 2021-10-29 14:18 | 12.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.0541 | μmol/L | 13.2707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.771 | 110187.7241 | 304275.8148 | 30.45 | 114.2
233582 | 2021-10-29 14:19 | 12.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.0189 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.775 | 110210.5315 | 304297.641 | 30.45 | 114.2
233592 | 2021-10-29 14:19 | 13.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.9774 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.777 | 110222.9729 | 304330.0418 | 30.45 | 114.2
233602 | 2021-10-29 14:19 | 13.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.9837 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.779 | 110241.7025 | 304345.6263 | 30.45 | 114.2
233612 | 2021-10-29 14:20 | 13.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.046 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.776 | 110269.6267 | 304380.4474 | 30.45 | 114.2
233622 | 2021-10-29 14:20 | 14.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.0316 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.779 | 110294.6112 | 304393.7184 | 30.45 | 114.2
233632 | 2021-10-29 14:20 | 14.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.9693 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.782 | 110329.675 | 304420.6315 | 30.45 | 114.2
233642 | 2021-10-29 14:21 | 14.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.9006 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.783 | 110352.8641 | 304447.4015 | 30.45 | 114.2
233652 | 2021-10-29 14:21 | 15.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.7968 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.788 | 110371.0663 | 304475.1676 | 30.45 | 114.2
233662 | 2021-10-29 14:21 | 15.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.9277 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.784 | 110391.3165 | 304499.573 | 30.45 | 114.2
233672 | 2021-10-29 14:22 | 15.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.8176 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.787 | 110410.6847 | 304508.1928 | 30.45 | 114.2
233682 | 2021-10-29 14:22 | 16.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.8176 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.787 | 110432.1428 | 304523.9361 | 30.45 | 114.2
233692 | 2021-10-29 14:22 | 16.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.8032 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.79 | 110461.098 | 304565.1178 | 30.45 | 114.2
233702 | 2021-10-29 14:23 | 16.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.8032 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.79 | 110493.0479 | 304578.6957 | 30.45 | 114.2
233712 | 2021-10-29 14:23 | 17.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.7761 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.789 | 110505.5103 | 304593.0929 | 30.45 | 114.2
233722 | 2021-10-29 14:23 | 17.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.6723 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.794 | 110533.6614 | 304630.4005 | 30.45 | 114.2
233732 | 2021-10-29 14:24 | 17.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.5479 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.8 | 110580.797 | 304646.8635 | 30.45 | 114.2
233742 | 2021-10-29 14:24 | 18.3281 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.5335 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.803 | 110600.9895 | 304667.3044 | 30.45 | 114.2
233752 | 2021-10-29 14:24 | 18.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.4443 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.805 | 110630.8041 | 304705.0924 | 30.45 | 114.2
233762 | 2021-10-29 14:25 | 18.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.465 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.804 | 110655.2304 | 304728.6969 | 30.45 | 114.2
233772 | 2021-10-29 14:25 | 19.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.3885 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.81 | 110669.5663 | 304748.9229 | 30.45 | 114.2
233782 | 2021-10-29 14:25 | 19.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.4443 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.805 | 110689.1918 | 304775.103 | 30.45 | 114.2
233792 | 2021-10-29 14:26 | 19.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.4299 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.808 | 110709.5785 | 304774.2647 | 30.45 | 114.2
233802 | 2021-10-29 14:26 | 20.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.4092 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.809 | 110729.3486 | 304811.1818 | 30.45 | 114.2
233812 | 2021-10-29 14:26 | 20.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.4092 | μmol/L | 13.2523 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.809 | 110752.2526 | 304827.9737 | 30.45 | 114.2
233822 | 2021-10-29 14:27 | 20.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.3615 | μmol/L | 13.2584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.809 | 110763.2129 | 304861.9691 | 30.45 | 114.2
233832 | 2021-10-29 14:27 | 21.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.293 | μmol/L | 13.2645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.81 | 110793.643 | 304887.8855 | 30.45 | 114.2