## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233194 | 2021-10-29 14:06 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.7682 | μmol/L | 13.3505 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.236 | 140092.8431 | 312003.3936 | 33.25 | 68.6
233204 | 2021-10-29 14:06 | 0.34088 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.7979 | μmol/L | 13.3444 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.237 | 140473.2096 | 312054.3167 | 33.25 | 68.6
233214 | 2021-10-29 14:07 | 0.67407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.8735 | μmol/L | 13.3505 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.231 | 140677.2422 | 312075.2848 | 33.25 | 68.6
233224 | 2021-10-29 14:07 | 1.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.7893 | μmol/L | 13.3505 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.235 | 140988.3291 | 312104.6882 | 33.25 | 68.6
233234 | 2021-10-29 14:07 | 1.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.7347 | μmol/L | 13.3444 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.24 | 141149.9802 | 312143.9332 | 33.25 | 68.6
233244 | 2021-10-29 14:08 | 1.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.9119 | μmol/L | 13.3383 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.234 | 137480.4066 | 312156.8033 | 33.25 | 68.6
233254 | 2021-10-29 14:08 | 2.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.7644 | μmol/L | 13.3383 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.241 | 137461.6813 | 312156.6587 | 33.25 | 68.6
233264 | 2021-10-29 14:08 | 2.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.6716 | μmol/L | 13.3444 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.243 | 137474.5504 | 312189.2072 | 33.25 | 68.6
233274 | 2021-10-29 14:09 | 2.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.5664 | μmol/L | 13.3444 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.248 | 137490.8743 | 312200.2557 | 33.25 | 68.6
233284 | 2021-10-29 14:09 | 3.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.5243 | μmol/L | 13.3444 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.25 | 137528.0083 | 312232.1633 | 33.25 | 68.6
233294 | 2021-10-29 14:09 | 3.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.4526 | μmol/L | 13.3505 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.251 | 137557.98 | 312248.3236 | 33.25 | 68.6
233304 | 2021-10-29 14:10 | 3.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.4315 | μmol/L | 13.3505 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.252 | 137583.3521 | 312254.9958 | 33.25 | 68.6
233314 | 2021-10-29 14:10 | 4.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.4019 | μmol/L | 13.3565 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.251 | 137607.1172 | 312296.2103 | 33.25 | 68.6
233324 | 2021-10-29 14:10 | 4.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.507 | μmol/L | 13.3565 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.246 | 137622.6307 | 312307.2162 | 33.25 | 68.6
233334 | 2021-10-29 14:11 | 4.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.4984 | μmol/L | 13.3626 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.244 | 137654.7326 | 312320.5821 | 33.25 | 68.6
233344 | 2021-10-29 14:11 | 5.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.5108 | μmol/L | 13.3687 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.241 | 137689.8547 | 312340.8896 | 33.25 | 68.6
233354 | 2021-10-29 14:11 | 5.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.4687 | μmol/L | 13.3687 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.243 | 137719.51 | 312352.392 | 33.25 | 68.6
233364 | 2021-10-29 14:12 | 5.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.6543 | μmol/L | 13.3565 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.239 | 137759.341 | 312382.8731 | 33.25 | 68.6
233374 | 2021-10-29 14:12 | 6.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.5194 | μmol/L | 13.3626 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.243 | 137832.3524 | 312398.6169 | 33.25 | 68.6
233384 | 2021-10-29 14:12 | 6.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.3512 | μmol/L | 13.3626 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.251 | 137856.5504 | 312428.1091 | 33.25 | 68.6
233394 | 2021-10-29 14:13 | 6.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.0152 | μmol/L | 13.3626 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.267 | 138016.2914 | 312446.988 | 33.25 | 68.6
233404 | 2021-10-29 14:13 | 7.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4825 | μmol/L | 13.3687 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.29 | 138187.5591 | 312474.5934 | 33.25 | 68.6
233414 | 2021-10-29 14:13 | 7.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9807 | μmol/L | 13.3687 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.314 | 138368.6337 | 312499.7534 | 33.25 | 68.6
233424 | 2021-10-29 14:14 | 7.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5217 | μmol/L | 13.3687 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.336 | 138546.6998 | 312512.7838 | 33.25 | 68.6
233434 | 2021-10-29 14:14 | 8.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1383 | μmol/L | 13.3748 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.352 | 138691.352 | 312542.6289 | 33.25 | 68.6
233444 | 2021-10-29 14:14 | 8.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9633 | μmol/L | 13.3808 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.358 | 138768.4722 | 312567.5274 | 33.25 | 68.6
233454 | 2021-10-29 14:15 | 8.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.8594 | μmol/L | 13.3808 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.363 | 138820.3866 | 312579.474 | 33.25 | 68.6
233464 | 2021-10-29 14:15 | 9.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9806 | μmol/L | 13.3687 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.362 | 138830.4268 | 312609.2861 | 33.25 | 68.6
233474 | 2021-10-29 14:15 | 9.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9927 | μmol/L | 13.3748 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.359 | 138834.4416 | 312641.6227 | 33.25 | 68.6
233484 | 2021-10-29 14:16 | 9.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9927 | μmol/L | 13.3748 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.359 | 138836.4228 | 312671.2195 | 33.25 | 68.6
233494 | 2021-10-29 14:16 | 10.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9633 | μmol/L | 13.3808 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.358 | 138835.9649 | 312696.6059 | 33.25 | 68.6
233504 | 2021-10-29 14:16 | 10.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.934 | μmol/L | 13.3869 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.357 | 138835.4442 | 312713.1974 | 33.25 | 68.6
233514 | 2021-10-29 14:17 | 10.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9755 | μmol/L | 13.3869 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.355 | 138838.952 | 312745.1366 | 33.25 | 68.6
233524 | 2021-10-29 14:17 | 11.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0881 | μmol/L | 13.3808 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.352 | 138873.0421 | 312760.433 | 33.25 | 68.6
233534 | 2021-10-29 14:17 | 11.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0587 | μmol/L | 13.3869 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.351 | 138885.7688 | 312794.9872 | 33.25 | 68.6
233544 | 2021-10-29 14:18 | 11.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0709 | μmol/L | 13.393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.348 | 138887.6503 | 312812.7557 | 33.25 | 68.6
233554 | 2021-10-29 14:18 | 12.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2043 | μmol/L | 13.3869 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.344 | 138879.5418 | 312834.2205 | 33.25 | 68.6
233564 | 2021-10-29 14:18 | 12.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.246 | μmol/L | 13.3869 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.342 | 138873.4172 | 312871.619 | 33.25 | 68.6
233574 | 2021-10-29 14:19 | 12.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2496 | μmol/L | 13.3991 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.337 | 138874.1623 | 312889.2691 | 33.25 | 68.6
233584 | 2021-10-29 14:19 | 13.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3917 | μmol/L | 13.3869 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.335 | 138876.4854 | 312930.7784 | 33.25 | 68.6
233594 | 2021-10-29 14:19 | 13.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2288 | μmol/L | 13.3991 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.338 | 138861.9506 | 312956.4838 | 33.25 | 68.6
233604 | 2021-10-29 14:20 | 13.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3745 | μmol/L | 13.3991 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.331 | 138860.3418 | 313001.2566 | 33.25 | 68.6
233614 | 2021-10-29 14:20 | 14.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4162 | μmol/L | 13.3991 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.329 | 138852.5007 | 313015.0021 | 33.25 | 68.6
233624 | 2021-10-29 14:20 | 14.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4787 | μmol/L | 13.3991 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.326 | 138849.0811 | 313029.3141 | 33.25 | 68.6
233634 | 2021-10-29 14:21 | 14.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5412 | μmol/L | 13.3991 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.323 | 138855.8112 | 313056.095 | 33.25 | 68.6
233644 | 2021-10-29 14:21 | 15.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5621 | μmol/L | 13.3991 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.322 | 138853.5213 | 313070.7913 | 33.25 | 68.6
233654 | 2021-10-29 14:21 | 15.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6246 | μmol/L | 13.3991 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.319 | 138861.8717 | 313083.2424 | 33.25 | 68.6
233664 | 2021-10-29 14:22 | 15.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6246 | μmol/L | 13.3991 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.319 | 138864.7785 | 313127.0474 | 33.25 | 68.6
233674 | 2021-10-29 14:22 | 16.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6749 | μmol/L | 13.393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.319 | 138862.2806 | 313153.0958 | 33.25 | 68.6
233684 | 2021-10-29 14:22 | 16.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6577 | μmol/L | 13.4051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.315 | 138883.5314 | 313166.5306 | 33.25 | 68.6
233694 | 2021-10-29 14:23 | 16.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7915 | μmol/L | 13.3991 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.311 | 138883.7886 | 313193.8976 | 33.25 | 68.6
233704 | 2021-10-29 14:23 | 17.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7621 | μmol/L | 13.4051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.31 | 138876.5918 | 313218.869 | 33.25 | 68.6
233714 | 2021-10-29 14:23 | 17.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7829 | μmol/L | 13.4051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.309 | 138880.5582 | 313227.1445 | 33.25 | 68.6
233724 | 2021-10-29 14:24 | 17.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7621 | μmol/L | 13.4051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.31 | 138881.8949 | 313259.6356 | 33.25 | 68.6
233734 | 2021-10-29 14:24 | 18.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.8124 | μmol/L | 13.3991 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.31 | 138906.9014 | 313285.0645 | 33.25 | 68.6
233744 | 2021-10-29 14:24 | 18.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.67 | μmol/L | 13.4112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.312 | 138904.6092 | 313306.7232 | 33.25 | 68.6
233754 | 2021-10-29 14:25 | 18.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.67 | μmol/L | 13.4112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.312 | 138925.6266 | 313327.9724 | 33.25 | 68.6
233764 | 2021-10-29 14:25 | 19.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5952 | μmol/L | 13.4051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.318 | 138957.0758 | 313347.0741 | 33.25 | 68.6
233774 | 2021-10-29 14:25 | 19.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4701 | μmol/L | 13.4051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.324 | 138993.3621 | 313369.8945 | 33.25 | 68.6
233784 | 2021-10-29 14:26 | 19.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4493 | μmol/L | 13.4051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.325 | 139024.5975 | 313410.5954 | 33.25 | 68.6
233794 | 2021-10-29 14:26 | 20.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4664 | μmol/L | 13.393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.329 | 139058.118 | 313422.9834 | 33.25 | 68.6
233804 | 2021-10-29 14:26 | 20.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2618 | μmol/L | 13.4051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.334 | 139065.5908 | 313449.666 | 33.25 | 68.6
233814 | 2021-10-29 14:27 | 20.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2618 | μmol/L | 13.4051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.334 | 139086.1355 | 313488.7467 | 33.25 | 68.6
233824 | 2021-10-29 14:27 | 21.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3623 | μmol/L | 13.393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.334 | 139104.8886 | 313504.2408 | 33.25 | 68.6
233834 | 2021-10-29 14:27 | 21.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2826 | μmol/L | 13.4051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.333 | 139115.2923 | 313522.8543 | 33.25 | 68.6