## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233195 | 2021-10-29 14:06 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.3992 | μmol/L | 13.7802 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.52 | 124833.1631 | 275429.3821 | 26.25 | 74
233205 | 2021-10-29 14:06 | 0.33928 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.6593 | μmol/L | 13.7377 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.524 | 124818.6913 | 275452.6903 | 26.25 | 74
233215 | 2021-10-29 14:07 | 0.67326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.8818 | μmol/L | 13.7073 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.525 | 124764.6217 | 275472.2345 | 26.25 | 74
233225 | 2021-10-29 14:07 | 1.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.9735 | μmol/L | 13.6768 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.532 | 124720.3929 | 275498.3642 | 26.25 | 74
233235 | 2021-10-29 14:07 | 1.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.12 | μmol/L | 13.6586 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.532 | 124679.3079 | 275524.7807 | 26.25 | 74
233245 | 2021-10-29 14:08 | 1.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.3497 | μmol/L | 13.6221 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.535 | 124670.1451 | 275531.4075 | 26.25 | 74
233255 | 2021-10-29 14:08 | 2.0066 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.5455 | μmol/L | 13.5978 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.535 | 124645.8775 | 275556.6539 | 26.25 | 74
233265 | 2021-10-29 14:08 | 2.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.6353 | μmol/L | 13.5734 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.54 | 124598.3311 | 275581.2526 | 26.25 | 74
233275 | 2021-10-29 14:09 | 2.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.7971 | μmol/L | 13.5613 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.537 | 124561.4593 | 275598.9792 | 26.25 | 74
233285 | 2021-10-29 14:09 | 3.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.9508 | μmol/L | 13.5369 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.539 | 124515.7323 | 275605.9337 | 26.25 | 74
233295 | 2021-10-29 14:09 | 3.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.0278 | μmol/L | 13.5248 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.54 | 124482.8439 | 275635.6865 | 26.25 | 74
233305 | 2021-10-29 14:10 | 3.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.1899 | μmol/L | 13.5126 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.537 | 124459.7167 | 275653.6125 | 26.25 | 74
233315 | 2021-10-29 14:10 | 4.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.1114 | μmol/L | 13.5065 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.543 | 124429.766 | 275676.5778 | 26.25 | 74
233325 | 2021-10-29 14:10 | 4.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.1564 | μmol/L | 13.4883 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.548 | 124424.0442 | 275703.994 | 26.25 | 74
233335 | 2021-10-29 14:11 | 4.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.2974 | μmol/L | 13.4761 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.546 | 124388.6374 | 275714.8883 | 26.25 | 74
233345 | 2021-10-29 14:11 | 5.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.4198 | μmol/L | 13.4579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.547 | 124374.8808 | 275747.6489 | 26.25 | 74
233355 | 2021-10-29 14:11 | 5.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.3838 | μmol/L | 13.4518 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.551 | 124344.2853 | 275764.6266 | 26.25 | 74
233365 | 2021-10-29 14:12 | 5.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.5183 | μmol/L | 13.4457 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.547 | 124315.396 | 275767.0651 | 26.25 | 74
233375 | 2021-10-29 14:12 | 6.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.312 | μmol/L | 13.4396 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.559 | 126790.374 | 275792.2673 | 26.25 | 74
233385 | 2021-10-29 14:12 | 6.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.34 | μmol/L | 13.4335 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.56 | 127513.2824 | 275822.8403 | 26.25 | 74
233395 | 2021-10-29 14:13 | 6.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.3254 | μmol/L | 13.4275 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.563 | 127836.1088 | 275829.0596 | 26.25 | 74
233405 | 2021-10-29 14:13 | 7.0066 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.4026 | μmol/L | 13.4153 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.564 | 128112.5486 | 275872.5443 | 26.25 | 74
233415 | 2021-10-29 14:13 | 7.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.3029 | μmol/L | 13.4092 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.571 | 128328.3377 | 275897.5926 | 26.25 | 74
233425 | 2021-10-29 14:14 | 7.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.3561 | μmol/L | 13.4031 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.571 | 128561.8953 | 275911.7938 | 26.25 | 74
233435 | 2021-10-29 14:14 | 8.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.5679 | μmol/L | 13.3849 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.568 | 128777.6881 | 275932.6971 | 26.25 | 74
233445 | 2021-10-29 14:14 | 8.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.4961 | μmol/L | 13.3727 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.576 | 128988.93 | 275953.5609 | 26.25 | 74
233455 | 2021-10-29 14:15 | 8.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.6228 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.577 | 129224.7435 | 275982.6517 | 26.25 | 74
233465 | 2021-10-29 14:15 | 9.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.6189 | μmol/L | 13.3545 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.577 | 129437.5229 | 275986.9962 | 26.25 | 74
233475 | 2021-10-29 14:15 | 9.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7496 | μmol/L | 13.3362 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.578 | 129614.7459 | 276017.1021 | 26.25 | 74
233485 | 2021-10-29 14:16 | 9.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7031 | μmol/L | 13.3362 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.58 | 129901.8138 | 276037.3072 | 26.25 | 74
233495 | 2021-10-29 14:16 | 10.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.77 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.584 | 130053.5833 | 276058.7015 | 26.25 | 74
233505 | 2021-10-29 14:16 | 10.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7913 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.583 | 130147.3956 | 276080.9445 | 26.25 | 74
233515 | 2021-10-29 14:17 | 10.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7981 | μmol/L | 13.3119 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.585 | 130209.0665 | 276101.9353 | 26.25 | 74
233525 | 2021-10-29 14:17 | 11.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7157 | μmol/L | 13.3058 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.591 | 130256.3929 | 276131.2079 | 26.25 | 74
233535 | 2021-10-29 14:17 | 11.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7691 | μmol/L | 13.2997 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.591 | 130292.7423 | 276159.6834 | 26.25 | 74
233545 | 2021-10-29 14:18 | 11.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7759 | μmol/L | 13.2936 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.593 | 130346.8975 | 276185.18 | 26.25 | 74
233555 | 2021-10-29 14:18 | 12.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7333 | μmol/L | 13.2936 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.595 | 130387.3599 | 276203.3093 | 26.25 | 74
233565 | 2021-10-29 14:18 | 12.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.8253 | μmol/L | 13.2876 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.593 | 130425.585 | 276228.324 | 26.25 | 74
233575 | 2021-10-29 14:19 | 12.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7333 | μmol/L | 13.2936 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.595 | 130484.4741 | 276259.5585 | 26.25 | 74
233585 | 2021-10-29 14:19 | 13.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.6549 | μmol/L | 13.2876 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.601 | 130534.2777 | 276275.2162 | 26.25 | 74
233595 | 2021-10-29 14:19 | 13.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7256 | μmol/L | 13.2815 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.6 | 130582.9477 | 276305.6087 | 26.25 | 74
233605 | 2021-10-29 14:20 | 13.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7751 | μmol/L | 13.2754 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.6 | 130625.1658 | 276326.3328 | 26.25 | 74
233615 | 2021-10-29 14:20 | 14.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7887 | μmol/L | 13.2632 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.604 | 130652.9418 | 276354.6611 | 26.25 | 74
233625 | 2021-10-29 14:20 | 14.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.845 | μmol/L | 13.2511 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.606 | 130673.1573 | 276371.9213 | 26.25 | 74
233635 | 2021-10-29 14:21 | 14.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.8519 | μmol/L | 13.245 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.608 | 130760.6601 | 276400.6884 | 26.25 | 74
233645 | 2021-10-29 14:21 | 15.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.887 | μmol/L | 13.2328 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.611 | 130822.5657 | 276413.797 | 26.25 | 74
233655 | 2021-10-29 14:21 | 15.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.8162 | μmol/L | 13.2389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.612 | 130883.6146 | 276436.9061 | 26.25 | 74
233665 | 2021-10-29 14:22 | 15.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.0004 | μmol/L | 13.2267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.608 | 130921.9903 | 276447.7982 | 26.25 | 74
233675 | 2021-10-29 14:22 | 16.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.0926 | μmol/L | 13.2207 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.606 | 130957.4542 | 276475.4169 | 26.25 | 74
233685 | 2021-10-29 14:22 | 16.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.986 | μmol/L | 13.2207 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.611 | 131019.613 | 276500.0111 | 26.25 | 74
233695 | 2021-10-29 14:23 | 16.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.8512 | μmol/L | 13.2267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.615 | 131092.6882 | 276515.5906 | 26.25 | 74
233705 | 2021-10-29 14:23 | 17.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7942 | μmol/L | 13.2207 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.62 | 131138.0477 | 276540.0962 | 26.25 | 74
233715 | 2021-10-29 14:23 | 17.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7804 | μmol/L | 13.2328 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.616 | 131196.5331 | 276560.4877 | 26.25 | 74
233725 | 2021-10-29 14:24 | 17.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.8155 | μmol/L | 13.2207 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.619 | 131257.1136 | 276581.3215 | 26.25 | 74
233735 | 2021-10-29 14:24 | 18.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7447 | μmol/L | 13.2267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.62 | 131326.7363 | 276605.9375 | 26.25 | 74
233745 | 2021-10-29 14:24 | 18.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.6101 | μmol/L | 13.2328 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.624 | 131374.8431 | 276630.3846 | 26.25 | 74
233755 | 2021-10-29 14:25 | 18.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.7166 | μmol/L | 13.2328 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.619 | 131428.4966 | 276653.6475 | 26.25 | 74
233765 | 2021-10-29 14:25 | 19.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.6314 | μmol/L | 13.2328 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.623 | 131501.6409 | 276678.58 | 26.25 | 74
233775 | 2021-10-29 14:25 | 19.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.6246 | μmol/L | 13.2389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.621 | 131554.5808 | 276697.7443 | 26.25 | 74
233785 | 2021-10-29 14:26 | 19.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.5607 | μmol/L | 13.2389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.624 | 131647.5429 | 276717.9812 | 26.25 | 74
233795 | 2021-10-29 14:26 | 20.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.5113 | μmol/L | 13.245 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.624 | 131732.0397 | 276741.3351 | 26.25 | 74
233805 | 2021-10-29 14:26 | 20.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.49 | μmol/L | 13.245 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.625 | 131807.2341 | 276757.8151 | 26.25 | 74
233815 | 2021-10-29 14:27 | 20.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.4969 | μmol/L | 13.2389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.627 | 131904.1297 | 276775.8873 | 26.25 | 74
233825 | 2021-10-29 14:27 | 21.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.4756 | μmol/L | 13.2389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.628 | 131991.5382 | 276789.7791 | 26.25 | 74
233835 | 2021-10-29 14:27 | 21.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.4894 | μmol/L | 13.2267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.632 | 132074.9094 | 276826.0573 | 26.25 | 74