## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 09:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
229854 | 2021-10-27 09:20 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1738 | μmol/L | 12.8744 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.578 | 148619.61 | 295135.9226 | 59.9307 | 49.4
229864 | 2021-10-27 09:20 | 0.34038 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7517 | μmol/L | 12.8867 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.593 | 148798.5697 | 295243.0441 | 59.9307 | 49.4
229874 | 2021-10-27 09:20 | 0.67345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.6866 | μmol/L | 12.8683 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.603 | 148930.6375 | 295279.2354 | 59.9307 | 49.4
229884 | 2021-10-27 09:21 | 1.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.5433 | μmol/L | 12.8621 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.612 | 149055.9318 | 295287.4391 | 59.9307 | 49.4
229894 | 2021-10-27 09:21 | 1.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1507 | μmol/L | 12.8683 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.628 | 149193.6168 | 295322.6921 | 59.9307 | 49.4
229904 | 2021-10-27 09:21 | 1.6731 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9084 | μmol/L | 12.8744 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.637 | 149325.1367 | 295348.1355 | 59.9307 | 49.4
229914 | 2021-10-27 09:22 | 2.0067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.6381 | μmol/L | 12.8867 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.645 | 149420.8123 | 295389.6679 | 59.9307 | 49.4
229924 | 2021-10-27 09:22 | 2.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2333 | μmol/L | 12.9052 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.657 | 149539.7351 | 295421.9341 | 59.9307 | 49.4
229934 | 2021-10-27 09:22 | 2.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.0559 | μmol/L | 12.9114 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.663 | 149626.1651 | 295430.7382 | 59.9307 | 49.4
229944 | 2021-10-27 09:23 | 3.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.7798 | μmol/L | 12.9299 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.669 | 149713.7861 | 295467.6109 | 59.9307 | 49.4
229954 | 2021-10-27 09:23 | 3.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.7229 | μmol/L | 12.9237 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.674 | 149803.3996 | 295482.5877 | 59.9307 | 49.4
229964 | 2021-10-27 09:23 | 3.673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.609 | μmol/L | 12.9114 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.684 | 149871.3765 | 295534.5765 | 59.9307 | 49.4
229974 | 2021-10-27 09:24 | 4.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3966 | μmol/L | 12.9114 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.694 | 149975.0024 | 295557.1172 | 59.9307 | 49.4
229984 | 2021-10-27 09:24 | 4.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.396 | μmol/L | 12.8929 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.701 | 150052.7551 | 295582.1406 | 59.9307 | 49.4
229994 | 2021-10-27 09:24 | 4.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3462 | μmol/L | 12.8806 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.708 | 150158.7706 | 295601.844 | 59.9307 | 49.4
230004 | 2021-10-27 09:25 | 5.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.9649 | μmol/L | 12.8991 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.719 | 150274.2312 | 295608.0947 | 59.9307 | 49.4
230014 | 2021-10-27 09:25 | 5.3398 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.507 | μmol/L | 12.9299 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.729 | 150371.7145 | 295624.0301 | 59.9307 | 49.4
230024 | 2021-10-27 09:25 | 5.6731 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.331 | μmol/L | 12.936 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.735 | 150460.3394 | 295659.8264 | 59.9307 | 49.4
230034 | 2021-10-27 09:26 | 6.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.4357 | μmol/L | 12.8991 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.744 | 150535.9551 | 295663.3298 | 59.9307 | 49.4
230044 | 2021-10-27 09:26 | 6.3397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.2809 | μmol/L | 12.9052 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.749 | 150599.5555 | 295698.1963 | 59.9307 | 49.4
230054 | 2021-10-27 09:26 | 6.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.084 | μmol/L | 12.9114 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.756 | 150667.5731 | 295713.3174 | 59.9307 | 49.4
230064 | 2021-10-27 09:27 | 7.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.9574 | μmol/L | 12.9114 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.762 | 150734.6997 | 295743.0315 | 59.9307 | 49.4
230074 | 2021-10-27 09:27 | 7.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.845 | μmol/L | 12.9175 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.765 | 150814.8712 | 295766.0212 | 59.9307 | 49.4
230084 | 2021-10-27 09:27 | 7.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.5501 | μmol/L | 12.9175 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.779 | 150899.685 | 295784.1779 | 59.9307 | 49.4
230094 | 2021-10-27 09:28 | 8.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.5498 | μmol/L | 12.8991 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.786 | 151000.0709 | 295803.501 | 59.9307 | 49.4
230104 | 2021-10-27 09:28 | 8.3398 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.2835 | μmol/L | 12.9114 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.794 | 151105.0664 | 295826.1186 | 59.9307 | 49.4
230114 | 2021-10-27 09:28 | 8.6444 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.0944 | μmol/L | 12.9114 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.803 | 151182.34 | 295860.5569 | 59.9307 | 49.4
230124 | 2021-10-27 09:29 | 8.973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.9615 | μmol/L | 12.9175 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.807 | 151248.2281 | 295875.0061 | 59.9307 | 49.4
230134 | 2021-10-27 09:29 | 9.3071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.7516 | μmol/L | 12.9175 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.817 | 151309.9326 | 295886.9811 | 59.9307 | 49.4
230144 | 2021-10-27 09:29 | 9.6403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.7166 | μmol/L | 12.9114 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.821 | 151390.7757 | 295918.7708 | 59.9307 | 49.4
230154 | 2021-10-27 09:30 | 9.9732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.6118 | μmol/L | 12.9114 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.826 | 151475.0406 | 295957.3272 | 59.9307 | 49.4
230164 | 2021-10-27 09:30 | 10.3067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.6395 | μmol/L | 12.8867 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.834 | 151540.8394 | 295958.629 | 59.9307 | 49.4
230174 | 2021-10-27 09:30 | 10.6405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.5976 | μmol/L | 12.8867 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.836 | 151591.6183 | 295963.4538 | 59.9307 | 49.4
230184 | 2021-10-27 09:31 | 10.9731 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.3883 | μmol/L | 12.9052 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.839 | 151645.6705 | 295989.9672 | 59.9307 | 49.4
230194 | 2021-10-27 09:31 | 11.3067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1443 | μmol/L | 12.9175 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.846 | 151697.7375 | 295999.5997 | 59.9307 | 49.4
230204 | 2021-10-27 09:31 | 11.6397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.0189 | μmol/L | 12.9175 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.852 | 151746.4286 | 296003.9853 | 59.9307 | 49.4
230214 | 2021-10-27 09:32 | 11.9735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.9215 | μmol/L | 12.9299 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.852 | 151798.2666 | 296021.9342 | 59.9307 | 49.4
230224 | 2021-10-27 09:32 | 12.3066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.8031 | μmol/L | 12.9237 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.86 | 151858.2361 | 296020.6765 | 59.9307 | 49.4
230234 | 2021-10-27 09:32 | 12.6397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.7127 | μmol/L | 12.9299 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.862 | 151908.5488 | 296041.3484 | 59.9307 | 49.4
230244 | 2021-10-27 09:33 | 12.9738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.5249 | μmol/L | 12.9299 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.871 | 151990.9025 | 296065.4519 | 59.9307 | 49.4
230254 | 2021-10-27 09:33 | 13.3068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.4693 | μmol/L | 12.9237 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.876 | 152054.8106 | 296083.3023 | 59.9307 | 49.4
230264 | 2021-10-27 09:33 | 13.6401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.2717 | μmol/L | 12.936 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 23.881 | 152128.3479 | 296088.6162 | 59.9307 | 49.4
230274 | 2021-10-27 09:34 | 13.9731 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.2161 | μmol/L | 12.9299 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 23.886 | 152177.2523 | 296100.8825 | 59.9307 | 49.4
230284 | 2021-10-27 09:34 | 14.3067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.8971 | μmol/L | 12.936 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 23.899 | 152259.9831 | 296112.8372 | 59.9307 | 49.4
230294 | 2021-10-27 09:34 | 14.6402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.6993 | μmol/L | 12.9545 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.047 | 153359.1914 | 296142.4049 | 59.9307 | 49.4
230304 | 2021-10-27 09:35 | 14.9731 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.2501 | μmol/L | 12.9668 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.262 | 154963.8986 | 296151.3409 | 59.9307 | 49.4
230314 | 2021-10-27 09:35 | 15.3071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.3528 | μmol/L | 12.9607 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.41 | 156039.7932 | 296151.2449 | 59.9307 | 49.4
230324 | 2021-10-27 09:35 | 15.6398 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.8342 | μmol/L | 12.9607 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.487 | 156620.7191 | 296153.9267 | 59.9307 | 49.4
230334 | 2021-10-27 09:36 | 15.9732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.6582 | μmol/L | 12.9668 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.545 | 157112.765 | 296179.3372 | 59.9307 | 49.4
230344 | 2021-10-27 09:36 | 16.3067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.2635 | μmol/L | 12.9607 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.619 | 157658.0047 | 296182.7575 | 59.9307 | 49.4
230354 | 2021-10-27 09:36 | 16.6401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.8052 | μmol/L | 12.9545 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.697 | 158247.4343 | 296197.8322 | 59.9307 | 49.4
230364 | 2021-10-27 09:37 | 16.9733 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.3698 | μmol/L | 12.9545 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.772 | 158819.9097 | 296225.2625 | 59.9307 | 49.4
230374 | 2021-10-27 09:37 | 17.3064 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.2858 | μmol/L | 12.9545 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.829 | 159241.2956 | 296214.5087 | 59.9307 | 49.4
230384 | 2021-10-27 09:37 | 17.6403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7693 | μmol/L | 12.9422 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.861 | 159488.7762 | 296220.3655 | 59.9307 | 49.4
230394 | 2021-10-27 09:38 | 17.9734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.4257 | μmol/L | 12.9483 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.877 | 159596.7866 | 296233.6812 | 59.9307 | 49.4
230404 | 2021-10-27 09:38 | 18.3068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.534 | μmol/L | 12.936 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.876 | 159616.7725 | 296251.9787 | 59.9307 | 49.4
230414 | 2021-10-27 09:38 | 18.64 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.9226 | μmol/L | 12.9237 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.86 | 159524.8565 | 296247.5498 | 59.9307 | 49.4
230424 | 2021-10-27 09:39 | 18.973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7571 | μmol/L | 12.9237 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.816 | 159213.2797 | 296269.2657 | 59.9307 | 49.4
230434 | 2021-10-27 09:39 | 19.307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.2087 | μmol/L | 12.9052 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.747 | 158738.583 | 296258.2628 | 59.9307 | 49.4
230444 | 2021-10-27 09:39 | 19.6403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.4255 | μmol/L | 12.8991 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.686 | 158307.0968 | 296269.817 | 59.9307 | 49.4
230454 | 2021-10-27 09:40 | 19.9733 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1063 | μmol/L | 12.9114 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.646 | 158043.1767 | 296297.0196 | 59.9307 | 49.4
230464 | 2021-10-27 09:40 | 20.307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.7715 | μmol/L | 12.9052 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.614 | 157809.6509 | 296322.3778 | 59.9307 | 49.4
230474 | 2021-10-27 09:40 | 20.6397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.6921 | μmol/L | 12.8991 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.569 | 157531.6215 | 296323.3266 | 59.9307 | 49.4
230484 | 2021-10-27 09:41 | 20.9732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.4995 | μmol/L | 12.8929 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.53 | 157231.8069 | 296322.4846 | 59.9307 | 49.4
230494 | 2021-10-27 09:41 | 21.3072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.1587 | μmol/L | 12.8991 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.494 | 157011.9024 | 296342.7489 | 59.9307 | 49.4
230504 | 2021-10-27 09:41 | 21.6399 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.7877 | μmol/L | 12.8991 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.462 | 156790.2198 | 296350.3211 | 59.9307 | 49.4
230514 | 2021-10-27 09:42 | 21.9734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.1748 | μmol/L | 12.9052 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.44 | 156606.9513 | 296337.0331 | 59.9307 | 49.4
230524 | 2021-10-27 09:42 | 22.3068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.6349 | μmol/L | 12.9175 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.412 | 156424.5988 | 296335.6487 | 59.9307 | 49.4
230534 | 2021-10-27 09:42 | 22.6402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.1556 | μmol/L | 12.9299 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.381 | 156219.6527 | 296374.5852 | 59.9307 | 49.4
230544 | 2021-10-27 09:43 | 22.9735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.4591 | μmol/L | 12.9422 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.361 | 156079.9963 | 296358.5649 | 59.9307 | 49.4
230554 | 2021-10-27 09:43 | 23.3069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.7876 | μmol/L | 12.936 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.347 | 155955.296 | 296356.8792 | 59.9307 | 49.4
230564 | 2021-10-27 09:43 | 23.6397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.0463 | μmol/L | 12.936 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.334 | 155838.6613 | 296369.0812 | 59.9307 | 49.4
230574 | 2021-10-27 09:44 | 23.9732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.3521 | μmol/L | 12.9299 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.321 | 155801.8471 | 296385.1617 | 59.9307 | 49.4
230584 | 2021-10-27 09:44 | 24.3068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.4918 | μmol/L | 12.9299 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.314 | 155752.5894 | 296377.5235 | 59.9307 | 49.4
230594 | 2021-10-27 09:44 | 24.6405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.4979 | μmol/L | 12.9422 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.309 | 155719.702 | 296376.3439 | 59.9307 | 49.4
230604 | 2021-10-27 09:45 | 24.9734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.6446 | μmol/L | 12.936 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.304 | 155692.7573 | 296397.2014 | 59.9307 | 49.4
230614 | 2021-10-27 09:45 | 25.307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.6238 | μmol/L | 12.9545 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.298 | 155646.9263 | 296396.1162 | 59.9307 | 49.4
230624 | 2021-10-27 09:45 | 25.6397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.727 | μmol/L | 12.9483 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.295 | 155639.9834 | 296395.4627 | 59.9307 | 49.4