## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233196 | 2021-10-29 14:06 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0055 | μmol/L | 13.485 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.297 | 121352.473 | 269345.1234 | 32.55 | 27.7
233206 | 2021-10-29 14:06 | 0.33006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.9472 | μmol/L | 13.4789 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.302 | 121374.1253 | 269343.851 | 32.55 | 27.7
233216 | 2021-10-29 14:07 | 0.66399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8673 | μmol/L | 13.4728 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.308 | 121405.8136 | 269336.2557 | 32.55 | 27.7
233226 | 2021-10-29 14:07 | 0.99733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8889 | μmol/L | 13.4728 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.307 | 121434.4827 | 269325.7509 | 32.55 | 27.7
233236 | 2021-10-29 14:07 | 1.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.9301 | μmol/L | 13.4545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.312 | 121465.9197 | 269320.271 | 32.55 | 27.7
233246 | 2021-10-29 14:08 | 1.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.7724 | μmol/L | 13.4606 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.317 | 121492.894 | 269302.0861 | 32.55 | 27.7
233256 | 2021-10-29 14:08 | 1.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8353 | μmol/L | 13.4423 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.321 | 121529.9131 | 269313.8634 | 32.55 | 27.7
233266 | 2021-10-29 14:08 | 2.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8137 | μmol/L | 13.4423 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.322 | 121541.3834 | 269303.6215 | 32.55 | 27.7
233276 | 2021-10-29 14:09 | 2.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8053 | μmol/L | 13.4301 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.327 | 121573.816 | 269296.8097 | 32.55 | 27.7
233286 | 2021-10-29 14:09 | 2.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8982 | μmol/L | 13.424 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.325 | 121582.0833 | 269299.7315 | 32.55 | 27.7
233296 | 2021-10-29 14:09 | 3.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.9912 | μmol/L | 13.4179 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.323 | 121593.5659 | 269305.4529 | 32.55 | 27.7
233306 | 2021-10-29 14:10 | 3.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.933 | μmol/L | 13.4118 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.328 | 121626.5672 | 269294.4102 | 32.55 | 27.7
233316 | 2021-10-29 14:10 | 3.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8034 | μmol/L | 13.4118 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.334 | 121681.875 | 269292.1731 | 32.55 | 27.7
233326 | 2021-10-29 14:10 | 4.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.6872 | μmol/L | 13.3996 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.344 | 121737.5113 | 269304.4749 | 32.55 | 27.7
233336 | 2021-10-29 14:11 | 4.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.5578 | μmol/L | 13.3996 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.35 | 121771.1496 | 269298.8775 | 32.55 | 27.7
233346 | 2021-10-29 14:11 | 4.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.7005 | μmol/L | 13.3874 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.348 | 121799.2164 | 269316.8448 | 32.55 | 27.7
233356 | 2021-10-29 14:11 | 5.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.4998 | μmol/L | 13.3935 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.355 | 121818.5806 | 269327.2557 | 32.55 | 27.7
233366 | 2021-10-29 14:12 | 5.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.6706 | μmol/L | 13.3751 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.354 | 121839.6299 | 269341.6555 | 32.55 | 27.7
233376 | 2021-10-29 14:12 | 5.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.7137 | μmol/L | 13.3751 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.352 | 121853.2034 | 269341.5056 | 32.55 | 27.7
233386 | 2021-10-29 14:12 | 6.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.7204 | μmol/L | 13.369 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.354 | 121834.4975 | 269338.0007 | 32.55 | 27.7
233396 | 2021-10-29 14:13 | 6.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.6706 | μmol/L | 13.3751 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.354 | 121850.2073 | 269347.7448 | 32.55 | 27.7
233406 | 2021-10-29 14:13 | 6.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.7204 | μmol/L | 13.369 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.354 | 121876.9444 | 269355.8348 | 32.55 | 27.7
233416 | 2021-10-29 14:13 | 7.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.5197 | μmol/L | 13.3751 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.361 | 121901.1618 | 269371.6453 | 32.55 | 27.7
233426 | 2021-10-29 14:14 | 7.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.4551 | μmol/L | 13.3751 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.364 | 121937.1251 | 269373.5814 | 32.55 | 27.7
233436 | 2021-10-29 14:14 | 7.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.4468 | μmol/L | 13.3629 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.369 | 121978.0022 | 269380.5602 | 32.55 | 27.7
233446 | 2021-10-29 14:14 | 8.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.4535 | μmol/L | 13.3568 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.371 | 122005.7292 | 269401.5899 | 32.55 | 27.7
233456 | 2021-10-29 14:15 | 8.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3889 | μmol/L | 13.3568 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.374 | 122035.3974 | 269414.9241 | 32.55 | 27.7
233466 | 2021-10-29 14:15 | 8.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3243 | μmol/L | 13.3568 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.377 | 122061.0099 | 269419.7537 | 32.55 | 27.7
233476 | 2021-10-29 14:15 | 9.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3674 | μmol/L | 13.3568 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.375 | 122060.0259 | 269425.7693 | 32.55 | 27.7
233486 | 2021-10-29 14:16 | 9.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3956 | μmol/L | 13.3507 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.376 | 122117.2331 | 269425.2384 | 32.55 | 27.7
233496 | 2021-10-29 14:16 | 9.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3013 | μmol/L | 13.3385 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.385 | 122193.3495 | 269439.4716 | 32.55 | 27.7
233506 | 2021-10-29 14:16 | 10.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.101 | μmol/L | 13.3446 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.392 | 122227.5074 | 269446.7103 | 32.55 | 27.7
233516 | 2021-10-29 14:17 | 10.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.0299 | μmol/L | 13.3507 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.393 | 122249.2395 | 269461.0132 | 32.55 | 27.7
233526 | 2021-10-29 14:17 | 10.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1292 | μmol/L | 13.3385 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.393 | 122273.7366 | 269483.1375 | 32.55 | 27.7
233536 | 2021-10-29 14:17 | 11.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.0433 | μmol/L | 13.3385 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.397 | 122290.557 | 269477.6155 | 32.55 | 27.7
233546 | 2021-10-29 14:18 | 11.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.101 | μmol/L | 13.3446 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.392 | 122303.2918 | 269510.7228 | 32.55 | 27.7
233556 | 2021-10-29 14:18 | 11.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1077 | μmol/L | 13.3385 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.394 | 122315.2089 | 269509.0318 | 32.55 | 27.7
233566 | 2021-10-29 14:18 | 12.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.8137 | μmol/L | 13.3324 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.41 | 122426.7095 | 269527.9285 | 32.55 | 27.7
233576 | 2021-10-29 14:19 | 12.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.1707 | μmol/L | 13.3324 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.44 | 122612.9826 | 269544.9342 | 32.55 | 27.7
233586 | 2021-10-29 14:19 | 12.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.7992 | μmol/L | 13.3202 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.462 | 122772.5747 | 269549.7453 | 32.55 | 27.7
233596 | 2021-10-29 14:19 | 13.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.5139 | μmol/L | 13.308 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.48 | 122913.7139 | 269568.5602 | 32.55 | 27.7
233606 | 2021-10-29 14:20 | 13.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.1584 | μmol/L | 13.3019 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.499 | 123008.5397 | 269569.1921 | 32.55 | 27.7
233616 | 2021-10-29 14:20 | 13.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.0374 | μmol/L | 13.2958 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.507 | 123073.8844 | 269591.5729 | 32.55 | 27.7
233626 | 2021-10-29 14:20 | 14.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.0229 | μmol/L | 13.2897 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.51 | 123108.9729 | 269600.8927 | 32.55 | 27.7
233636 | 2021-10-29 14:21 | 14.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.8595 | μmol/L | 13.2836 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.52 | 123195.6411 | 269602.0951 | 32.55 | 27.7
233646 | 2021-10-29 14:21 | 14.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.2992 | μmol/L | 13.2775 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.596 | 123698.0726 | 269621.8816 | 32.55 | 27.7
233656 | 2021-10-29 14:21 | 15.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.5479 | μmol/L | 13.2713 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.634 | 123939.5255 | 269634.6347 | 32.55 | 27.7
233666 | 2021-10-29 14:22 | 15.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.352 | μmol/L | 13.2775 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.641 | 123964.3314 | 269637.8869 | 32.55 | 27.7
233676 | 2021-10-29 14:22 | 15.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.5411 | μmol/L | 13.2775 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.632 | 123950.4939 | 269653.0478 | 32.55 | 27.7
233686 | 2021-10-29 14:22 | 16.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.6394 | μmol/L | 13.2836 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.625 | 123933.5608 | 269676.9488 | 32.55 | 27.7
233696 | 2021-10-29 14:23 | 16.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.8213 | μmol/L | 13.2713 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.621 | 123926.9718 | 269680.0951 | 32.55 | 27.7
233706 | 2021-10-29 14:23 | 16.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.8213 | μmol/L | 13.2713 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.621 | 123913.0051 | 269680.7319 | 32.55 | 27.7
233716 | 2021-10-29 14:23 | 17.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.9198 | μmol/L | 13.2775 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.614 | 123932.6253 | 269705.533 | 32.55 | 27.7
233726 | 2021-10-29 14:24 | 17.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.7656 | μmol/L | 13.2836 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.619 | 123958.0767 | 269716.0794 | 32.55 | 27.7
233736 | 2021-10-29 14:24 | 17.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.8566 | μmol/L | 13.2775 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.617 | 123972.5119 | 269726.5727 | 32.55 | 27.7
233746 | 2021-10-29 14:24 | 18.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.9198 | μmol/L | 13.2775 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.614 | 123988.0856 | 269730.9362 | 32.55 | 27.7
233756 | 2021-10-29 14:25 | 18.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.1094 | μmol/L | 13.2775 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.605 | 123929.9867 | 269734.6485 | 32.55 | 27.7
233766 | 2021-10-29 14:25 | 18.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.0183 | μmol/L | 13.2836 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.607 | 123944.2391 | 269747.2314 | 32.55 | 27.7
233776 | 2021-10-29 14:25 | 19.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.7093 | μmol/L | 13.2775 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.624 | 124076.2026 | 269766.075 | 32.55 | 27.7
233786 | 2021-10-29 14:26 | 19.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.5621 | μmol/L | 13.2775 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.631 | 124120.6429 | 269774.9675 | 32.55 | 27.7
233796 | 2021-10-29 14:26 | 19.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.8213 | μmol/L | 13.2713 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.621 | 124080.9184 | 269783.0351 | 32.55 | 27.7
233806 | 2021-10-29 14:26 | 20.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.8634 | μmol/L | 13.2713 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.619 | 124099.7963 | 269790.2896 | 32.55 | 27.7
233816 | 2021-10-29 14:27 | 20.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.3656 | μmol/L | 13.2652 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.645 | 124268.6578 | 269792.4501 | 32.55 | 27.7
233826 | 2021-10-29 14:27 | 20.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.611 | μmol/L | 13.2652 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.681 | 124505.6558 | 269817.9353 | 32.55 | 27.7
233836 | 2021-10-29 14:27 | 21.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.1789 | μmol/L | 13.2591 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.704 | 124666.3813 | 269826.52 | 32.55 | 27.7