## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 09:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
229847 | 2021-10-27 09:19 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.4687 | μmol/L | 13.1798 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.484 | 122349.0895 | 270213.8496 | 32.55 | 27.7
229857 | 2021-10-27 09:20 | 0.33347 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.2403 | μmol/L | 13.1737 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.497 | 122630.5739 | 270237.9215 | 32.55 | 27.7
229867 | 2021-10-27 09:20 | 0.66689 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.0617 | μmol/L | 13.1615 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.51 | 122645.7104 | 270276.2602 | 32.55 | 27.7
229877 | 2021-10-27 09:20 | 0.99984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.5641 | μmol/L | 13.1676 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.531 | 122790.5428 | 270306.0695 | 32.55 | 27.7
229887 | 2021-10-27 09:21 | 1.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.3085 | μmol/L | 13.1676 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.543 | 122878.5988 | 270310.8262 | 32.55 | 27.7
229897 | 2021-10-27 09:21 | 1.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.0532 | μmol/L | 13.1676 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.555 | 122995.5863 | 270340.8003 | 32.55 | 27.7
229907 | 2021-10-27 09:21 | 2.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.699 | μmol/L | 13.1615 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.574 | 123138.6178 | 270351.407 | 32.55 | 27.7
229917 | 2021-10-27 09:22 | 2.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.3952 | μmol/L | 13.1676 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.586 | 123260.9786 | 270379.1165 | 32.55 | 27.7
229927 | 2021-10-27 09:22 | 2.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.1199 | μmol/L | 13.1676 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.599 | 123330.2133 | 270381.9779 | 32.55 | 27.7
229937 | 2021-10-27 09:22 | 3 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.9576 | μmol/L | 13.1615 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.609 | 123413.4834 | 270393.4666 | 32.55 | 27.7
229947 | 2021-10-27 09:23 | 3.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.8588 | μmol/L | 13.1553 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.616 | 123467.039 | 270397.3648 | 32.55 | 27.7
229957 | 2021-10-27 09:23 | 3.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.7601 | μmol/L | 13.1492 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.623 | 123538.0053 | 270421.9829 | 32.55 | 27.7
229967 | 2021-10-27 09:23 | 4.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.6334 | μmol/L | 13.1492 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.629 | 123607.4564 | 270429.0866 | 32.55 | 27.7
229977 | 2021-10-27 09:24 | 4.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.4365 | μmol/L | 13.1553 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.636 | 123684.8795 | 270455.4757 | 32.55 | 27.7
229987 | 2021-10-27 09:24 | 4.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.2817 | μmol/L | 13.1431 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.648 | 123761.7598 | 270479.5044 | 32.55 | 27.7
229997 | 2021-10-27 09:24 | 4.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.0921 | μmol/L | 13.1431 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.657 | 123834.6551 | 270467.9642 | 32.55 | 27.7
230007 | 2021-10-27 09:25 | 5.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.0079 | μmol/L | 13.1431 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.661 | 123898.0681 | 270499.1236 | 32.55 | 27.7
230017 | 2021-10-27 09:25 | 5.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.8396 | μmol/L | 13.1431 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.669 | 123948.7323 | 270493.7811 | 32.55 | 27.7
230027 | 2021-10-27 09:25 | 6.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.5454 | μmol/L | 13.1431 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.683 | 124040.4352 | 270506.5599 | 32.55 | 27.7
230037 | 2021-10-27 09:26 | 6.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.4474 | μmol/L | 13.137 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.69 | 124100.6958 | 270518.422 | 32.55 | 27.7
230047 | 2021-10-27 09:26 | 6.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.4334 | μmol/L | 13.1309 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.693 | 124160.702 | 270549.6148 | 32.55 | 27.7
230057 | 2021-10-27 09:26 | 6.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.2376 | μmol/L | 13.137 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.7 | 124200.0039 | 270569.9852 | 32.55 | 27.7
230067 | 2021-10-27 09:27 | 7.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.1607 | μmol/L | 13.1309 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.706 | 124265.2941 | 270592.0324 | 32.55 | 27.7
230077 | 2021-10-27 09:27 | 7.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.1258 | μmol/L | 13.1248 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.71 | 124325.8315 | 270610.9891 | 32.55 | 27.7
230087 | 2021-10-27 09:27 | 8.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.9792 | μmol/L | 13.1248 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.717 | 124375.7423 | 270611.8592 | 32.55 | 27.7
230097 | 2021-10-27 09:28 | 8.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.9443 | μmol/L | 13.1187 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.721 | 124434.045 | 270626.6946 | 32.55 | 27.7
230107 | 2021-10-27 09:28 | 8.637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.7769 | μmol/L | 13.1187 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.729 | 124491.7731 | 270634.8098 | 32.55 | 27.7
230117 | 2021-10-27 09:28 | 8.9665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.5469 | μmol/L | 13.1187 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.74 | 124553.3881 | 270664.0354 | 32.55 | 27.7
230127 | 2021-10-27 09:29 | 9.2995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.4704 | μmol/L | 13.1126 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.746 | 124591.1917 | 270669.3292 | 32.55 | 27.7
230137 | 2021-10-27 09:29 | 9.6333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.4635 | μmol/L | 13.1004 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.751 | 124659.1022 | 270685.826 | 32.55 | 27.7
230147 | 2021-10-27 09:29 | 9.9662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.2895 | μmol/L | 13.1065 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.757 | 124727.9517 | 270706.2614 | 32.55 | 27.7
230157 | 2021-10-27 09:30 | 10.3 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.1713 | μmol/L | 13.1004 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.765 | 124788.9931 | 270709.4532 | 32.55 | 27.7
230167 | 2021-10-27 09:30 | 10.633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.0392 | μmol/L | 13.1065 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.769 | 124855.1953 | 270746.0962 | 32.55 | 27.7
230177 | 2021-10-27 09:30 | 10.9667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.8518 | μmol/L | 13.1065 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.778 | 124894.0453 | 270733.1889 | 32.55 | 27.7
230187 | 2021-10-27 09:31 | 11.3001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.9421 | μmol/L | 13.1004 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.776 | 124923.1521 | 270732.2373 | 32.55 | 27.7
230197 | 2021-10-27 09:31 | 11.6333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.7755 | μmol/L | 13.1004 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.784 | 124974.8994 | 270739.5573 | 32.55 | 27.7
230207 | 2021-10-27 09:31 | 11.9661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.5883 | μmol/L | 13.1004 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.793 | 125023.2105 | 270754.5616 | 32.55 | 27.7
230217 | 2021-10-27 09:32 | 12.3001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.4913 | μmol/L | 13.0943 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.8 | 125087.6443 | 270757.4748 | 32.55 | 27.7
230227 | 2021-10-27 09:32 | 12.6332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.3251 | μmol/L | 13.0943 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.808 | 125146.6699 | 270773.0289 | 32.55 | 27.7
230237 | 2021-10-27 09:32 | 12.9662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.2699 | μmol/L | 13.0882 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.813 | 125191.103 | 270775.6201 | 32.55 | 27.7
230247 | 2021-10-27 09:33 | 13.2998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.1524 | μmol/L | 13.0821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.821 | 125247.2154 | 270809.5751 | 32.55 | 27.7
230257 | 2021-10-27 09:33 | 13.6336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.938 | μmol/L | 13.0882 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.829 | 125319.0801 | 270803.0629 | 32.55 | 27.7
230267 | 2021-10-27 09:33 | 13.9668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.7379 | μmol/L | 13.0821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.841 | 125380.4424 | 270819.7984 | 32.55 | 27.7
230277 | 2021-10-27 09:34 | 14.2999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.6207 | μmol/L | 13.076 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.849 | 125447.9363 | 270826.1287 | 32.55 | 27.7
230287 | 2021-10-27 09:34 | 14.633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5728 | μmol/L | 13.0638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.856 | 125494.0594 | 270829.1614 | 32.55 | 27.7
230297 | 2021-10-27 09:34 | 14.9666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.428 | μmol/L | 13.0638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.863 | 125555.3252 | 270835.6711 | 32.55 | 27.7
230307 | 2021-10-27 09:35 | 15.2996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.3318 | μmol/L | 13.0577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.87 | 125594.3496 | 270846.2993 | 32.55 | 27.7
230317 | 2021-10-27 09:35 | 15.6332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.2285 | μmol/L | 13.0577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.875 | 125639.1865 | 270847.5375 | 32.55 | 27.7
230327 | 2021-10-27 09:35 | 15.9666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.1253 | μmol/L | 13.0577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.88 | 125682.3867 | 270872.426 | 32.55 | 27.7
230337 | 2021-10-27 09:36 | 16.3 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.0982 | μmol/L | 13.0455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.886 | 125724.3463 | 270867.6318 | 32.55 | 27.7
230347 | 2021-10-27 09:36 | 16.6332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.9673 | μmol/L | 13.0516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.89 | 125751.6696 | 270869.4629 | 32.55 | 27.7
230357 | 2021-10-27 09:36 | 16.9666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.9538 | μmol/L | 13.0455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.893 | 125782.5148 | 270870.8664 | 32.55 | 27.7
230367 | 2021-10-27 09:37 | 17.2997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.7129 | μmol/L | 13.0577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.9 | 125818.2106 | 270888.1495 | 32.55 | 27.7
230377 | 2021-10-27 09:37 | 17.633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.7477 | μmol/L | 13.0455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.903 | 125853.3049 | 270888.7866 | 32.55 | 27.7
230387 | 2021-10-27 09:37 | 17.9663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.4794 | μmol/L | 13.0638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.909 | 125868.0737 | 270891.1819 | 32.55 | 27.7
230397 | 2021-10-27 09:38 | 18.3003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.5418 | μmol/L | 13.0455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.913 | 125899.5733 | 270901.2977 | 32.55 | 27.7
230407 | 2021-10-27 09:38 | 18.6333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.4872 | μmol/L | 13.0393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.918 | 125936.3204 | 270903.4394 | 32.55 | 27.7
230417 | 2021-10-27 09:38 | 18.9664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.4666 | μmol/L | 13.0393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.919 | 125980.9923 | 270926.8766 | 32.55 | 27.7
230427 | 2021-10-27 09:39 | 19.3001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.4602 | μmol/L | 13.0271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.924 | 126005.7711 | 270919.4137 | 32.55 | 27.7
230437 | 2021-10-27 09:39 | 19.633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.344 | μmol/L | 13.021 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.932 | 126044.4458 | 270931.0109 | 32.55 | 27.7
230447 | 2021-10-27 09:39 | 19.9667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.3234 | μmol/L | 13.021 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.933 | 126087.7206 | 270934.2159 | 32.55 | 27.7
230457 | 2021-10-27 09:40 | 20.2997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.1796 | μmol/L | 13.021 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.94 | 126131.4205 | 270939.4094 | 32.55 | 27.7
230467 | 2021-10-27 09:40 | 20.6332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.0154 | μmol/L | 13.021 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.948 | 126168.8979 | 270951.064 | 32.55 | 27.7
230477 | 2021-10-27 09:40 | 20.9669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.9333 | μmol/L | 13.021 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.952 | 126223.0506 | 270965.5361 | 32.55 | 27.7
230487 | 2021-10-27 09:41 | 21.2996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.8718 | μmol/L | 13.021 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.955 | 126255.9893 | 270968.2637 | 32.55 | 27.7
230497 | 2021-10-27 09:41 | 21.633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.584 | μmol/L | 13.0393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.962 | 126310.4845 | 270974.8166 | 32.55 | 27.7
230507 | 2021-10-27 09:41 | 21.9669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.4336 | μmol/L | 13.0455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.967 | 126343.917 | 270974.0982 | 32.55 | 27.7
230517 | 2021-10-27 09:42 | 22.2996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.3722 | μmol/L | 13.0455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.97 | 126362.0165 | 270972.9778 | 32.55 | 27.7
230527 | 2021-10-27 09:42 | 22.6331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.3384 | μmol/L | 13.0393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.974 | 126397.3116 | 270979.4636 | 32.55 | 27.7
230537 | 2021-10-27 09:42 | 22.9666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.2637 | μmol/L | 13.0332 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.98 | 126439.6323 | 270982.7048 | 32.55 | 27.7
230547 | 2021-10-27 09:43 | 23.2994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.0318 | μmol/L | 13.0393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.989 | 126464.2859 | 270974.2943 | 32.55 | 27.7
230557 | 2021-10-27 09:43 | 23.6334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.0593 | μmol/L | 13.0332 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.99 | 126498.03 | 270976.183 | 32.55 | 27.7
230567 | 2021-10-27 09:43 | 23.9666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.9572 | μmol/L | 13.0332 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.995 | 126514.8875 | 270969.6663 | 32.55 | 27.7
230577 | 2021-10-27 09:44 | 24.2996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.9235 | μmol/L | 13.0271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.999 | 126551.1935 | 270979.2714 | 32.55 | 27.7
230587 | 2021-10-27 09:44 | 24.6333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.7602 | μmol/L | 13.0271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.007 | 126609.9639 | 270974.5079 | 32.55 | 27.7
230597 | 2021-10-27 09:44 | 24.9663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.4919 | μmol/L | 13.0332 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.018 | 126651.3376 | 270988.7982 | 32.55 | 27.7
230607 | 2021-10-27 09:45 | 25.3 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.4175 | μmol/L | 13.0271 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.024 | 126721.4583 | 270981.0633 | 32.55 | 27.7
230617 | 2021-10-27 09:45 | 25.6328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.153 | μmol/L | 13.0271 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.037 | 126778.6715 | 270985.2123 | 32.55 | 27.7
230627 | 2021-10-27 09:45 | 25.9665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.0476 | μmol/L | 13.0271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.042 | 126824.9832 | 270990.3443 | 32.55 | 27.7