## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 10:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
230628 | 2021-10-27 09:57 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.8473 | μmol/L | 12.2439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.502 | 148624.9635 | 282426.1466 | 33.25 | 75.7
230638 | 2021-10-27 09:57 | 0.34114 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.216 | μmol/L | 11.436 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.571 | 149177.236 | 282438.0058 | 33.25 | 75.7
230648 | 2021-10-27 09:57 | 0.67436 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.2249 | μmol/L | 11.1362 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.643 | 149731.9879 | 282429.6796 | 33.25 | 75.7
230658 | 2021-10-27 09:58 | 1.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3691 | μmol/L | 11.0689 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.708 | 150237.2477 | 282434.15 | 33.25 | 75.7
230668 | 2021-10-27 09:58 | 1.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3486 | μmol/L | 10.9343 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.762 | 150095.4732 | 282416.2373 | 33.25 | 75.7
230678 | 2021-10-27 09:58 | 1.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.8402 | μmol/L | 10.7568 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.81 | 150467.4548 | 282433.1884 | 33.25 | 75.7
230688 | 2021-10-27 09:59 | 2.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.8046 | μmol/L | 10.7262 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.869 | 150908.8866 | 282421.9562 | 33.25 | 75.7
230698 | 2021-10-27 09:59 | 2.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.4314 | μmol/L | 10.6406 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.92 | 151288.6956 | 282431.7546 | 33.25 | 75.7
230708 | 2021-10-27 09:59 | 2.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.4094 | μmol/L | 10.5427 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.96 | 151555.3163 | 282440.7505 | 33.25 | 75.7
230718 | 2021-10-27 10:00 | 3.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.2673 | μmol/L | 10.3775 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.987 | 151761.9014 | 282433.7638 | 33.25 | 75.7
230728 | 2021-10-27 10:00 | 3.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.9474 | μmol/L | 10.2307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.015 | 151983.6264 | 282441.854 | 33.25 | 75.7
230738 | 2021-10-27 10:00 | 3.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.7431 | μmol/L | 10.194 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.039 | 152156.816 | 282454.8472 | 33.25 | 75.7
230748 | 2021-10-27 10:01 | 4.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.9883 | μmol/L | 10.2246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.061 | 152360.1918 | 282453.2986 | 33.25 | 75.7
230758 | 2021-10-27 10:01 | 4.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.2655 | μmol/L | 10.3408 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.093 | 152569.1302 | 282458.902 | 33.25 | 75.7
230768 | 2021-10-27 10:01 | 4.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.5603 | μmol/L | 10.3592 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.118 | 152786.0719 | 282465.9332 | 33.25 | 75.7
230778 | 2021-10-27 10:02 | 5.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.5676 | μmol/L | 10.3959 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.149 | 153020.4551 | 282474.2739 | 33.25 | 75.7
230788 | 2021-10-27 10:02 | 5.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.9411 | μmol/L | 10.2858 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.176 | 153224.0092 | 282479.6079 | 33.25 | 75.7
230798 | 2021-10-27 10:02 | 5.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.8501 | μmol/L | 10.3714 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.192 | 153405.4515 | 282477.9682 | 33.25 | 75.7
230808 | 2021-10-27 10:03 | 6.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.3344 | μmol/L | 10.3836 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.211 | 153553.0207 | 282480.7538 | 33.25 | 75.7
230818 | 2021-10-27 10:03 | 6.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.3237 | μmol/L | 10.4509 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.231 | 153713.6399 | 282493.2124 | 33.25 | 75.7
230828 | 2021-10-27 10:03 | 6.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.8933 | μmol/L | 10.4387 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.256 | 153889.2633 | 282508.6301 | 33.25 | 75.7
230838 | 2021-10-27 10:04 | 7.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.5752 | μmol/L | 10.5427 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.276 | 154051.9834 | 282489.881 | 33.25 | 75.7
230848 | 2021-10-27 10:04 | 7.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.5885 | μmol/L | 10.6161 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.293 | 154190.086 | 282495.518 | 33.25 | 75.7
230858 | 2021-10-27 10:04 | 7.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.4882 | μmol/L | 10.5855 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.31 | 154320.5296 | 282503.3877 | 33.25 | 75.7
230868 | 2021-10-27 10:05 | 8.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.4757 | μmol/L | 10.6651 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.326 | 154440.6182 | 282508.219 | 33.25 | 75.7
230878 | 2021-10-27 10:05 | 8.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.3969 | μmol/L | 10.6345 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.342 | 154583.1204 | 282513.7954 | 33.25 | 75.7
230888 | 2021-10-27 10:05 | 8.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.3491 | μmol/L | 10.5978 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.359 | 154715.2897 | 282507.9604 | 33.25 | 75.7
230898 | 2021-10-27 10:06 | 9.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.6602 | μmol/L | 10.6345 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.377 | 154840.3354 | 282500.4728 | 33.25 | 75.7
230908 | 2021-10-27 10:06 | 9.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.3178 | μmol/L | 10.7568 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.392 | 154954.9009 | 282513.4012 | 33.25 | 75.7
230918 | 2021-10-27 10:06 | 9.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.4334 | μmol/L | 10.5916 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.405 | 155054.0664 | 282502.459 | 33.25 | 75.7
230928 | 2021-10-27 10:07 | 10.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.9399 | μmol/L | 10.7446 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.415 | 155164.7196 | 282502.1157 | 33.25 | 75.7
230938 | 2021-10-27 10:07 | 10.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.5346 | μmol/L | 10.7507 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.432 | 155270.463 | 282501.3935 | 33.25 | 75.7
230948 | 2021-10-27 10:07 | 10.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.9494 | μmol/L | 10.6712 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.444 | 155391.6274 | 282503.6604 | 33.25 | 75.7
230958 | 2021-10-27 10:08 | 11.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.9109 | μmol/L | 10.7507 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.462 | 155511.4389 | 282509.0472 | 33.25 | 75.7
230968 | 2021-10-27 10:08 | 11.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.344 | μmol/L | 10.6589 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.478 | 155620.9722 | 282521.4531 | 33.25 | 75.7
230978 | 2021-10-27 10:08 | 11.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.8396 | μmol/L | 10.6895 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.49 | 155720.7731 | 282519.1286 | 33.25 | 75.7
230988 | 2021-10-27 10:09 | 12.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.9382 | μmol/L | 10.6528 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.5 | 155799.83 | 282506.3357 | 33.25 | 75.7
230998 | 2021-10-27 10:09 | 12.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.7611 | μmol/L | 10.6467 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.511 | 155881.9205 | 282524.5387 | 33.25 | 75.7
231008 | 2021-10-27 10:09 | 12.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.2803 | μmol/L | 10.6895 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.517 | 155934.3591 | 282524.204 | 33.25 | 75.7
231018 | 2021-10-27 10:10 | 13.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.8579 | μmol/L | 10.8364 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.527 | 155984.2926 | 282510.4686 | 33.25 | 75.7
231028 | 2021-10-27 10:10 | 13.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.3693 | μmol/L | 10.7446 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.539 | 156078.2595 | 282503.9884 | 33.25 | 75.7
231038 | 2021-10-27 10:10 | 13.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.4243 | μmol/L | 10.6956 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.556 | 156194.4998 | 282492.0127 | 33.25 | 75.7
231048 | 2021-10-27 10:11 | 14.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.8711 | μmol/L | 10.5549 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.591 | 156450.0601 | 282489.6386 | 33.25 | 75.7
231058 | 2021-10-27 10:11 | 14.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.429 | μmol/L | 10.6222 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.634 | 156777.3805 | 282504.4625 | 33.25 | 75.7
231068 | 2021-10-27 10:11 | 14.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1455 | μmol/L | 10.5549 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.675 | 157089.2079 | 282497.0291 | 33.25 | 75.7
231078 | 2021-10-27 10:12 | 15.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 248.5975 | μmol/L | 10.6712 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.704 | 157275.5386 | 282491.2315 | 33.25 | 75.7
231088 | 2021-10-27 10:12 | 15.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 247.9616 | μmol/L | 10.7018 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.723 | 157437.0354 | 282488.1722 | 33.25 | 75.7
231098 | 2021-10-27 10:12 | 15.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 248.4373 | μmol/L | 10.5916 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.744 | 157572.2681 | 282483.4694 | 33.25 | 75.7
231108 | 2021-10-27 10:13 | 16.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 248.997 | μmol/L | 10.4815 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.761 | 157709.3294 | 282475.721 | 33.25 | 75.7
231118 | 2021-10-27 10:13 | 16.3405 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 247.7792 | μmol/L | 10.5978 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.774 | 157825.5403 | 282491.5826 | 33.25 | 75.7
231128 | 2021-10-27 10:13 | 16.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 247.0587 | μmol/L | 10.6712 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.78 | 157886.2608 | 282497.1433 | 33.25 | 75.7
231138 | 2021-10-27 10:14 | 17.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.8948 | μmol/L | 10.7996 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.786 | 157899.1736 | 282504.6379 | 33.25 | 75.7
231148 | 2021-10-27 10:14 | 17.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.3897 | μmol/L | 10.8547 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.789 | 157910.9913 | 282495.1777 | 33.25 | 75.7
231158 | 2021-10-27 10:14 | 17.6743 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 246.3102 | μmol/L | 10.7385 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.79 | 157936.5558 | 282498.4721 | 33.25 | 75.7
231168 | 2021-10-27 10:15 | 18.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.5178 | μmol/L | 10.8364 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.79 | 157944.693 | 282502.7494 | 33.25 | 75.7
231178 | 2021-10-27 10:15 | 18.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.1723 | μmol/L | 10.8792 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.79 | 157929.0472 | 282482.897 | 33.25 | 75.7
231188 | 2021-10-27 10:15 | 18.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.2602 | μmol/L | 10.8608 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.793 | 157972.1307 | 282478.6867 | 33.25 | 75.7
231198 | 2021-10-27 10:16 | 19.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.2188 | μmol/L | 10.8486 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.8 | 158038.9613 | 282476.5395 | 33.25 | 75.7
231208 | 2021-10-27 10:16 | 19.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 244.3515 | μmol/L | 10.9465 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.804 | 158051.069 | 282480.0122 | 33.25 | 75.7
231218 | 2021-10-27 10:16 | 19.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.7328 | μmol/L | 11.0138 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.808 | 158085.4901 | 282475.4613 | 33.25 | 75.7
231228 | 2021-10-27 10:17 | 20.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 244.3883 | μmol/L | 10.922 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.812 | 158124.3423 | 282471.8112 | 33.25 | 75.7
231238 | 2021-10-27 10:17 | 20.3405 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.0266 | μmol/L | 10.8302 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.817 | 158154.345 | 282470.3813 | 33.25 | 75.7
231248 | 2021-10-27 10:17 | 20.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 244.2288 | μmol/L | 10.922 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.82 | 158170.7047 | 282464.5744 | 33.25 | 75.7
231258 | 2021-10-27 10:18 | 21.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.5192 | μmol/L | 10.7568 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.822 | 158184.0752 | 282451.9245 | 33.25 | 75.7
231268 | 2021-10-27 10:18 | 21.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.4072 | μmol/L | 10.7385 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.835 | 158252.2599 | 282464.6935 | 33.25 | 75.7
231278 | 2021-10-27 10:18 | 21.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.246 | μmol/L | 10.7262 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.848 | 158379.1155 | 282467.1748 | 33.25 | 75.7
231288 | 2021-10-27 10:19 | 22.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 244.3055 | μmol/L | 10.8058 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.863 | 158490.0171 | 282457.687 | 33.25 | 75.7
231298 | 2021-10-27 10:19 | 22.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.3708 | μmol/L | 10.8975 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.873 | 158572.6675 | 282449.9467 | 33.25 | 75.7
231308 | 2021-10-27 10:19 | 22.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.762 | μmol/L | 10.9465 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.884 | 158617.4913 | 282452.8238 | 33.25 | 75.7
231318 | 2021-10-27 10:20 | 23.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.6525 | μmol/L | 10.9404 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.892 | 158685.2745 | 282438.953 | 33.25 | 75.7
231328 | 2021-10-27 10:20 | 23.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.1673 | μmol/L | 10.8486 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.903 | 158728.2375 | 282437.3756 | 33.25 | 75.7
231338 | 2021-10-27 10:20 | 23.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.9519 | μmol/L | 10.8731 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.904 | 158749.9711 | 282425.8179 | 33.25 | 75.7
231348 | 2021-10-27 10:21 | 24.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.6181 | μmol/L | 11.0383 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.905 | 158758.2772 | 282424.8498 | 33.25 | 75.7
231358 | 2021-10-27 10:21 | 24.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.8803 | μmol/L | 11.0077 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.904 | 158754.8015 | 282390.7785 | 33.25 | 75.7
231368 | 2021-10-27 10:21 | 24.6743 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.9198 | μmol/L | 11.0077 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.902 | 158753.5298 | 282408.1714 | 33.25 | 75.7
231378 | 2021-10-27 10:22 | 25.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.0944 | μmol/L | 10.9832 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.903 | 158731.7095 | 282377.2696 | 33.25 | 75.7
231388 | 2021-10-27 10:22 | 25.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.0564 | μmol/L | 10.9954 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.9 | 158724.5212 | 282376.1262 | 33.25 | 75.7
231398 | 2021-10-27 10:22 | 25.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.1161 | μmol/L | 11.1117 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.901 | 158718.3238 | 282376.282 | 33.25 | 75.7
231408 | 2021-10-27 10:23 | 26.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.7257 | μmol/L | 11.0322 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.902 | 158696.8315 | 282361.0471 | 33.25 | 75.7
231418 | 2021-10-27 10:23 | 26.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.7818 | μmol/L | 11.0077 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.909 | 158751.0731 | 282332.1567 | 33.25 | 75.7
231428 | 2021-10-27 10:23 | 26.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.1824 | μmol/L | 11.0138 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.937 | 158942.3943 | 282317.7984 | 33.25 | 75.7
231438 | 2021-10-27 10:24 | 27.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.7374 | μmol/L | 10.9832 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.972 | 159214.4033 | 282298.8417 | 33.25 | 75.7
231448 | 2021-10-27 10:24 | 27.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 239.1379 | μmol/L | 11.0872 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.012 | 159502.1283 | 282282.6324 | 33.25 | 75.7
231458 | 2021-10-27 10:24 | 27.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.179 | μmol/L | 11.1056 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.054 | 159817.3364 | 282269.9264 | 33.25 | 75.7
231468 | 2021-10-27 10:25 | 28.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.4286 | μmol/L | 10.9893 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.088 | 160032.7251 | 282251.9544 | 33.25 | 75.7
231478 | 2021-10-27 10:25 | 28.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.8788 | μmol/L | 11.0077 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.109 | 160165.2945 | 282245.2528 | 33.25 | 75.7
231488 | 2021-10-27 10:25 | 28.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.647 | μmol/L | 11.0077 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.121 | 160248.9126 | 282221.2958 | 33.25 | 75.7
231498 | 2021-10-27 10:26 | 29.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.0346 | μmol/L | 11.0566 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.133 | 160337.0412 | 282203.3094 | 33.25 | 75.7