## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 10:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
230629 | 2021-10-27 09:57 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.2304 | μmol/L | 13.0814 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.842 | 139536.9899 | 303283.8984 | 59.9307 | 38.1
230639 | 2021-10-27 09:57 | 0.326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.1317 | μmol/L | 13.118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.93 | 139991.2475 | 303279.2984 | 59.9307 | 38.1
230649 | 2021-10-27 09:57 | 0.65929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.0536 | μmol/L | 13.1119 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.985 | 140286.0378 | 303274.0586 | 59.9307 | 38.1
230659 | 2021-10-27 09:58 | 0.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.028 | μmol/L | 13.0997 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.04 | 140616.9032 | 303273.9942 | 59.9307 | 38.1
230669 | 2021-10-27 09:58 | 1.326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.767 | μmol/L | 13.1058 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.1 | 140669.0569 | 303266.7943 | 59.9307 | 38.1
230679 | 2021-10-27 09:58 | 1.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.753 | μmol/L | 13.0936 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.155 | 141005.3165 | 303264.4054 | 59.9307 | 38.1
230689 | 2021-10-27 09:59 | 1.9923 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.0303 | μmol/L | 13.0753 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.198 | 141287.3756 | 303272.2584 | 59.9307 | 38.1
230699 | 2021-10-27 09:59 | 2.3258 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.2842 | μmol/L | 13.0631 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.24 | 141536.3059 | 303272.9217 | 59.9307 | 38.1
230709 | 2021-10-27 09:59 | 2.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.7459 | μmol/L | 13.0448 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.274 | 141745.8839 | 303270.8289 | 59.9307 | 38.1
230719 | 2021-10-27 10:00 | 2.9926 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.3605 | μmol/L | 13.0143 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.305 | 141934.2078 | 303276.346 | 59.9307 | 38.1
230729 | 2021-10-27 10:00 | 3.3257 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.8061 | μmol/L | 13.0143 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.333 | 142130.687 | 303275.3533 | 59.9307 | 38.1
230739 | 2021-10-27 10:00 | 3.6594 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.9717 | μmol/L | 13.0387 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.366 | 142317.7625 | 303291.8679 | 59.9307 | 38.1
230749 | 2021-10-27 10:01 | 3.9926 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.5845 | μmol/L | 13.0326 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.388 | 142484.9288 | 303325.6762 | 59.9307 | 38.1
230759 | 2021-10-27 10:01 | 4.326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.1588 | μmol/L | 13.0265 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.412 | 142620.6568 | 303331.426 | 59.9307 | 38.1
230769 | 2021-10-27 10:01 | 4.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.7928 | μmol/L | 13.0204 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.433 | 142770.9372 | 303339.3943 | 59.9307 | 38.1
230779 | 2021-10-27 10:02 | 4.9923 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.5706 | μmol/L | 13.0082 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.449 | 142908.4731 | 303330.0392 | 59.9307 | 38.1
230789 | 2021-10-27 10:02 | 5.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.0887 | μmol/L | 13.0021 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.476 | 143063.6228 | 303327.6242 | 59.9307 | 38.1
230799 | 2021-10-27 10:02 | 5.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.6731 | μmol/L | 13.0082 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.495 | 143220.9077 | 303334.8993 | 59.9307 | 38.1
230809 | 2021-10-27 10:03 | 5.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.9807 | μmol/L | 13.0387 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.519 | 143351.3481 | 303348.7014 | 59.9307 | 38.1
230819 | 2021-10-27 10:03 | 6.3257 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.5839 | μmol/L | 13.0509 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.535 | 143474.0246 | 303352.4755 | 59.9307 | 38.1
230829 | 2021-10-27 10:03 | 6.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.3032 | μmol/L | 13.057 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.547 | 143555.7742 | 303350.9037 | 59.9307 | 38.1
230839 | 2021-10-27 10:04 | 6.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 232.0327 | μmol/L | 13.057 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.561 | 143633.6997 | 303338.0294 | 59.9307 | 38.1
230849 | 2021-10-27 10:04 | 7.3259 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.7113 | μmol/L | 13.0692 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.573 | 143743.6849 | 303363.51 | 59.9307 | 38.1
230859 | 2021-10-27 10:04 | 7.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.403 | μmol/L | 13.0692 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.589 | 143837.6389 | 303353.263 | 59.9307 | 38.1
230869 | 2021-10-27 10:05 | 7.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 231.0313 | μmol/L | 13.0753 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.606 | 143925.3854 | 303354.002 | 59.9307 | 38.1
230879 | 2021-10-27 10:05 | 8.3255 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.737 | μmol/L | 13.0814 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.619 | 144005.7034 | 303347.8456 | 59.9307 | 38.1
230889 | 2021-10-27 10:05 | 8.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.6153 | μmol/L | 13.0692 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.63 | 144098.3808 | 303366.8162 | 59.9307 | 38.1
230899 | 2021-10-27 10:06 | 8.9922 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.3951 | μmol/L | 13.0631 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.644 | 144166.5397 | 303357.4094 | 59.9307 | 38.1
230909 | 2021-10-27 10:06 | 9.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.2319 | μmol/L | 13.0509 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.657 | 144239.8762 | 303367.2071 | 59.9307 | 38.1
230919 | 2021-10-27 10:06 | 9.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 230.0406 | μmol/L | 13.0509 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.667 | 144316.0035 | 303358.6491 | 59.9307 | 38.1
230929 | 2021-10-27 10:07 | 9.9921 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.9959 | μmol/L | 13.0387 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.674 | 144392.5319 | 303362.2672 | 59.9307 | 38.1
230939 | 2021-10-27 10:07 | 10.3256 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.6747 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.691 | 144453.0596 | 303349.9835 | 59.9307 | 38.1
230949 | 2021-10-27 10:07 | 10.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.4333 | μmol/L | 13.0509 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.699 | 144519.2674 | 303349.4136 | 59.9307 | 38.1
230959 | 2021-10-27 10:08 | 10.9924 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.3697 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.707 | 144580.4197 | 303360.0838 | 59.9307 | 38.1
230969 | 2021-10-27 10:08 | 11.3259 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.2392 | μmol/L | 13.0326 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.716 | 144629.006 | 303359.2615 | 59.9307 | 38.1
230979 | 2021-10-27 10:08 | 11.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 229.087 | μmol/L | 13.0326 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.724 | 144699.4684 | 303366.5219 | 59.9307 | 38.1
230989 | 2021-10-27 10:09 | 11.9924 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.8969 | μmol/L | 13.0326 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.734 | 144746.7086 | 303362.5577 | 59.9307 | 38.1
230999 | 2021-10-27 10:09 | 12.3258 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.7132 | μmol/L | 13.0265 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.746 | 144803.4888 | 303369.726 | 59.9307 | 38.1
231009 | 2021-10-27 10:09 | 12.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.4286 | μmol/L | 13.0448 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.754 | 144879.0067 | 303368.4838 | 59.9307 | 38.1
231019 | 2021-10-27 10:10 | 12.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.2012 | μmol/L | 13.0448 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.766 | 144955.4539 | 303382.3872 | 59.9307 | 38.1
231029 | 2021-10-27 10:10 | 13.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 228.0469 | μmol/L | 13.0509 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.772 | 145022.4887 | 303361.6073 | 59.9307 | 38.1
231039 | 2021-10-27 10:10 | 13.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.738 | μmol/L | 13.057 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.786 | 145096.7474 | 303360.0018 | 59.9307 | 38.1
231049 | 2021-10-27 10:11 | 13.9927 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.6499 | μmol/L | 13.0509 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.793 | 145125.963 | 303358.9613 | 59.9307 | 38.1
231059 | 2021-10-27 10:11 | 14.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.4423 | μmol/L | 13.0509 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.804 | 145197.3919 | 303350.7041 | 59.9307 | 38.1
231069 | 2021-10-27 10:11 | 14.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8959 | μmol/L | 13.0509 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.833 | 145387.4196 | 303354.5919 | 59.9307 | 38.1
231079 | 2021-10-27 10:12 | 14.9927 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.9077 | μmol/L | 13.0448 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.888 | 145755.2831 | 303342.3424 | 59.9307 | 38.1
231089 | 2021-10-27 10:12 | 15.326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.0672 | μmol/L | 13.0448 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.933 | 146039.7851 | 303348.8322 | 59.9307 | 38.1
231099 | 2021-10-27 10:12 | 15.6588 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.571 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.962 | 146253.3976 | 303335.1105 | 59.9307 | 38.1
231109 | 2021-10-27 10:13 | 15.9922 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9338 | μmol/L | 13.0448 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.994 | 146474.5228 | 303337.2047 | 59.9307 | 38.1
231119 | 2021-10-27 10:13 | 16.3257 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.5207 | μmol/L | 13.0326 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.021 | 146659.863 | 303365.7386 | 59.9307 | 38.1
231129 | 2021-10-27 10:13 | 16.6589 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.2621 | μmol/L | 13.0326 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.035 | 146732.2391 | 303361.6292 | 59.9307 | 38.1
231139 | 2021-10-27 10:14 | 16.9927 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.2806 | μmol/L | 13.0326 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.034 | 146742.8151 | 303354.1613 | 59.9307 | 38.1
231149 | 2021-10-27 10:14 | 17.326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.7459 | μmol/L | 13.0326 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.063 | 146927.7262 | 303374.1073 | 59.9307 | 38.1
231159 | 2021-10-27 10:14 | 17.6594 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.4211 | μmol/L | 13.0265 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.083 | 147058.3548 | 303350.1172 | 59.9307 | 38.1
231169 | 2021-10-27 10:15 | 17.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.378 | μmol/L | 13.0326 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.083 | 147071.3069 | 303351.6049 | 59.9307 | 38.1
231179 | 2021-10-27 10:15 | 18.3258 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.2918 | μmol/L | 13.0448 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.083 | 147044.3512 | 303335.5323 | 59.9307 | 38.1
231189 | 2021-10-27 10:15 | 18.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.1753 | μmol/L | 13.0509 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.087 | 147066.336 | 303343.6903 | 59.9307 | 38.1
231199 | 2021-10-27 10:16 | 18.9924 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.0165 | μmol/L | 13.0448 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.098 | 147128.0826 | 303338.6748 | 59.9307 | 38.1
231209 | 2021-10-27 10:16 | 19.3258 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.5402 | μmol/L | 13.0448 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.124 | 147309.839 | 303335.154 | 59.9307 | 38.1
231219 | 2021-10-27 10:16 | 19.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.1134 | μmol/L | 13.0509 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.145 | 147437.9317 | 303342.4279 | 59.9307 | 38.1
231229 | 2021-10-27 10:17 | 19.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.0166 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.155 | 147498.2707 | 303336.4168 | 59.9307 | 38.1
231239 | 2021-10-27 10:17 | 20.3255 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.8706 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.163 | 147574.1858 | 303342.28 | 59.9307 | 38.1
231249 | 2021-10-27 10:17 | 20.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.7248 | μmol/L | 13.0448 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.279 | 148304.3454 | 303329.4419 | 59.9307 | 38.1
231259 | 2021-10-27 10:18 | 20.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.8117 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.388 | 149047.0844 | 303330.6058 | 59.9307 | 38.1
231269 | 2021-10-27 10:18 | 21.3255 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.3838 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.412 | 149218.0328 | 303337.8541 | 59.9307 | 38.1
231279 | 2021-10-27 10:18 | 21.6591 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.4195 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.41 | 149197.0717 | 303313.674 | 59.9307 | 38.1
231289 | 2021-10-27 10:19 | 21.9921 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.7046 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.394 | 149078.6644 | 303315.4788 | 59.9307 | 38.1
231299 | 2021-10-27 10:19 | 22.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.3311 | μmol/L | 13.0204 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.366 | 148912.9005 | 303339.994 | 59.9307 | 38.1
231309 | 2021-10-27 10:19 | 22.6593 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.7305 | μmol/L | 13.0326 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.339 | 148751.8534 | 303320.9571 | 59.9307 | 38.1
231319 | 2021-10-27 10:20 | 22.9923 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.0303 | μmol/L | 13.0204 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.327 | 148643.9026 | 303322.8204 | 59.9307 | 38.1
231329 | 2021-10-27 10:20 | 23.3255 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.1396 | μmol/L | 13.0326 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.372 | 148951.2449 | 303308.0443 | 59.9307 | 38.1
231339 | 2021-10-27 10:20 | 23.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.0166 | μmol/L | 13.0326 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.435 | 149373.146 | 303304.5847 | 59.9307 | 38.1
231349 | 2021-10-27 10:21 | 23.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.5019 | μmol/L | 13.0326 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.464 | 149538.4784 | 303272.3994 | 59.9307 | 38.1
231359 | 2021-10-27 10:21 | 24.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.3184 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.472 | 149600.6808 | 303261.5156 | 59.9307 | 38.1
231369 | 2021-10-27 10:21 | 24.6593 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.4905 | μmol/L | 13.0265 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.467 | 149542.9587 | 303245.1528 | 59.9307 | 38.1
231379 | 2021-10-27 10:22 | 24.9921 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.5424 | μmol/L | 13.0448 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.457 | 149479.5382 | 303236.6403 | 59.9307 | 38.1
231389 | 2021-10-27 10:22 | 25.3259 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.3007 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.473 | 149583.0428 | 303241.8869 | 59.9307 | 38.1
231399 | 2021-10-27 10:22 | 25.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.6707 | μmol/L | 13.0326 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.511 | 149821.6649 | 303237.8595 | 59.9307 | 38.1
231409 | 2021-10-27 10:23 | 25.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.3119 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.529 | 149941.8178 | 303214.3403 | 59.9307 | 38.1
231419 | 2021-10-27 10:23 | 26.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.2238 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.534 | 149965.2058 | 303214.2554 | 59.9307 | 38.1
231429 | 2021-10-27 10:23 | 26.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.3823 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.525 | 149881.4305 | 303197.9294 | 59.9307 | 38.1
231439 | 2021-10-27 10:24 | 26.9921 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.4591 | μmol/L | 13.0326 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.523 | 149849.4002 | 303164.2468 | 59.9307 | 38.1
231449 | 2021-10-27 10:24 | 27.326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.4113 | μmol/L | 13.0448 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.521 | 149820.7851 | 303166.4137 | 59.9307 | 38.1
231459 | 2021-10-27 10:24 | 27.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.735 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.505 | 149716.272 | 303155.7015 | 59.9307 | 38.1
231469 | 2021-10-27 10:25 | 27.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.1174 | μmol/L | 13.0448 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.481 | 149542.3308 | 303137.2355 | 59.9307 | 38.1
231479 | 2021-10-27 10:25 | 28.3258 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.5133 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.461 | 149368.1115 | 303113.3194 | 59.9307 | 38.1
231489 | 2021-10-27 10:25 | 28.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.7084 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.45 | 149307.2474 | 303121.5798 | 59.9307 | 38.1
231499 | 2021-10-27 10:26 | 28.9926 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.6197 | μmol/L | 13.0387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 25.455 | 149326.9518 | 303096.1786 | 59.9307 | 38.1