## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 10:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
230630 | 2021-10-27 09:57 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.8408 | μmol/L | 13.0571 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.745 | 109717.7753 | 220542.6199 | 27.3 | 43.4
230640 | 2021-10-27 09:57 | 0.33969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.5777 | μmol/L | 13.0937 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.825 | 110123.3582 | 220549.8158 | 27.3 | 43.4
230650 | 2021-10-27 09:57 | 0.67315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 282.0303 | μmol/L | 13.0937 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.932 | 110725.1328 | 220549.8154 | 27.3 | 43.4
230660 | 2021-10-27 09:58 | 1.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 279.8624 | μmol/L | 13.0937 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 111202.9835 | 220549.8094 | 27.3 | 43.4
230670 | 2021-10-27 09:58 | 1.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 278.2371 | μmol/L | 13.0693 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.103 | 111143.4801 | 220546.7276 | 27.3 | 43.4
230680 | 2021-10-27 09:58 | 1.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 276.8704 | μmol/L | 13.0205 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.181 | 111517.9045 | 220547.8496 | 27.3 | 43.4
230690 | 2021-10-27 09:59 | 2.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.6103 | μmol/L | 13.0144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.238 | 111805.3954 | 220547.998 | 27.3 | 43.4
230700 | 2021-10-27 09:59 | 2.3394 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.5395 | μmol/L | 13.0388 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.275 | 112014.9378 | 220550.0639 | 27.3 | 43.4
230710 | 2021-10-27 09:59 | 2.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 273.6185 | μmol/L | 13.0632 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.306 | 112176.0857 | 220547.2137 | 27.3 | 43.4
230720 | 2021-10-27 10:00 | 3.0067 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 272.5323 | μmol/L | 13.0754 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.349 | 112387.0392 | 220546.6135 | 27.3 | 43.4
230730 | 2021-10-27 10:00 | 3.3394 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 271.6307 | μmol/L | 13.0693 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.391 | 112613.668 | 220558.2283 | 27.3 | 43.4
230740 | 2021-10-27 10:00 | 3.6728 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 270.5805 | μmol/L | 13.0815 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.433 | 112824.0133 | 220579.1327 | 27.3 | 43.4
230750 | 2021-10-27 10:01 | 4.0061 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 269.7944 | μmol/L | 13.0815 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.468 | 113010.8963 | 220578.9145 | 27.3 | 43.4
230760 | 2021-10-27 10:01 | 4.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 269.2517 | μmol/L | 13.0693 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.497 | 113187.257 | 220599.7723 | 27.3 | 43.4
230770 | 2021-10-27 10:01 | 4.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 268.4396 | μmol/L | 13.0754 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.531 | 113363.3909 | 220590.215 | 27.3 | 43.4
230780 | 2021-10-27 10:02 | 5.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 267.8781 | μmol/L | 13.0632 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.561 | 113503.8527 | 220590.3942 | 27.3 | 43.4
230790 | 2021-10-27 10:02 | 5.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 267.2482 | μmol/L | 13.0693 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.587 | 113650.5178 | 220588.9097 | 27.3 | 43.4
230800 | 2021-10-27 10:02 | 5.6727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.6422 | μmol/L | 13.0754 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.612 | 113798.1385 | 220599.1818 | 27.3 | 43.4
230810 | 2021-10-27 10:03 | 6.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.0379 | μmol/L | 13.0815 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.637 | 113927.6483 | 220600.6664 | 27.3 | 43.4
230820 | 2021-10-27 10:03 | 6.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.5316 | μmol/L | 13.0815 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.66 | 114040.5535 | 220604.7836 | 27.3 | 43.4
230830 | 2021-10-27 10:03 | 6.6731 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.9996 | μmol/L | 13.0693 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.689 | 114171.6273 | 220600.5922 | 27.3 | 43.4
230840 | 2021-10-27 10:04 | 7.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.7232 | μmol/L | 13.0632 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.704 | 114270.7686 | 220603.5837 | 27.3 | 43.4
230850 | 2021-10-27 10:04 | 7.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.3293 | μmol/L | 13.0632 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.722 | 114376.5347 | 220596.2768 | 27.3 | 43.4
230860 | 2021-10-27 10:04 | 7.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.7748 | μmol/L | 13.0693 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.745 | 114472.5221 | 220592.6813 | 27.3 | 43.4
230870 | 2021-10-27 10:05 | 8.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.4915 | μmol/L | 13.0693 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.758 | 114553.0095 | 220599.3001 | 27.3 | 43.4
230880 | 2021-10-27 10:05 | 8.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.1518 | μmol/L | 13.0632 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.776 | 114644.7333 | 220615.8939 | 27.3 | 43.4
230890 | 2021-10-27 10:05 | 8.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.791 | μmol/L | 13.0571 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.795 | 114706.2678 | 220606.5043 | 27.3 | 43.4
230900 | 2021-10-27 10:06 | 9.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.457 | μmol/L | 13.0632 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.808 | 114791.0445 | 220609.727 | 27.3 | 43.4
230910 | 2021-10-27 10:06 | 9.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.3875 | μmol/L | 13.051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.816 | 114867.2534 | 220599.4313 | 27.3 | 43.4
230920 | 2021-10-27 10:06 | 9.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.0541 | μmol/L | 13.0571 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.829 | 114915.6027 | 220603.9112 | 27.3 | 43.4
230930 | 2021-10-27 10:07 | 10.0063 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.8118 | μmol/L | 13.0449 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.845 | 114992.0763 | 220612.1707 | 27.3 | 43.4
230940 | 2021-10-27 10:07 | 10.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.5095 | μmol/L | 13.0449 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.859 | 115064.9229 | 220606.9113 | 27.3 | 43.4
230950 | 2021-10-27 10:07 | 10.6731 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.4403 | μmol/L | 13.0327 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.867 | 115091.1384 | 220601.6668 | 27.3 | 43.4
230960 | 2021-10-27 10:08 | 11.0067 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.173 | μmol/L | 13.0388 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.877 | 115160.9801 | 220606.7218 | 27.3 | 43.4
230970 | 2021-10-27 10:08 | 11.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.7985 | μmol/L | 13.0449 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.892 | 115245.8119 | 220607.9183 | 27.3 | 43.4
230980 | 2021-10-27 10:08 | 11.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.3988 | μmol/L | 13.0388 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.913 | 115326.4688 | 220609.2824 | 27.3 | 43.4
230990 | 2021-10-27 10:09 | 12.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.1542 | μmol/L | 13.0449 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.922 | 115409.2265 | 220615.9249 | 27.3 | 43.4
231000 | 2021-10-27 10:09 | 12.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.82 | μmol/L | 13.0388 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.94 | 115457.8983 | 220609.0308 | 27.3 | 43.4
231010 | 2021-10-27 10:09 | 12.6728 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.576 | μmol/L | 13.0449 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.949 | 115478.5687 | 220620.1445 | 27.3 | 43.4
231020 | 2021-10-27 10:10 | 13.0062 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4349 | μmol/L | 13.0388 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.958 | 115538.7661 | 220611.4089 | 27.3 | 43.4
231030 | 2021-10-27 10:10 | 13.3393 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.1615 | μmol/L | 13.051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.966 | 115594.002 | 220607.9982 | 27.3 | 43.4
231040 | 2021-10-27 10:10 | 13.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.9994 | μmol/L | 13.0449 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.976 | 115635.6231 | 220592.1589 | 27.3 | 43.4
231050 | 2021-10-27 10:11 | 14.0067 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.8161 | μmol/L | 13.0388 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.987 | 115698.7382 | 220598.5762 | 27.3 | 43.4
231060 | 2021-10-27 10:11 | 14.3394 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4881 | μmol/L | 13.0449 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24 | 115763.9208 | 220605.044 | 27.3 | 43.4
231070 | 2021-10-27 10:11 | 14.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.3862 | μmol/L | 13.0266 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.012 | 115825.356 | 220605.9518 | 27.3 | 43.4
231080 | 2021-10-27 10:12 | 15.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.2374 | μmol/L | 13.0266 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.019 | 115851.4382 | 220594.151 | 27.3 | 43.4
231090 | 2021-10-27 10:12 | 15.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.025 | μmol/L | 13.0266 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.029 | 115913.5504 | 220593.5525 | 27.3 | 43.4
231100 | 2021-10-27 10:12 | 15.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.9699 | μmol/L | 13.0205 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.034 | 115943.5309 | 220591.512 | 27.3 | 43.4
231110 | 2021-10-27 10:13 | 16.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.9235 | μmol/L | 13.0083 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.041 | 115984.0714 | 220590.4562 | 27.3 | 43.4
231120 | 2021-10-27 10:13 | 16.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.7326 | μmol/L | 13.0083 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.05 | 116010.9861 | 220599.1887 | 27.3 | 43.4
231130 | 2021-10-27 10:13 | 16.6731 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.5419 | μmol/L | 13.0083 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.059 | 116066.1664 | 220590.6919 | 27.3 | 43.4
231140 | 2021-10-27 10:14 | 17.0063 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4486 | μmol/L | 13.0144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.061 | 116097.4458 | 220605.0015 | 27.3 | 43.4
231150 | 2021-10-27 10:14 | 17.3394 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.2668 | μmol/L | 13.0083 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.072 | 116142.7749 | 220611.0123 | 27.3 | 43.4
231160 | 2021-10-27 10:14 | 17.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.0381 | μmol/L | 13.0205 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.078 | 116180.429 | 220614.2978 | 27.3 | 43.4
231170 | 2021-10-27 10:15 | 18.0067 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.8989 | μmol/L | 13.0144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.087 | 116211.8017 | 220613.0872 | 27.3 | 43.4
231180 | 2021-10-27 10:15 | 18.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.6917 | μmol/L | 13.0266 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.092 | 116243.2718 | 220612.7556 | 27.3 | 43.4
231190 | 2021-10-27 10:15 | 18.6731 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.5737 | μmol/L | 13.0205 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.1 | 116277.908 | 220604.4259 | 27.3 | 43.4
231200 | 2021-10-27 10:16 | 19.0063 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.4473 | μmol/L | 13.0205 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.106 | 116298.0399 | 220598.8975 | 27.3 | 43.4
231210 | 2021-10-27 10:16 | 19.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.2998 | μmol/L | 13.0205 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.113 | 116339.1015 | 220594.4396 | 27.3 | 43.4
231220 | 2021-10-27 10:16 | 19.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.0559 | μmol/L | 13.0144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.127 | 116377.849 | 220600.7015 | 27.3 | 43.4
231230 | 2021-10-27 10:17 | 20.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.9211 | μmol/L | 13.0205 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.131 | 116425.8624 | 220599.4415 | 27.3 | 43.4
231240 | 2021-10-27 10:17 | 20.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.8036 | μmol/L | 13.0144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.139 | 116462.3329 | 220596.5449 | 27.3 | 43.4
231250 | 2021-10-27 10:17 | 20.6731 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.7282 | μmol/L | 13.0083 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.145 | 116493.9974 | 220594.4517 | 27.3 | 43.4
231260 | 2021-10-27 10:18 | 21.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5183 | μmol/L | 13.0083 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.155 | 116534.141 | 220596.247 | 27.3 | 43.4
231270 | 2021-10-27 10:18 | 21.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.3419 | μmol/L | 13.0144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.161 | 116578.603 | 220592.9256 | 27.3 | 43.4
231280 | 2021-10-27 10:18 | 21.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.1743 | μmol/L | 13.0144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.169 | 116600.0457 | 220595.0827 | 27.3 | 43.4
231290 | 2021-10-27 10:19 | 22.0063 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.1706 | μmol/L | 13.0022 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.174 | 116652.401 | 220599.368 | 27.3 | 43.4
231300 | 2021-10-27 10:19 | 22.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.0536 | μmol/L | 12.9961 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.182 | 116679.6626 | 220592.1116 | 27.3 | 43.4
231310 | 2021-10-27 10:19 | 22.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.8776 | μmol/L | 13.0022 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.188 | 116714.8352 | 220596.6404 | 27.3 | 43.4
231320 | 2021-10-27 10:20 | 23.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.9872 | μmol/L | 12.9839 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.19 | 116728.6019 | 220584.8573 | 27.3 | 43.4
231330 | 2021-10-27 10:20 | 23.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.0968 | μmol/L | 12.9656 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.192 | 116756.8618 | 220574.0711 | 27.3 | 43.4
231340 | 2021-10-27 10:20 | 23.6731 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.8076 | μmol/L | 12.9778 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.201 | 116787.7921 | 220567.7045 | 27.3 | 43.4
231350 | 2021-10-27 10:21 | 24.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.5814 | μmol/L | 12.99 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.207 | 116809.9576 | 220546.1579 | 27.3 | 43.4
231360 | 2021-10-27 10:21 | 24.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.3971 | μmol/L | 13.0022 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.211 | 116830.8548 | 220546.7765 | 27.3 | 43.4
231370 | 2021-10-27 10:21 | 24.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.3223 | μmol/L | 12.9961 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.217 | 116847.033 | 220550.9862 | 27.3 | 43.4
231380 | 2021-10-27 10:22 | 25.0062 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.1382 | μmol/L | 13.0083 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.221 | 116867.1592 | 220534.1823 | 27.3 | 43.4
231390 | 2021-10-27 10:22 | 25.3393 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.0218 | μmol/L | 13.0022 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.229 | 116903.7587 | 220531.5779 | 27.3 | 43.4
231400 | 2021-10-27 10:22 | 25.673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.8136 | μmol/L | 13.0022 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.239 | 116956.156 | 220528.2875 | 27.3 | 43.4
231410 | 2021-10-27 10:23 | 26.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.5554 | μmol/L | 13.0083 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.249 | 116980.0166 | 220522.9701 | 27.3 | 43.4
231420 | 2021-10-27 10:23 | 26.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.5311 | μmol/L | 12.9961 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.255 | 116998.2371 | 220506.2935 | 27.3 | 43.4
231430 | 2021-10-27 10:23 | 26.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.4272 | μmol/L | 12.9961 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.26 | 117023.8401 | 220491.4996 | 27.3 | 43.4
231440 | 2021-10-27 10:24 | 27.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.4064 | μmol/L | 12.9961 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.261 | 117049.7518 | 220484.0144 | 27.3 | 43.4
231450 | 2021-10-27 10:24 | 27.3397 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.1781 | μmol/L | 12.9961 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.272 | 117084.9569 | 220477.7453 | 27.3 | 43.4
231460 | 2021-10-27 10:24 | 27.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.0122 | μmol/L | 12.9961 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.28 | 117103.7044 | 220456.6385 | 27.3 | 43.4
231470 | 2021-10-27 10:25 | 28.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.7342 | μmol/L | 13.0022 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.291 | 117126.8951 | 220450.812 | 27.3 | 43.4
231480 | 2021-10-27 10:25 | 28.3393 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.6014 | μmol/L | 13.0083 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.295 | 117157.6431 | 220437.0118 | 27.3 | 43.4
231490 | 2021-10-27 10:25 | 28.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.5893 | μmol/L | 13.0022 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.298 | 117181.6334 | 220442.3736 | 27.3 | 43.4
231500 | 2021-10-27 10:26 | 29.0067 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.3911 | μmol/L | 12.9961 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.31 | 117207.7707 | 220420.5341 | 27.3 | 43.4