## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233850 | 2021-10-29 14:34 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.654 | μmol/L | 13.3849 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.611 | 132002.8215 | 277316.9105 | 26.25 | 74
233860 | 2021-10-29 14:35 | 0.33474 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.3362 | μmol/L | 13.3849 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.626 | 132108.3778 | 277333.5299 | 26.25 | 74
233870 | 2021-10-29 14:35 | 0.66825 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.1592 | μmol/L | 13.3727 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.639 | 132197.0946 | 277347.7101 | 26.25 | 74
233880 | 2021-10-29 14:35 | 1.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.9056 | μmol/L | 13.3727 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.651 | 132289.8854 | 277380.7681 | 26.25 | 74
233890 | 2021-10-29 14:36 | 1.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.7713 | μmol/L | 13.3605 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.662 | 132360.5026 | 277387.6099 | 26.25 | 74
233900 | 2021-10-29 14:36 | 1.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.5392 | μmol/L | 13.3605 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.673 | 132466.0748 | 277417.2487 | 26.25 | 74
233910 | 2021-10-29 14:36 | 2.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.9984 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.701 | 132626.614 | 277430.3261 | 26.25 | 74
233920 | 2021-10-29 14:37 | 2.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.7036 | μmol/L | 13.3362 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.722 | 132789.8237 | 277450.6474 | 26.25 | 74
233930 | 2021-10-29 14:37 | 2.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.2144 | μmol/L | 13.3423 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.743 | 132929.0334 | 277472.4368 | 26.25 | 74
233940 | 2021-10-29 14:37 | 3.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.1583 | μmol/L | 13.3362 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.748 | 132977.9643 | 277485.0237 | 26.25 | 74
233950 | 2021-10-29 14:38 | 3.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.0259 | μmol/L | 13.3423 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.752 | 133009.9133 | 277513.4209 | 26.25 | 74
233960 | 2021-10-29 14:38 | 3.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.0678 | μmol/L | 13.3423 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.75 | 133020.0961 | 277543.9534 | 26.25 | 74
233970 | 2021-10-29 14:38 | 4.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.005 | μmol/L | 13.3423 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.753 | 133029.0008 | 277549.3881 | 26.25 | 74
233980 | 2021-10-29 14:39 | 4.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.0468 | μmol/L | 13.3423 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.751 | 133049.6129 | 277565.2532 | 26.25 | 74
233990 | 2021-10-29 14:39 | 4.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.9354 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.754 | 133070.7506 | 277594.8076 | 26.25 | 74
234000 | 2021-10-29 14:39 | 5.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.9563 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.753 | 133105.4098 | 277618.9705 | 26.25 | 74
234010 | 2021-10-29 14:40 | 5.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.7472 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.763 | 133157.943 | 277632.7452 | 26.25 | 74
234020 | 2021-10-29 14:40 | 5.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.6427 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.768 | 133199.9125 | 277654.4554 | 26.25 | 74
234030 | 2021-10-29 14:40 | 6.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.5523 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.77 | 133246.3392 | 277667.6754 | 26.25 | 74
234040 | 2021-10-29 14:41 | 6.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.4339 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.778 | 133298.7885 | 277693.0431 | 26.25 | 74
234050 | 2021-10-29 14:41 | 6.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.17 | μmol/L | 13.3605 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.786 | 133356.1257 | 277690.8241 | 26.25 | 74
234060 | 2021-10-29 14:41 | 7.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.9824 | μmol/L | 13.3605 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.795 | 133419.1785 | 277718.9864 | 26.25 | 74
234070 | 2021-10-29 14:42 | 7.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.0101 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.796 | 133435.8571 | 277723.787 | 26.25 | 74
234080 | 2021-10-29 14:42 | 7.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.0377 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.797 | 133450.3544 | 277742.1019 | 26.25 | 74
234090 | 2021-10-29 14:42 | 8.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.0517 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.794 | 133462.6015 | 277769.5353 | 26.25 | 74
234100 | 2021-10-29 14:43 | 8.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.9059 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.801 | 133482.6495 | 277779.7059 | 26.25 | 74
234110 | 2021-10-29 14:43 | 8.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.9059 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.801 | 133515.4539 | 277798.9377 | 26.25 | 74
234120 | 2021-10-29 14:43 | 9.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.9752 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.8 | 133522.8189 | 277834.6981 | 26.25 | 74
234130 | 2021-10-29 14:44 | 9.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.9059 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.801 | 133536.4742 | 277835.7807 | 26.25 | 74
234140 | 2021-10-29 14:44 | 9.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.9752 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.8 | 133548.0576 | 277854.8491 | 26.25 | 74
234150 | 2021-10-29 14:44 | 10.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.9544 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.801 | 133557.9304 | 277877.9505 | 26.25 | 74
234160 | 2021-10-29 14:45 | 10.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.9059 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.801 | 133562.4716 | 277884.2909 | 26.25 | 74
234170 | 2021-10-29 14:45 | 10.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.8851 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.802 | 133590.7262 | 277897.6952 | 26.25 | 74
234180 | 2021-10-29 14:45 | 11.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.9128 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.803 | 133601.7892 | 277917.7943 | 26.25 | 74
234190 | 2021-10-29 14:46 | 11.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.8643 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.803 | 133614.2323 | 277929.824 | 26.25 | 74
234200 | 2021-10-29 14:46 | 11.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.7255 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.812 | 133698.7885 | 277938.6999 | 26.25 | 74
234210 | 2021-10-29 14:46 | 12.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.8952 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.852 | 133957.846 | 277952.9868 | 26.25 | 74
234220 | 2021-10-29 14:47 | 12.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.9857 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.896 | 134259.1045 | 277958.6136 | 26.25 | 74
234230 | 2021-10-29 14:47 | 12.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.2583 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.929 | 134503.9274 | 277967.0491 | 26.25 | 74
234240 | 2021-10-29 14:47 | 13.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.513 | μmol/L | 13.3605 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.963 | 134732.5834 | 277978.2991 | 26.25 | 74
234250 | 2021-10-29 14:48 | 13.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.0252 | μmol/L | 13.3545 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.989 | 134891.6376 | 277981.4685 | 26.25 | 74
234260 | 2021-10-29 14:48 | 13.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.784 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.001 | 134989.6737 | 278002.2844 | 26.25 | 74
234270 | 2021-10-29 14:48 | 14.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.5938 | μmol/L | 13.3423 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.015 | 135100.6471 | 278023.7809 | 26.25 | 74
234280 | 2021-10-29 14:49 | 14.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.0239 | μmol/L | 13.3423 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.043 | 135254.4837 | 278016.9359 | 26.25 | 74
234290 | 2021-10-29 14:49 | 14.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.7733 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.053 | 135345.5572 | 278029.4232 | 26.25 | 74
234300 | 2021-10-29 14:49 | 15.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.8545 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.049 | 135337.9428 | 278041.9954 | 26.25 | 74
234310 | 2021-10-29 14:50 | 15.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.7868 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.05 | 135340.179 | 278057.6979 | 26.25 | 74
234320 | 2021-10-29 14:50 | 15.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.5567 | μmol/L | 13.3605 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.059 | 135403.4321 | 278071.0374 | 26.25 | 74
234330 | 2021-10-29 14:50 | 16.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.7944 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.099 | 135690.066 | 278084.6334 | 26.25 | 74
234340 | 2021-10-29 14:51 | 16.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.5457 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.161 | 136081.7249 | 278097.1978 | 26.25 | 74
234350 | 2021-10-29 14:51 | 16.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.3116 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.225 | 136554.2227 | 278112.0883 | 26.25 | 74
234360 | 2021-10-29 14:51 | 17.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.8533 | μmol/L | 13.3545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.296 | 137021.443 | 278116.4107 | 26.25 | 74
234370 | 2021-10-29 14:52 | 17.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.5177 | μmol/L | 13.3484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.366 | 137477.7012 | 278113.8957 | 26.25 | 74
234380 | 2021-10-29 14:52 | 17.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.1899 | μmol/L | 13.3605 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.429 | 137905.6485 | 278136.3687 | 26.25 | 74
234390 | 2021-10-29 14:52 | 18.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.9817 | μmol/L | 13.3605 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.491 | 138308.1033 | 278141.934 | 26.25 | 74
234400 | 2021-10-29 14:53 | 18.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 235.7739 | μmol/L | 13.3666 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.551 | 138713.5568 | 278161.0046 | 26.25 | 74
234410 | 2021-10-29 14:53 | 18.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.9838 | μmol/L | 13.3666 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.592 | 138997.5383 | 278150.3419 | 26.25 | 74
234420 | 2021-10-29 14:53 | 19.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.4653 | μmol/L | 13.3666 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.619 | 139165.6556 | 278154.4678 | 26.25 | 74