## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233851 | 2021-10-29 14:34 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.1711 | μmol/L | 12.9356 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.638 | 125660.0944 | 270180.3873 | 32.55 | 27.7
233861 | 2021-10-29 14:35 | 0.32775 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.8953 | μmol/L | 12.9356 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.651 | 125732.456 | 270187.1615 | 32.55 | 27.7
233871 | 2021-10-29 14:35 | 0.66181 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.952 | μmol/L | 12.9234 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.653 | 125781.3719 | 270198.6604 | 32.55 | 27.7
233881 | 2021-10-29 14:35 | 0.99472 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.8815 | μmol/L | 12.9111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.661 | 125825.5035 | 270206.165 | 32.55 | 27.7
233891 | 2021-10-29 14:36 | 1.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.9098 | μmol/L | 12.905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.662 | 125863.82 | 270219.6631 | 32.55 | 27.7
233901 | 2021-10-29 14:36 | 1.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.7543 | μmol/L | 12.9111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.667 | 125905.0047 | 270237.1127 | 32.55 | 27.7
233911 | 2021-10-29 14:36 | 1.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.606 | μmol/L | 12.9111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.674 | 125945.2571 | 270236.7241 | 32.55 | 27.7
233921 | 2021-10-29 14:37 | 2.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.6556 | μmol/L | 12.905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.674 | 125985.3754 | 270235.2947 | 32.55 | 27.7
233931 | 2021-10-29 14:37 | 2.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.3733 | μmol/L | 12.9111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.685 | 126035.9588 | 270233.2878 | 32.55 | 27.7
233941 | 2021-10-29 14:37 | 2.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.3238 | μmol/L | 12.9173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.685 | 126085.4069 | 270242.4588 | 32.55 | 27.7
233951 | 2021-10-29 14:38 | 3.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.1475 | μmol/L | 12.9234 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.691 | 126134.4078 | 270243.8748 | 32.55 | 27.7
233961 | 2021-10-29 14:38 | 3.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.9081 | μmol/L | 12.9295 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.7 | 126181.2893 | 270263.3929 | 32.55 | 27.7
233971 | 2021-10-29 14:38 | 3.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.6757 | μmol/L | 12.9478 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.704 | 126220.286 | 270271.1706 | 32.55 | 27.7
233981 | 2021-10-29 14:39 | 4.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.4507 | μmol/L | 12.96 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.71 | 126261.5364 | 270280.9312 | 32.55 | 27.7
233991 | 2021-10-29 14:39 | 4.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.4507 | μmol/L | 12.96 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.71 | 126306.9585 | 270306.0308 | 32.55 | 27.7
234001 | 2021-10-29 14:39 | 4.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.268 | μmol/L | 12.9722 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.714 | 126340.5783 | 270291.1113 | 32.55 | 27.7
234011 | 2021-10-29 14:40 | 5.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.0855 | μmol/L | 12.9844 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.718 | 126385.5576 | 270306.1306 | 32.55 | 27.7
234021 | 2021-10-29 14:40 | 5.6617 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.8401 | μmol/L | 12.9966 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.725 | 126429.4215 | 270315.6868 | 32.55 | 27.7
234031 | 2021-10-29 14:40 | 5.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.644 | μmol/L | 13.0027 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.732 | 126477.778 | 270327.6832 | 32.55 | 27.7
234041 | 2021-10-29 14:41 | 6.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.5249 | μmol/L | 13.0149 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.733 | 126523.433 | 270324.6038 | 32.55 | 27.7
234051 | 2021-10-29 14:41 | 6.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.371 | μmol/L | 13.021 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.738 | 126554.4633 | 270332.3821 | 32.55 | 27.7
234061 | 2021-10-29 14:41 | 6.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.1683 | μmol/L | 13.0332 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.743 | 126595.8452 | 270336.535 | 32.55 | 27.7
234071 | 2021-10-29 14:42 | 7.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.0565 | μmol/L | 13.0393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.746 | 126631.8083 | 270347.1177 | 32.55 | 27.7
234081 | 2021-10-29 14:42 | 7.6617 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.8821 | μmol/L | 13.0455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.752 | 126669.174 | 270344.8358 | 32.55 | 27.7
234091 | 2021-10-29 14:42 | 7.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.8052 | μmol/L | 13.0577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.751 | 126696.6322 | 270363.6136 | 32.55 | 27.7
234101 | 2021-10-29 14:43 | 8.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.5892 | μmol/L | 13.0638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.759 | 126730.1926 | 270367.4003 | 32.55 | 27.7
234111 | 2021-10-29 14:43 | 8.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.4639 | μmol/L | 13.0638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.765 | 126766.056 | 270390.1338 | 32.55 | 27.7
234121 | 2021-10-29 14:43 | 8.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.4639 | μmol/L | 13.0638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.765 | 126806.8151 | 270398.6417 | 32.55 | 27.7
234131 | 2021-10-29 14:44 | 9.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.4221 | μmol/L | 13.0638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.767 | 126831.3768 | 270404.511 | 32.55 | 27.7
234141 | 2021-10-29 14:44 | 9.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.2899 | μmol/L | 13.0699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.771 | 126855.6548 | 270418.5141 | 32.55 | 27.7
234151 | 2021-10-29 14:44 | 9.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.2899 | μmol/L | 13.0699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.771 | 126876.7808 | 270427.6008 | 32.55 | 27.7
234161 | 2021-10-29 14:45 | 10.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.3178 | μmol/L | 13.0638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.772 | 126896.9586 | 270412.0893 | 32.55 | 27.7
234171 | 2021-10-29 14:45 | 10.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.1856 | μmol/L | 13.0699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.776 | 126925.7555 | 270425.8623 | 32.55 | 27.7
234181 | 2021-10-29 14:45 | 10.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.1856 | μmol/L | 13.0699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.776 | 126959.2674 | 270440.546 | 32.55 | 27.7
234191 | 2021-10-29 14:46 | 11.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.151 | μmol/L | 13.0638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.78 | 126965.0089 | 270442.0352 | 32.55 | 27.7
234201 | 2021-10-29 14:46 | 11.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.991 | μmol/L | 13.076 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.783 | 126992.6904 | 270448.3541 | 32.55 | 27.7
234211 | 2021-10-29 14:46 | 11.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.0397 | μmol/L | 13.0699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.783 | 127013.9822 | 270451.1295 | 32.55 | 27.7
234221 | 2021-10-29 14:47 | 12.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.9702 | μmol/L | 13.076 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.784 | 127036.9391 | 270467.171 | 32.55 | 27.7
234231 | 2021-10-29 14:47 | 12.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.9493 | μmol/L | 13.076 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.785 | 127048.9144 | 270471.2767 | 32.55 | 27.7
234241 | 2021-10-29 14:47 | 12.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.9007 | μmol/L | 13.0821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.785 | 127063.4613 | 270469.2993 | 32.55 | 27.7
234251 | 2021-10-29 14:48 | 13.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.9356 | μmol/L | 13.0699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.788 | 127074.9626 | 270473.7884 | 32.55 | 27.7
234261 | 2021-10-29 14:48 | 13.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.8104 | μmol/L | 13.0882 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.787 | 127083.1726 | 270471.4125 | 32.55 | 27.7
234271 | 2021-10-29 14:48 | 13.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.7758 | μmol/L | 13.0821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.791 | 127095.22 | 270478.2858 | 32.55 | 27.7
234281 | 2021-10-29 14:49 | 14.3286 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.8523 | μmol/L | 13.0699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.792 | 127107.605 | 270485.7443 | 32.55 | 27.7
234291 | 2021-10-29 14:49 | 14.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.7271 | μmol/L | 13.0882 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.791 | 127118.0058 | 270486.3355 | 32.55 | 27.7
234301 | 2021-10-29 14:49 | 14.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.7549 | μmol/L | 13.0821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.792 | 127126.0606 | 270484.5332 | 32.55 | 27.7
234311 | 2021-10-29 14:50 | 15.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.762 | μmol/L | 13.076 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.794 | 127145.7024 | 270497.4358 | 32.55 | 27.7
234321 | 2021-10-29 14:50 | 15.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.6301 | μmol/L | 13.0821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.798 | 127156.7127 | 270503.7455 | 32.55 | 27.7
234331 | 2021-10-29 14:50 | 15.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.7204 | μmol/L | 13.076 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.796 | 127182.5902 | 270504.6499 | 32.55 | 27.7
234341 | 2021-10-29 14:51 | 16.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.6509 | μmol/L | 13.0821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.797 | 127201.6251 | 270521.7563 | 32.55 | 27.7
234351 | 2021-10-29 14:51 | 16.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.6509 | μmol/L | 13.0821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.797 | 127214.7547 | 270522.8689 | 32.55 | 27.7
234361 | 2021-10-29 14:51 | 16.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.6442 | μmol/L | 13.0699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.802 | 127227.3203 | 270520.5118 | 32.55 | 27.7
234371 | 2021-10-29 14:52 | 17.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.658 | μmol/L | 13.076 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.799 | 127249.8808 | 270534.6286 | 32.55 | 27.7
234381 | 2021-10-29 14:52 | 17.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.6442 | μmol/L | 13.0699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.802 | 127261.9683 | 270537.6439 | 32.55 | 27.7
234391 | 2021-10-29 14:52 | 17.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.6929 | μmol/L | 13.0638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.802 | 127287.5037 | 270548.7396 | 32.55 | 27.7
234401 | 2021-10-29 14:53 | 18.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.6234 | μmol/L | 13.0699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.803 | 127292.3339 | 270545.0153 | 32.55 | 27.7
234411 | 2021-10-29 14:53 | 18.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.5818 | μmol/L | 13.0699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.805 | 127304.9062 | 270543.8478 | 32.55 | 27.7
234421 | 2021-10-29 14:53 | 18.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.4501 | μmol/L | 13.076 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.809 | 127313.54 | 270559.2225 | 32.55 | 27.7