## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 10:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231981 | 2021-10-29 10:16 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.6272 | μmol/L | 13.0776 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.553 | 162629.7872 | 274030.1479 | 36.4 | 83.1
231991 | 2021-10-29 10:16 | 0.32583 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.0741 | μmol/L | 13.0593 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.773 | 163715.3789 | 273988.9588 | 36.4 | 83.1
232001 | 2021-10-29 10:16 | 0.65907 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.4824 | μmol/L | 13.0715 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.902 | 164273.3346 | 273943.3046 | 36.4 | 83.1
232011 | 2021-10-29 10:17 | 0.99276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.7961 | μmol/L | 13.0959 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.95 | 164388.7121 | 273914.4524 | 36.4 | 83.1
232021 | 2021-10-29 10:17 | 1.3254 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.8173 | μmol/L | 13.1632 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.92 | 164122.5868 | 273841.0485 | 36.4 | 83.1
232031 | 2021-10-29 10:17 | 1.6589 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.4225 | μmol/L | 13.3894 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.859 | 163813.8858 | 273700.0525 | 36.4 | 83.1
232041 | 2021-10-29 10:18 | 1.9924 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 149.1984 | μmol/L | 13.4873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.923 | 164295.7189 | 273594.7323 | 36.4 | 83.1
232051 | 2021-10-29 10:18 | 2.3254 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 148.0071 | μmol/L | 13.4078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.059 | 165067.1099 | 273473.2011 | 36.4 | 83.1
232061 | 2021-10-29 10:18 | 2.6589 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 147.2164 | μmol/L | 13.3161 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.166 | 165400.8609 | 273272.8588 | 36.4 | 83.1
232071 | 2021-10-29 10:19 | 2.9926 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.8086 | μmol/L | 13.5179 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.205 | 165533.1479 | 273055.8312 | 36.4 | 83.1
232081 | 2021-10-29 10:19 | 3.3256 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 144.4049 | μmol/L | 13.5851 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.301 | 165975.7731 | 272865.4415 | 36.4 | 83.1
232091 | 2021-10-29 10:19 | 3.6591 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 143.9919 | μmol/L | 13.4812 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.381 | 166192.68 | 272725.9091 | 36.4 | 83.1
232101 | 2021-10-29 10:20 | 3.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 144.2815 | μmol/L | 13.4506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.368 | 165815.2099 | 272550.1905 | 36.4 | 83.1
232111 | 2021-10-29 10:20 | 4.3258 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.271 | μmol/L | 13.4995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.26 | 164885.0805 | 272368.3784 | 36.4 | 83.1
232121 | 2021-10-29 10:20 | 4.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 146.4716 | μmol/L | 13.5607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.129 | 164000.2555 | 272274.3086 | 36.4 | 83.1
232131 | 2021-10-29 10:21 | 4.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 148.1417 | μmol/L | 13.3894 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.055 | 163302.3817 | 272206.4894 | 36.4 | 83.1
232141 | 2021-10-29 10:21 | 5.3259 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 149.0891 | μmol/L | 13.3589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.986 | 162613.0426 | 272112.9709 | 36.4 | 83.1
232151 | 2021-10-29 10:21 | 5.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 149.6713 | μmol/L | 13.3589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.936 | 162062.4757 | 272055.2402 | 36.4 | 83.1
232161 | 2021-10-29 10:22 | 5.9926 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.2558 | μmol/L | 13.3589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.886 | 161601.6361 | 272030.8506 | 36.4 | 83.1
232171 | 2021-10-29 10:22 | 6.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.8347 | μmol/L | 13.3772 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.829 | 161110.2777 | 272004.86 | 36.4 | 83.1
232181 | 2021-10-29 10:22 | 6.6589 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.282 | μmol/L | 13.3772 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.791 | 160707.3768 | 271984.5707 | 36.4 | 83.1
232191 | 2021-10-29 10:23 | 6.9922 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.6258 | μmol/L | 13.42 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.744 | 160339.063 | 271967.1094 | 36.4 | 83.1
232201 | 2021-10-29 10:23 | 7.3258 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.1663 | μmol/L | 13.4017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.706 | 160021.6951 | 271948.4564 | 36.4 | 83.1
232211 | 2021-10-29 10:23 | 7.6593 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.7008 | μmol/L | 13.4017 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.661 | 159665.2133 | 271938.0557 | 36.4 | 83.1
232221 | 2021-10-29 10:24 | 7.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.9114 | μmol/L | 13.4384 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.628 | 159384.2036 | 271881.1763 | 36.4 | 83.1
232231 | 2021-10-29 10:24 | 8.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.6779 | μmol/L | 13.5117 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.617 | 159308.9488 | 271858.7742 | 36.4 | 83.1
232241 | 2021-10-29 10:24 | 8.6592 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.1745 | μmol/L | 13.5607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.639 | 159376.8647 | 271795.4915 | 36.4 | 83.1
232251 | 2021-10-29 10:25 | 8.9921 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.4967 | μmol/L | 13.5974 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.681 | 159572.944 | 271748.0325 | 36.4 | 83.1
232261 | 2021-10-29 10:25 | 9.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.0852 | μmol/L | 13.5851 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.721 | 159694.7359 | 271704.3171 | 36.4 | 83.1
232271 | 2021-10-29 10:25 | 9.659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.8479 | μmol/L | 13.5423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.759 | 159808.3701 | 271703.3417 | 36.4 | 83.1
232281 | 2021-10-29 10:26 | 9.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.7679 | μmol/L | 13.5179 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.776 | 159858.0319 | 271673.3555 | 36.4 | 83.1
232291 | 2021-10-29 10:26 | 10.3257 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.903 | μmol/L | 13.4567 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.79 | 159857.375 | 271665.6776 | 36.4 | 83.1
232301 | 2021-10-29 10:26 | 10.6589 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.1803 | μmol/L | 13.4506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.769 | 159649.2098 | 271635.3927 | 36.4 | 83.1
232311 | 2021-10-29 10:27 | 10.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.6682 | μmol/L | 13.4689 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.72 | 159308.0172 | 271604.2934 | 36.4 | 83.1
232321 | 2021-10-29 10:27 | 11.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.5031 | μmol/L | 13.4751 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.647 | 158859.8511 | 271594.8383 | 36.4 | 83.1
232331 | 2021-10-29 10:27 | 11.6592 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.3665 | μmol/L | 13.4812 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.572 | 158345.9665 | 271589.5268 | 36.4 | 83.1
232341 | 2021-10-29 10:28 | 11.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.0612 | μmol/L | 13.4812 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.514 | 157936.5287 | 271581.7382 | 36.4 | 83.1
232351 | 2021-10-29 10:28 | 12.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.4097 | μmol/L | 13.4812 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.485 | 157721.9899 | 271558.0314 | 36.4 | 83.1
232361 | 2021-10-29 10:28 | 12.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.4819 | μmol/L | 13.4812 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.479 | 157635.3238 | 271541.5577 | 36.4 | 83.1
232371 | 2021-10-29 10:29 | 12.9925 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.367 | μmol/L | 13.4873 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.486 | 157598.2622 | 271512.9507 | 36.4 | 83.1
232381 | 2021-10-29 10:29 | 13.3256 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.6338 | μmol/L | 13.4995 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.542 | 157842.1322 | 271525.4461 | 36.4 | 83.1