## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 10:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231980 | 2021-10-29 10:16 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1691 | μmol/L | 12.8724 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 26.849 | 110655.7495 | 302742.1805 | 28.7 | 67.6
231990 | 2021-10-29 10:16 | 0.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2279 | μmol/L | 12.8724 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 26.909 | 110890.483 | 302684.1471 | 28.7 | 67.6
232000 | 2021-10-29 10:16 | 0.66448 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.9839 | μmol/L | 12.8663 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 26.927 | 110949.3184 | 302650.4315 | 28.7 | 67.6
232010 | 2021-10-29 10:17 | 0.9978 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.8937 | μmol/L | 12.8663 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 26.997 | 111268.0479 | 302621.5565 | 28.7 | 67.6
232020 | 2021-10-29 10:17 | 1.3309 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.7185 | μmol/L | 12.8663 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.138 | 111923.8987 | 302573.5736 | 28.7 | 67.6
232030 | 2021-10-29 10:17 | 1.6647 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.8873 | μmol/L | 12.9149 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.305 | 112766.9534 | 302506.9199 | 28.7 | 67.6
232040 | 2021-10-29 10:18 | 1.9974 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.1824 | μmol/L | 12.9392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.409 | 113303.7028 | 302346.4567 | 28.7 | 67.6
232050 | 2021-10-29 10:18 | 2.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.3542 | μmol/L | 12.9331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.467 | 113526.8494 | 302123.3876 | 28.7 | 67.6
232060 | 2021-10-29 10:18 | 2.6641 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.0365 | μmol/L | 12.9392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.486 | 113502.766 | 301876.3564 | 28.7 | 67.6
232070 | 2021-10-29 10:19 | 2.9972 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.3702 | μmol/L | 12.9695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.519 | 113619.5411 | 301657.3404 | 28.7 | 67.6
232080 | 2021-10-29 10:19 | 3.3309 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.4154 | μmol/L | 12.9817 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.579 | 113845.9801 | 301397.3341 | 28.7 | 67.6
232090 | 2021-10-29 10:19 | 3.6644 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.4713 | μmol/L | 12.9695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.58 | 113677.1621 | 301118.3015 | 28.7 | 67.6
232100 | 2021-10-29 10:20 | 3.9975 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.3628 | μmol/L | 12.9453 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.597 | 113583.9591 | 300898.8294 | 28.7 | 67.6
232110 | 2021-10-29 10:20 | 4.3311 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.4927 | μmol/L | 12.9513 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.654 | 113693.727 | 300711.2204 | 28.7 | 67.6
232120 | 2021-10-29 10:20 | 4.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.4265 | μmol/L | 12.9635 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.861 | 114504.5053 | 300547.6482 | 28.7 | 67.6
232130 | 2021-10-29 10:21 | 4.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.6499 | μmol/L | 12.927 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28 | 114965.5245 | 300384.7652 | 28.7 | 67.6
232140 | 2021-10-29 10:21 | 5.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.4343 | μmol/L | 12.927 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.086 | 115247.6981 | 300289.6431 | 28.7 | 67.6
232150 | 2021-10-29 10:21 | 5.6646 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.7751 | μmol/L | 12.9331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.202 | 115671.2447 | 300255.5336 | 28.7 | 67.6
232160 | 2021-10-29 10:22 | 5.9978 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.7548 | μmol/L | 12.9392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.273 | 115941.5882 | 300219.5027 | 28.7 | 67.6
232170 | 2021-10-29 10:22 | 6.3311 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.9005 | μmol/L | 12.9513 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.33 | 116123.9173 | 300199.74 | 28.7 | 67.6
232180 | 2021-10-29 10:22 | 6.6644 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.7059 | μmol/L | 12.9513 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.417 | 116445.8381 | 300217.9023 | 28.7 | 67.6
232190 | 2021-10-29 10:23 | 6.9979 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.4896 | μmol/L | 12.9695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.499 | 116819.3514 | 300192.9562 | 28.7 | 67.6
232200 | 2021-10-29 10:23 | 7.3314 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.8066 | μmol/L | 12.9756 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.547 | 117003.8349 | 300183.6148 | 28.7 | 67.6
232210 | 2021-10-29 10:23 | 7.6651 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.7041 | μmol/L | 12.9695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.557 | 117037.2949 | 300169.0351 | 28.7 | 67.6
232220 | 2021-10-29 10:24 | 7.9972 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.5791 | μmol/L | 12.9878 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.559 | 117025.2609 | 300141.6086 | 28.7 | 67.6
232230 | 2021-10-29 10:24 | 8.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4891 | μmol/L | 13.0121 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.556 | 116992.3866 | 300117.9568 | 28.7 | 67.6
232240 | 2021-10-29 10:24 | 8.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1948 | μmol/L | 13.0242 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.573 | 117046.8399 | 300062.004 | 28.7 | 67.6
232250 | 2021-10-29 10:25 | 8.9979 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.4825 | μmol/L | 13.0242 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.626 | 117260.4852 | 300015.6653 | 28.7 | 67.6
232260 | 2021-10-29 10:25 | 9.3312 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.4213 | μmol/L | 13.0303 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.703 | 117562.2852 | 299976.3779 | 28.7 | 67.6
232270 | 2021-10-29 10:25 | 9.6643 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.2591 | μmol/L | 13.0242 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.793 | 117915.8746 | 299945.0185 | 28.7 | 67.6
232280 | 2021-10-29 10:26 | 9.9976 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.0399 | μmol/L | 13.0181 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.888 | 118317.533 | 299903.6102 | 28.7 | 67.6
232290 | 2021-10-29 10:26 | 10.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.8041 | μmol/L | 13.0121 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.985 | 118755.3427 | 299885.4907 | 28.7 | 67.6
232300 | 2021-10-29 10:26 | 10.6638 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.4747 | μmol/L | 13.006 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.09 | 119175.7265 | 299860.2903 | 28.7 | 67.6
232310 | 2021-10-29 10:27 | 10.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.3965 | μmol/L | 13.0181 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.169 | 119545.3467 | 299853.6823 | 28.7 | 67.6
232320 | 2021-10-29 10:27 | 11.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 159.5477 | μmol/L | 13.0242 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.233 | 119817.5868 | 299829.2479 | 28.7 | 67.6
232330 | 2021-10-29 10:27 | 11.6645 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 158.8918 | μmol/L | 13.0181 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.287 | 120027.858 | 299827.8527 | 28.7 | 67.6
232340 | 2021-10-29 10:28 | 11.9979 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 158.4755 | μmol/L | 13.0303 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.315 | 120153.8085 | 299818.7149 | 28.7 | 67.6
232350 | 2021-10-29 10:28 | 12.3311 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 158.2099 | μmol/L | 13.0303 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.336 | 120218.7946 | 299808.5477 | 28.7 | 67.6
232360 | 2021-10-29 10:28 | 12.6645 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 157.8008 | μmol/L | 13.0363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.366 | 120340.4439 | 299789.541 | 28.7 | 67.6
232370 | 2021-10-29 10:29 | 12.9972 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.7711 | μmol/L | 13.0363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.448 | 120700.2151 | 299793.5872 | 28.7 | 67.6
232380 | 2021-10-29 10:29 | 13.3312 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.0113 | μmol/L | 13.0424 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.587 | 121286.0611 | 299775.6375 | 28.7 | 67.6