## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 10:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231979 | 2021-10-29 10:16 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.5312 | μmol/L | 12.8742 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 26.141 | 125430.9965 | 219497.2339 | 27.3 | 43.4
231989 | 2021-10-29 10:16 | 0.33047 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.4734 | μmol/L | 12.862 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 26.381 | 126592.6515 | 219468.2967 | 27.3 | 43.4
231999 | 2021-10-29 10:16 | 0.66337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.9198 | μmol/L | 12.862 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 26.591 | 127595.1735 | 219429.636 | 27.3 | 43.4
232009 | 2021-10-29 10:17 | 0.99668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.597 | μmol/L | 12.862 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 26.791 | 128571.2152 | 219416.4614 | 27.3 | 43.4
232019 | 2021-10-29 10:17 | 1.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.2036 | μmol/L | 12.8742 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.056 | 129919.2504 | 219389.8394 | 27.3 | 43.4
232029 | 2021-10-29 10:17 | 1.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.6002 | μmol/L | 12.9107 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.204 | 130722.554 | 219346.9056 | 27.3 | 43.4
232039 | 2021-10-29 10:18 | 1.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.1858 | μmol/L | 12.9412 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.281 | 131182.1343 | 219265.5284 | 27.3 | 43.4
232049 | 2021-10-29 10:18 | 2.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.4999 | μmol/L | 12.9534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.448 | 131992.2 | 219158.2444 | 27.3 | 43.4
232059 | 2021-10-29 10:18 | 2.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.8707 | μmol/L | 12.929 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.629 | 132783.4194 | 219030.8876 | 27.3 | 43.4
232069 | 2021-10-29 10:19 | 2.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.812 | μmol/L | 12.9595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.752 | 133352.843 | 218919.8393 | 27.3 | 43.4
232079 | 2021-10-29 10:19 | 3.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.9496 | μmol/L | 12.9717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.871 | 133868.6441 | 218788.7088 | 27.3 | 43.4
232089 | 2021-10-29 10:19 | 3.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.2423 | μmol/L | 12.9473 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 27.996 | 134323.1383 | 218630.2309 | 27.3 | 43.4
232099 | 2021-10-29 10:20 | 3.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.0996 | μmol/L | 12.9534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.071 | 134524.1601 | 218510.8574 | 27.3 | 43.4
232109 | 2021-10-29 10:20 | 4.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.7327 | μmol/L | 12.9534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.096 | 134494.1992 | 218412.1428 | 27.3 | 43.4
232119 | 2021-10-29 10:20 | 4.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.7827 | μmol/L | 12.9717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.085 | 134349.8269 | 218315.0259 | 27.3 | 43.4
232129 | 2021-10-29 10:21 | 4.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.4018 | μmol/L | 12.9717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.111 | 134326.0975 | 218225.1465 | 27.3 | 43.4
232139 | 2021-10-29 10:21 | 5.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.0871 | μmol/L | 12.9778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.13 | 134306.088 | 218166.438 | 27.3 | 43.4
232149 | 2021-10-29 10:21 | 5.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.9447 | μmol/L | 12.9717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.211 | 134565.7344 | 218124.1712 | 27.3 | 43.4
232159 | 2021-10-29 10:22 | 5.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.6244 | μmol/L | 12.9717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.372 | 135312.8685 | 218105.4688 | 27.3 | 43.4
232169 | 2021-10-29 10:22 | 6.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.1639 | μmol/L | 12.9656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.477 | 135787.7167 | 218075.9442 | 27.3 | 43.4
232179 | 2021-10-29 10:22 | 6.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.5113 | μmol/L | 12.9778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.518 | 135905.5941 | 218063.6196 | 27.3 | 43.4
232189 | 2021-10-29 10:23 | 6.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.8893 | μmol/L | 12.99 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.557 | 136098.7756 | 218072.4777 | 27.3 | 43.4
232199 | 2021-10-29 10:23 | 7.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.2998 | μmol/L | 12.9778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.604 | 136293.4772 | 218051.3366 | 27.3 | 43.4
232209 | 2021-10-29 10:23 | 7.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.7952 | μmol/L | 12.9778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.64 | 136435.9874 | 218023.6012 | 27.3 | 43.4
232219 | 2021-10-29 10:24 | 7.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.1719 | μmol/L | 12.9961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.677 | 136597.4317 | 218005.3609 | 27.3 | 43.4
232229 | 2021-10-29 10:24 | 8.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.5103 | μmol/L | 13.0022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.722 | 136828.5137 | 217984.5912 | 27.3 | 43.4
232239 | 2021-10-29 10:24 | 8.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.3741 | μmol/L | 13.0144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.799 | 137167.2495 | 217957.3923 | 27.3 | 43.4
232249 | 2021-10-29 10:25 | 8.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.0948 | μmol/L | 13.0266 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.887 | 137587.0922 | 217926.8456 | 27.3 | 43.4
232259 | 2021-10-29 10:25 | 9.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.63 | μmol/L | 13.0205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 28.997 | 138071.7865 | 217904.5947 | 27.3 | 43.4
232269 | 2021-10-29 10:25 | 9.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.8079 | μmol/L | 13.0205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.132 | 138733.6232 | 217877.8197 | 27.3 | 43.4
232279 | 2021-10-29 10:26 | 9.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.7333 | μmol/L | 13.0266 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.285 | 139452.1589 | 217858.941 | 27.3 | 43.4
232289 | 2021-10-29 10:26 | 10.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.1182 | μmol/L | 13.0205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.41 | 140047.783 | 217837.5453 | 27.3 | 43.4
232299 | 2021-10-29 10:26 | 10.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9153 | μmol/L | 13.0205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.502 | 140479.6808 | 217831.4518 | 27.3 | 43.4
232309 | 2021-10-29 10:27 | 10.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.1863 | μmol/L | 13.0327 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.553 | 140734.7765 | 217811.8397 | 27.3 | 43.4
232319 | 2021-10-29 10:27 | 11.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.5004 | μmol/L | 13.0327 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.606 | 140973.9171 | 217801.5725 | 27.3 | 43.4
232329 | 2021-10-29 10:27 | 11.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.8817 | μmol/L | 13.0327 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.654 | 141191.2295 | 217779.5205 | 27.3 | 43.4
232339 | 2021-10-29 10:28 | 11.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.1175 | μmol/L | 13.0388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.711 | 141462.2508 | 217781.2854 | 27.3 | 43.4
232349 | 2021-10-29 10:28 | 12.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.0514 | μmol/L | 13.0449 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.792 | 141829.7213 | 217766.691 | 27.3 | 43.4
232359 | 2021-10-29 10:28 | 12.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.9361 | μmol/L | 13.0449 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.88 | 142239.9626 | 217757.291 | 27.3 | 43.4
232369 | 2021-10-29 10:29 | 12.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.035 | μmol/L | 13.051 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.949 | 142590.1208 | 217748.7117 | 27.3 | 43.4
232379 | 2021-10-29 10:29 | 13.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.2901 | μmol/L | 13.0449 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.011 | 142860.5384 | 217739.6841 | 27.3 | 43.4