## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 10:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231982 | 2021-10-29 10:16 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.1215 | μmol/L | 12.7678 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 29.531 | 143441.9824 | 306509.3707 | 30.45 | 114.2
231992 | 2021-10-29 10:16 | 0.33876 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.1888 | μmol/L | 12.7739 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 29.765 | 144641.319 | 306445.4369 | 30.45 | 114.2
232002 | 2021-10-29 10:16 | 0.67188 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.5474 | μmol/L | 12.7862 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 29.977 | 145700.8751 | 306403.5838 | 30.45 | 114.2
232012 | 2021-10-29 10:17 | 1.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.4047 | μmol/L | 12.7862 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 30.156 | 146628.2743 | 306357.7737 | 30.45 | 114.2
232022 | 2021-10-29 10:17 | 1.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 147.4117 | μmol/L | 12.7923 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 30.322 | 147464.4218 | 306318.468 | 30.45 | 114.2
232032 | 2021-10-29 10:17 | 1.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.3842 | μmol/L | 12.8046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 30.491 | 148386.4434 | 306239.9887 | 30.45 | 114.2
232042 | 2021-10-29 10:18 | 2.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.4759 | μmol/L | 12.8168 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 30.652 | 149225.7827 | 306097.3101 | 30.45 | 114.2
232052 | 2021-10-29 10:18 | 2.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.9747 | μmol/L | 12.8046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 30.789 | 149864.4961 | 305892.6086 | 30.45 | 114.2
232062 | 2021-10-29 10:18 | 2.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.7362 | μmol/L | 12.8046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 30.899 | 150321.1793 | 305700.8607 | 30.45 | 114.2
232072 | 2021-10-29 10:19 | 3.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.7256 | μmol/L | 12.8107 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 30.987 | 150696.4818 | 305528.3027 | 30.45 | 114.2
232082 | 2021-10-29 10:19 | 3.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.7494 | μmol/L | 12.8107 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 31.075 | 151055.2758 | 305304.509 | 30.45 | 114.2
232092 | 2021-10-29 10:19 | 3.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5604 | μmol/L | 12.8107 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 31.183 | 151442.2014 | 305088.0808 | 30.45 | 114.2
232102 | 2021-10-29 10:20 | 4.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.3507 | μmol/L | 12.8107 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 31.294 | 151875.9814 | 304896.4128 | 30.45 | 114.2
232112 | 2021-10-29 10:20 | 4.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.1532 | μmol/L | 12.8168 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 31.402 | 152304.3799 | 304711.5033 | 30.45 | 114.2
232122 | 2021-10-29 10:20 | 4.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.0388 | μmol/L | 12.8168 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 31.506 | 152702.2579 | 304575.564 | 30.45 | 114.2
232132 | 2021-10-29 10:21 | 5.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.0036 | μmol/L | 12.8168 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 31.603 | 153049.9806 | 304440.6376 | 30.45 | 114.2
232142 | 2021-10-29 10:21 | 5.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.9637 | μmol/L | 12.8107 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 31.704 | 153423.8497 | 304336.2313 | 30.45 | 114.2
232152 | 2021-10-29 10:21 | 5.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.9229 | μmol/L | 12.8107 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 31.803 | 153788.1947 | 304259.0489 | 30.45 | 114.2
232162 | 2021-10-29 10:22 | 6.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.9796 | μmol/L | 12.8046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 31.896 | 154181.1539 | 304217.6668 | 30.45 | 114.2
232172 | 2021-10-29 10:22 | 6.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.993 | μmol/L | 12.823 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 31.984 | 154550.2828 | 304174.864 | 30.45 | 114.2
232182 | 2021-10-29 10:22 | 6.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.1961 | μmol/L | 12.8168 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 32.064 | 154889.7321 | 304156.4699 | 30.45 | 114.2
232192 | 2021-10-29 10:23 | 7.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.4658 | μmol/L | 12.823 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 32.133 | 155171.4706 | 304115.0464 | 30.45 | 114.2
232202 | 2021-10-29 10:23 | 7.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.8732 | μmol/L | 12.8291 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.189 | 155404.7826 | 304093.3639 | 30.45 | 114.2
232212 | 2021-10-29 10:23 | 7.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.3245 | μmol/L | 12.8291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 32.243 | 155625.8739 | 304066.7134 | 30.45 | 114.2
232222 | 2021-10-29 10:24 | 8.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.7972 | μmol/L | 12.8352 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.293 | 155833.1835 | 304014.0322 | 30.45 | 114.2
232232 | 2021-10-29 10:24 | 8.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.3003 | μmol/L | 12.8414 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.34 | 156063.3118 | 303981.8044 | 30.45 | 114.2
232242 | 2021-10-29 10:24 | 8.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.7834 | μmol/L | 12.8475 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 32.389 | 156294.5935 | 303915.8941 | 30.45 | 114.2
232252 | 2021-10-29 10:25 | 9.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.2911 | μmol/L | 12.8414 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.441 | 156512.7014 | 303858.0938 | 30.45 | 114.2
232262 | 2021-10-29 10:25 | 9.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.9034 | μmol/L | 12.8414 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.48 | 156678.5222 | 303801.4878 | 30.45 | 114.2
232272 | 2021-10-29 10:25 | 9.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.5069 | μmol/L | 12.8414 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.52 | 156800.0903 | 303758.6258 | 30.45 | 114.2
232282 | 2021-10-29 10:26 | 10.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.0786 | μmol/L | 12.8598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.556 | 156928.3237 | 303734.4234 | 30.45 | 114.2
232292 | 2021-10-29 10:26 | 10.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.8214 | μmol/L | 12.8475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.587 | 157050.5134 | 303691.1485 | 30.45 | 114.2
232302 | 2021-10-29 10:26 | 10.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.439 | μmol/L | 12.8598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.621 | 157179.9898 | 303676.0806 | 30.45 | 114.2
232312 | 2021-10-29 10:27 | 11.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.1296 | μmol/L | 12.8536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.655 | 157309.2929 | 303640.368 | 30.45 | 114.2
232322 | 2021-10-29 10:27 | 11.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 121.8361 | μmol/L | 12.8536 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.685 | 157421.4666 | 303608.8688 | 30.45 | 114.2
232332 | 2021-10-29 10:27 | 11.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 121.4601 | μmol/L | 12.872 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 32.716 | 157517.0005 | 303579.164 | 30.45 | 114.2
232342 | 2021-10-29 10:28 | 12.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 121.2521 | μmol/L | 12.8659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.74 | 157623.5988 | 303553.1221 | 30.45 | 114.2
232352 | 2021-10-29 10:28 | 12.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 121.009 | μmol/L | 12.8659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.765 | 157718.0416 | 303530.2579 | 30.45 | 114.2
232362 | 2021-10-29 10:28 | 12.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 120.8731 | μmol/L | 12.8659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.779 | 157767.2272 | 303521.8098 | 30.45 | 114.2
232372 | 2021-10-29 10:29 | 13.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 120.8678 | μmol/L | 12.8598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.782 | 157748.0029 | 303498.2575 | 30.45 | 114.2
232382 | 2021-10-29 10:29 | 13.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 120.829 | μmol/L | 12.8598 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 32.786 | 157716.328 | 303475.0093 | 30.45 | 114.2