## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 10:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231986 | 2021-10-29 10:16 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.6301 | μmol/L | 13.137 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.341 | 155444.7955 | 270906.0764 | 32.55 | 27.7
231996 | 2021-10-29 10:16 | 0.33109 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.0088 | μmol/L | 13.1492 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.466 | 156083.4454 | 270857.1329 | 32.55 | 27.7
232006 | 2021-10-29 10:17 | 0.66452 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.7917 | μmol/L | 13.1553 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.562 | 156574.2247 | 270816.5191 | 32.55 | 27.7
232016 | 2021-10-29 10:17 | 0.99822 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 155.9324 | μmol/L | 13.1676 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.709 | 157366.2149 | 270766.316 | 32.55 | 27.7
232026 | 2021-10-29 10:17 | 1.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 153.6523 | μmol/L | 13.2652 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.858 | 158264.5125 | 270725.0188 | 32.55 | 27.7
232036 | 2021-10-29 10:18 | 1.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.4607 | μmol/L | 13.4301 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.975 | 159105.708 | 270678.1991 | 32.55 | 27.7
232046 | 2021-10-29 10:18 | 1.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.3871 | μmol/L | 13.4911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.127 | 159960.8232 | 270620.0497 | 32.55 | 27.7
232056 | 2021-10-29 10:18 | 2.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.3228 | μmol/L | 13.4118 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.338 | 161006.0147 | 270521.2733 | 32.55 | 27.7
232066 | 2021-10-29 10:19 | 2.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.46 | μmol/L | 13.485 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.56 | 162183.0162 | 270402.7975 | 32.55 | 27.7
232076 | 2021-10-29 10:19 | 2.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.0128 | μmol/L | 13.5888 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.737 | 163149.0863 | 270278.3221 | 32.55 | 27.7
232086 | 2021-10-29 10:19 | 3.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.5762 | μmol/L | 13.5827 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.87 | 163752.721 | 270164.6739 | 32.55 | 27.7
232096 | 2021-10-29 10:20 | 3.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.4999 | μmol/L | 13.4911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.006 | 164189.4578 | 270004.5516 | 32.55 | 27.7
232106 | 2021-10-29 10:20 | 3.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.5089 | μmol/L | 13.4973 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.095 | 164497.0006 | 269858.483 | 32.55 | 27.7
232116 | 2021-10-29 10:20 | 4.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.5204 | μmol/L | 13.5583 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.162 | 164701.3618 | 269723.3065 | 32.55 | 27.7
232126 | 2021-10-29 10:21 | 4.6652 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.193 | μmol/L | 13.5034 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.215 | 164810.5532 | 269610.6512 | 32.55 | 27.7
232136 | 2021-10-29 10:21 | 4.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.144 | μmol/L | 13.4362 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.247 | 164716.3253 | 269503.5046 | 32.55 | 27.7
232146 | 2021-10-29 10:21 | 5.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.2081 | μmol/L | 13.424 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.246 | 164513.7264 | 269406.3244 | 32.55 | 27.7
232156 | 2021-10-29 10:22 | 5.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.3845 | μmol/L | 13.4057 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.237 | 164311.9729 | 269345.7883 | 32.55 | 27.7
232166 | 2021-10-29 10:22 | 5.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.2882 | μmol/L | 13.4179 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.241 | 164204.4535 | 269283.4053 | 32.55 | 27.7
232176 | 2021-10-29 10:22 | 6.332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.069 | μmol/L | 13.4118 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.264 | 164246.5031 | 269244.2098 | 32.55 | 27.7
232186 | 2021-10-29 10:23 | 6.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.5785 | μmol/L | 13.424 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.305 | 164404.8943 | 269226.7188 | 32.55 | 27.7
232196 | 2021-10-29 10:23 | 6.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.899 | μmol/L | 13.4484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.359 | 164685.9682 | 269228.6546 | 32.55 | 27.7
232206 | 2021-10-29 10:23 | 7.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.2015 | μmol/L | 13.4484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.425 | 164944.4343 | 269206.5742 | 32.55 | 27.7
232216 | 2021-10-29 10:24 | 7.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.686 | μmol/L | 13.4606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.469 | 165201.8752 | 269202.7327 | 32.55 | 27.7
232226 | 2021-10-29 10:24 | 7.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.0581 | μmol/L | 13.5217 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.504 | 165429.8798 | 269195.7847 | 32.55 | 27.7
232236 | 2021-10-29 10:24 | 8.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.5625 | μmol/L | 13.5278 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.549 | 165643.3282 | 269194.2826 | 32.55 | 27.7
232246 | 2021-10-29 10:25 | 8.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.7534 | μmol/L | 13.5888 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.602 | 165983.64 | 269162.1529 | 32.55 | 27.7
232256 | 2021-10-29 10:25 | 8.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.1437 | μmol/L | 13.5888 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.661 | 166304.3037 | 269140.1432 | 32.55 | 27.7
232266 | 2021-10-29 10:25 | 9.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.4645 | μmol/L | 13.5766 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.732 | 166583.3813 | 269103.0503 | 32.55 | 27.7
232276 | 2021-10-29 10:26 | 9.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.1668 | μmol/L | 13.5522 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.771 | 166733.6763 | 269069.9124 | 32.55 | 27.7
232286 | 2021-10-29 10:26 | 9.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.9415 | μmol/L | 13.54 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.798 | 166817.8964 | 269055.6481 | 32.55 | 27.7
232296 | 2021-10-29 10:26 | 10.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.4311 | μmol/L | 13.5278 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.853 | 167034.0856 | 269036.1384 | 32.55 | 27.7
232306 | 2021-10-29 10:27 | 10.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.9329 | μmol/L | 13.5278 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.902 | 167253.2313 | 269004.658 | 32.55 | 27.7
232316 | 2021-10-29 10:27 | 10.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.5736 | μmol/L | 13.5461 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.93 | 167401.519 | 268980.6483 | 32.55 | 27.7
232326 | 2021-10-29 10:27 | 11.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.5027 | μmol/L | 13.5461 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.937 | 167390.6992 | 268953.2661 | 32.55 | 27.7
232336 | 2021-10-29 10:28 | 11.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6291 | μmol/L | 13.54 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.927 | 167297.2527 | 268936.5697 | 32.55 | 27.7
232346 | 2021-10-29 10:28 | 11.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6595 | μmol/L | 13.54 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.924 | 167224.5087 | 268920.0343 | 32.55 | 27.7
232356 | 2021-10-29 10:28 | 12.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.4773 | μmol/L | 13.54 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.942 | 167320.251 | 268891.4458 | 32.55 | 27.7
232366 | 2021-10-29 10:29 | 12.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.2599 | μmol/L | 13.5339 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.966 | 167411.6421 | 268890.6003 | 32.55 | 27.7
232376 | 2021-10-29 10:29 | 12.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.8166 | μmol/L | 13.5461 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.005 | 167631.7266 | 268880.2508 | 32.55 | 27.7
232386 | 2021-10-29 10:29 | 13.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.5199 | μmol/L | 13.54 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.037 | 167752.2425 | 268845.8101 | 32.55 | 27.7