## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 10:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231978 | 2021-10-29 10:16 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.0802 | μmol/L | 12.9046 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 28.882 | 169757.2605 | 302247.5847 | 59.9307 | 38.1
231988 | 2021-10-29 10:16 | 0.33331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.2382 | μmol/L | 12.9107 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 29.176 | 171525.2435 | 302170.9218 | 59.9307 | 38.1
231998 | 2021-10-29 10:16 | 0.66671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.966 | μmol/L | 12.9107 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 29.514 | 173641.4106 | 302137.7377 | 59.9307 | 38.1
232008 | 2021-10-29 10:17 | 1.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.8439 | μmol/L | 12.9168 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 29.847 | 175704.2337 | 302070.605 | 59.9307 | 38.1
232018 | 2021-10-29 10:17 | 1.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.9628 | μmol/L | 12.9168 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 30.087 | 177240.603 | 302046.128 | 59.9307 | 38.1
232028 | 2021-10-29 10:17 | 1.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.508 | μmol/L | 12.9473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 30.283 | 178527.831 | 301974.4501 | 59.9307 | 38.1
232038 | 2021-10-29 10:18 | 1.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.6699 | μmol/L | 12.9778 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 30.429 | 179514.8403 | 301878.1787 | 59.9307 | 38.1
232048 | 2021-10-29 10:18 | 2.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.9725 | μmol/L | 12.99 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 30.572 | 180348.8827 | 301708.1983 | 59.9307 | 38.1
232058 | 2021-10-29 10:18 | 2.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.5065 | μmol/L | 12.9778 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 30.706 | 181020.8042 | 301515.3056 | 59.9307 | 38.1
232068 | 2021-10-29 10:19 | 2.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.1847 | μmol/L | 13.0021 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.814 | 181629.0767 | 301351.2459 | 59.9307 | 38.1
232078 | 2021-10-29 10:19 | 3.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.9422 | μmol/L | 13.0204 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 30.918 | 182160.7354 | 301157.8274 | 59.9307 | 38.1
232088 | 2021-10-29 10:19 | 3.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.3084 | μmol/L | 13.0082 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.071 | 182881.0435 | 300936.1607 | 59.9307 | 38.1
232098 | 2021-10-29 10:20 | 3.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.9319 | μmol/L | 12.996 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.202 | 183479.5007 | 300722.9915 | 59.9307 | 38.1
232108 | 2021-10-29 10:20 | 4.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.7054 | μmol/L | 13.0021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.313 | 183991.1809 | 300587.8237 | 59.9307 | 38.1
232118 | 2021-10-29 10:20 | 4.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 133.633 | μmol/L | 13.0021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.413 | 184458.6278 | 300451.67 | 59.9307 | 38.1
232128 | 2021-10-29 10:21 | 4.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.8281 | μmol/L | 12.996 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.491 | 184748.1583 | 300330.6074 | 59.9307 | 38.1
232138 | 2021-10-29 10:21 | 5.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.2346 | μmol/L | 12.996 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.547 | 184926.9319 | 300230.767 | 59.9307 | 38.1
232148 | 2021-10-29 10:21 | 5.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 131.7807 | μmol/L | 12.996 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.59 | 185016.0056 | 300137.7791 | 59.9307 | 38.1
232158 | 2021-10-29 10:22 | 5.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 131.3761 | μmol/L | 13.0021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.626 | 185118.0629 | 300102.9168 | 59.9307 | 38.1
232168 | 2021-10-29 10:22 | 6.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 131.0357 | μmol/L | 13.0082 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.656 | 185189.8373 | 300060.753 | 59.9307 | 38.1
232178 | 2021-10-29 10:22 | 6.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.6556 | μmol/L | 13.0265 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.685 | 185251.5875 | 300029.6803 | 59.9307 | 38.1
232188 | 2021-10-29 10:23 | 6.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.3737 | μmol/L | 13.0265 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.712 | 185363.7788 | 300018.1381 | 59.9307 | 38.1
232198 | 2021-10-29 10:23 | 7.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.9005 | μmol/L | 13.0326 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.755 | 185559.5727 | 299984.567 | 59.9307 | 38.1
232208 | 2021-10-29 10:23 | 7.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.46 | μmol/L | 13.0387 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.795 | 185744.3549 | 299955.7741 | 59.9307 | 38.1
232218 | 2021-10-29 10:24 | 7.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.114 | μmol/L | 13.0448 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.826 | 185882.5733 | 299917.0291 | 59.9307 | 38.1
232228 | 2021-10-29 10:24 | 8.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.8263 | μmol/L | 13.057 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.849 | 185991.0748 | 299891.5741 | 59.9307 | 38.1
232238 | 2021-10-29 10:24 | 8.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.5751 | μmol/L | 13.0509 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.876 | 186076.503 | 299851.9292 | 59.9307 | 38.1
232248 | 2021-10-29 10:25 | 8.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.2563 | μmol/L | 13.0509 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.907 | 186214.6209 | 299815.2378 | 59.9307 | 38.1
232258 | 2021-10-29 10:25 | 9.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.008 | μmol/L | 13.0509 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.931 | 186296.2229 | 299784.1856 | 59.9307 | 38.1
232268 | 2021-10-29 10:25 | 9.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 127.7475 | μmol/L | 13.057 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 31.954 | 186372.2103 | 299747.923 | 59.9307 | 38.1
232278 | 2021-10-29 10:26 | 9.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 127.545 | μmol/L | 13.057 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.974 | 186447.4159 | 299708.0459 | 59.9307 | 38.1
232288 | 2021-10-29 10:26 | 10.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 127.2752 | μmol/L | 13.0631 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.998 | 186533.5955 | 299695.605 | 59.9307 | 38.1
232298 | 2021-10-29 10:26 | 10.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 127.0409 | μmol/L | 13.0631 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.021 | 186617.0633 | 299674.602 | 59.9307 | 38.1
232308 | 2021-10-29 10:27 | 11 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 126.7759 | μmol/L | 13.0753 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 32.042 | 186712.1848 | 299647.3974 | 59.9307 | 38.1
232318 | 2021-10-29 10:27 | 11.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 126.4836 | μmol/L | 13.0753 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.071 | 186840.8333 | 299631.2941 | 59.9307 | 38.1
232328 | 2021-10-29 10:27 | 11.6665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 126.0339 | μmol/L | 13.0814 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.113 | 187051.2896 | 299595.9577 | 59.9307 | 38.1
232338 | 2021-10-29 10:28 | 11.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 125.5887 | μmol/L | 13.0692 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.162 | 187308.9939 | 299588.9179 | 59.9307 | 38.1
232348 | 2021-10-29 10:28 | 12.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 125.2022 | μmol/L | 13.0753 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.198 | 187469.0916 | 299577.4321 | 59.9307 | 38.1
232358 | 2021-10-29 10:28 | 12.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 124.805 | μmol/L | 13.0814 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 32.235 | 187684.9921 | 299548.4992 | 59.9307 | 38.1
232368 | 2021-10-29 10:29 | 12.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 124.5055 | μmol/L | 13.0692 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.27 | 187863.7673 | 299540.5179 | 59.9307 | 38.1
232378 | 2021-10-29 10:29 | 13.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 124.2318 | μmol/L | 13.0753 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.295 | 187982.6003 | 299547.0728 | 59.9307 | 38.1