## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 09:49

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231509 | 2021-10-29 09:33 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.5332 | μmol/L | 17.3637 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.476 | 140898.7959 | 303547.4465 | 59.9307 | 38.1
231518 | 2021-10-29 09:33 | 0.33343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.1031 | μmol/L | 17.3576 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.501 | 141077.0068 | 303584.2114 | 59.9307 | 38.1
231528 | 2021-10-29 09:33 | 0.66738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.8869 | μmol/L | 17.3393 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.519 | 141237.025 | 303615.5639 | 59.9307 | 38.1
231538 | 2021-10-29 09:34 | 1.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.5365 | μmol/L | 17.327 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.542 | 141395.1481 | 303650.4086 | 59.9307 | 38.1
231548 | 2021-10-29 09:34 | 1.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.243 | μmol/L | 17.3148 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.562 | 141588.8507 | 303683.1327 | 59.9307 | 38.1
231558 | 2021-10-29 09:34 | 1.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.8285 | μmol/L | 17.3209 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.582 | 141779.1083 | 303724.2699 | 59.9307 | 38.1
231568 | 2021-10-29 09:35 | 2.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.3435 | μmol/L | 17.3209 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.608 | 141967.1103 | 303742.4559 | 59.9307 | 38.1
231578 | 2021-10-29 09:35 | 2.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.9962 | μmol/L | 17.3087 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.631 | 142132.5814 | 303766.0649 | 59.9307 | 38.1
231588 | 2021-10-29 09:35 | 2.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.7425 | μmol/L | 17.2965 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.649 | 142297.9431 | 303807.046 | 59.9307 | 38.1
231598 | 2021-10-29 09:36 | 3.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.291 | μmol/L | 17.3087 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.669 | 142484.7391 | 303829.7017 | 59.9307 | 38.1
231608 | 2021-10-29 09:36 | 3.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.9861 | μmol/L | 17.2904 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.692 | 142641.8219 | 303857.9285 | 59.9307 | 38.1
231618 | 2021-10-29 09:36 | 3.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.6167 | μmol/L | 17.2904 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.712 | 142802.1639 | 303886.2302 | 59.9307 | 38.1
231628 | 2021-10-29 09:37 | 4.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.288 | μmol/L | 17.2843 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.732 | 142961.1622 | 303927.0897 | 59.9307 | 38.1
231638 | 2021-10-29 09:37 | 4.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.9968 | μmol/L | 17.2782 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.75 | 143094.113 | 303927.7417 | 59.9307 | 38.1
231648 | 2021-10-29 09:37 | 4.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.7795 | μmol/L | 17.2721 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.764 | 143233.3358 | 303953.2294 | 59.9307 | 38.1
231658 | 2021-10-29 09:38 | 5.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.5442 | μmol/L | 17.266 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.779 | 143362.3462 | 303964.7575 | 59.9307 | 38.1
231668 | 2021-10-29 09:38 | 5.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.196 | μmol/L | 17.266 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.798 | 143491.7446 | 303985.772 | 59.9307 | 38.1
231678 | 2021-10-29 09:38 | 5.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.9615 | μmol/L | 17.2599 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.813 | 143603.3836 | 303994.549 | 59.9307 | 38.1
231688 | 2021-10-29 09:39 | 6.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.767 | μmol/L | 17.2477 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.828 | 143726.3009 | 304015.0707 | 59.9307 | 38.1
231698 | 2021-10-29 09:39 | 6.3347 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.5729 | μmol/L | 17.2355 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.843 | 143855.3448 | 304035.8594 | 59.9307 | 38.1
231708 | 2021-10-29 09:39 | 6.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.2663 | μmol/L | 17.2294 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.862 | 144004.4746 | 304061.3832 | 59.9307 | 38.1
231718 | 2021-10-29 09:40 | 7.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.0149 | μmol/L | 17.2233 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.878 | 144145.5733 | 304096.0914 | 59.9307 | 38.1
231728 | 2021-10-29 09:40 | 7.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.815 | μmol/L | 17.2233 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.889 | 144251.5395 | 304118.6106 | 59.9307 | 38.1
231738 | 2021-10-29 09:40 | 7.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.5823 | μmol/L | 17.2172 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.904 | 144357.3947 | 304133.953 | 59.9307 | 38.1
231748 | 2021-10-29 09:41 | 8.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.3648 | μmol/L | 17.2172 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.916 | 144468.2029 | 304142.2969 | 59.9307 | 38.1
231758 | 2021-10-29 09:41 | 8.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.2085 | μmol/L | 17.205 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.929 | 144559.382 | 304165.1629 | 59.9307 | 38.1
231768 | 2021-10-29 09:41 | 8.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.0637 | μmol/L | 17.205 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.937 | 144651.9097 | 304196.2182 | 59.9307 | 38.1
231778 | 2021-10-29 09:42 | 9.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.8896 | μmol/L | 17.1928 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.951 | 144744.6439 | 304211.3002 | 59.9307 | 38.1
231788 | 2021-10-29 09:42 | 9.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.8094 | μmol/L | 17.1745 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.962 | 144849.7124 | 304249.8822 | 59.9307 | 38.1
231798 | 2021-10-29 09:42 | 9.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.6897 | μmol/L | 17.1622 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.973 | 144952.4362 | 304272.2807 | 59.9307 | 38.1
231808 | 2021-10-29 09:43 | 10.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.4159 | μmol/L | 17.1683 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.986 | 145034.1892 | 304287.4932 | 59.9307 | 38.1
231818 | 2021-10-29 09:43 | 10.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.3506 | μmol/L | 17.1561 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.994 | 145126.9251 | 304308.7725 | 59.9307 | 38.1
231828 | 2021-10-29 09:43 | 10.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.21 | μmol/L | 17.15 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.004 | 145219.7828 | 304360.4443 | 59.9307 | 38.1
231838 | 2021-10-29 09:44 | 11.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.0942 | μmol/L | 17.1317 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.017 | 145312.1022 | 304375.2366 | 59.9307 | 38.1
231848 | 2021-10-29 09:44 | 11.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.9718 | μmol/L | 17.1256 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.026 | 145416.6144 | 304416.7692 | 59.9307 | 38.1
231858 | 2021-10-29 09:44 | 11.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.8135 | μmol/L | 17.1195 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.037 | 145506.0747 | 304420.3383 | 59.9307 | 38.1
231868 | 2021-10-29 09:45 | 12.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.6017 | μmol/L | 17.1134 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.051 | 145611.6103 | 304453.6845 | 59.9307 | 38.1
231878 | 2021-10-29 09:45 | 12.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.4651 | μmol/L | 17.1012 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.063 | 145743.4398 | 304486.9584 | 59.9307 | 38.1
231888 | 2021-10-29 09:45 | 12.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.1285 | μmol/L | 17.0951 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.084 | 145896.2896 | 304510.5648 | 59.9307 | 38.1
231898 | 2021-10-29 09:46 | 13.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.7746 | μmol/L | 17.089 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.106 | 146085.1406 | 304535.2976 | 59.9307 | 38.1
231908 | 2021-10-29 09:46 | 13.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.3503 | μmol/L | 17.0829 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.132 | 146269.9628 | 304560.8216 | 59.9307 | 38.1
231918 | 2021-10-29 09:46 | 13.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.998 | μmol/L | 17.0768 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.154 | 146442.1789 | 304559.3159 | 59.9307 | 38.1
231928 | 2021-10-29 09:47 | 14.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.7564 | μmol/L | 17.0646 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.172 | 146597.8043 | 304590.9596 | 59.9307 | 38.1
231938 | 2021-10-29 09:47 | 14.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.5009 | μmol/L | 17.0463 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.193 | 146731.0064 | 304606.9075 | 59.9307 | 38.1
231948 | 2021-10-29 09:47 | 14.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.2601 | μmol/L | 17.0341 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.211 | 146891.8237 | 304644.578 | 59.9307 | 38.1
231958 | 2021-10-29 09:48 | 15.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.8183 | μmol/L | 17.0341 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.236 | 147052.0348 | 304641.8079 | 59.9307 | 38.1
231968 | 2021-10-29 09:48 | 15.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.6102 | μmol/L | 17.028 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 24.25 | 147196.163 | 304662.7947 | 59.9307 | 38.1