## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 09:49

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231513 | 2021-10-29 09:33 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.6804 | μmol/L | 17.3886 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.935 | 114977.828 | 307659.8389 | 30.45 | 114.2
231523 | 2021-10-29 09:33 | 0.33891 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.1549 | μmol/L | 17.3947 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.962 | 115148.8701 | 307733.5782 | 30.45 | 114.2
231533 | 2021-10-29 09:33 | 0.67221 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.6881 | μmol/L | 17.3947 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.988 | 115301.3391 | 307784.9552 | 30.45 | 114.2
231543 | 2021-10-29 09:34 | 1.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.3727 | μmol/L | 17.3824 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.01 | 115458.9933 | 307820.6543 | 30.45 | 114.2
231553 | 2021-10-29 09:34 | 1.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.9044 | μmol/L | 17.3886 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.034 | 115589.6823 | 307857.4641 | 30.45 | 114.2
231563 | 2021-10-29 09:34 | 1.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.5691 | μmol/L | 17.3824 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.055 | 115703.1082 | 307900.5886 | 30.45 | 114.2
231573 | 2021-10-29 09:35 | 2.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.3803 | μmol/L | 17.3702 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.07 | 115785.649 | 307932.5403 | 30.45 | 114.2
231583 | 2021-10-29 09:35 | 2.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.2095 | μmol/L | 17.3579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.084 | 115911.7364 | 307969.1472 | 30.45 | 114.2
231593 | 2021-10-29 09:35 | 2.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.9785 | μmol/L | 17.3579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.097 | 115998.9755 | 308019.0051 | 30.45 | 114.2
231603 | 2021-10-29 09:36 | 3.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.7336 | μmol/L | 17.3517 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.113 | 116090.0145 | 308055.9427 | 30.45 | 114.2
231613 | 2021-10-29 09:36 | 3.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.56 | μmol/L | 17.3456 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.125 | 116196.9504 | 308090.1783 | 30.45 | 114.2
231623 | 2021-10-29 09:36 | 3.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.3299 | μmol/L | 17.3456 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.138 | 116286.5032 | 308114.7327 | 30.45 | 114.2
231633 | 2021-10-29 09:37 | 4.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.1036 | μmol/L | 17.3395 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.153 | 116393.4793 | 308143.5736 | 30.45 | 114.2
231643 | 2021-10-29 09:37 | 4.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.8812 | μmol/L | 17.3272 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.17 | 116486.3728 | 308179.2549 | 30.45 | 114.2
231653 | 2021-10-29 09:37 | 4.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.6696 | μmol/L | 17.3272 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.182 | 116579.3026 | 308206.8578 | 30.45 | 114.2
231663 | 2021-10-29 09:38 | 5.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.3915 | μmol/L | 17.321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.2 | 116669.7266 | 308210.471 | 30.45 | 114.2
231673 | 2021-10-29 09:38 | 5.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.258 | μmol/L | 17.3088 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.212 | 116771.4774 | 308258.3238 | 30.45 | 114.2
231683 | 2021-10-29 09:38 | 5.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.0507 | μmol/L | 17.3026 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.226 | 116860.0175 | 308273.2047 | 30.45 | 114.2
231693 | 2021-10-29 09:39 | 6.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.7875 | μmol/L | 17.3026 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.241 | 116940.0457 | 308287.6306 | 30.45 | 114.2
231703 | 2021-10-29 09:39 | 6.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.5634 | μmol/L | 17.2965 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.256 | 117023.8005 | 308318.9136 | 30.45 | 114.2
231713 | 2021-10-29 09:39 | 6.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.4306 | μmol/L | 17.2842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.268 | 117125.3013 | 308342.288 | 30.45 | 114.2
231723 | 2021-10-29 09:40 | 7.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.2382 | μmol/L | 17.2842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.279 | 117183.6682 | 308371.4052 | 30.45 | 114.2
231733 | 2021-10-29 09:40 | 7.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.1058 | μmol/L | 17.2719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.291 | 117278.3803 | 308385.05 | 30.45 | 114.2
231743 | 2021-10-29 09:40 | 7.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.8825 | μmol/L | 17.2658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.306 | 117364.2871 | 308423.8559 | 30.45 | 114.2
231753 | 2021-10-29 09:41 | 8.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.7715 | μmol/L | 17.2474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.319 | 117451.7267 | 308443.791 | 30.45 | 114.2
231763 | 2021-10-29 09:41 | 8.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.6321 | μmol/L | 17.2474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.327 | 117517.2713 | 308471.8601 | 30.45 | 114.2
231773 | 2021-10-29 09:41 | 8.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.4654 | μmol/L | 17.2351 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.341 | 117590.7512 | 308481.3501 | 30.45 | 114.2
231783 | 2021-10-29 09:42 | 9.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.2567 | μmol/L | 17.2351 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.353 | 117667.0766 | 308498.0738 | 30.45 | 114.2
231793 | 2021-10-29 09:42 | 9.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.1425 | μmol/L | 17.2228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.364 | 117741.8668 | 308524.7022 | 30.45 | 114.2
231803 | 2021-10-29 09:42 | 9.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.9727 | μmol/L | 17.2167 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.376 | 117806.3128 | 308528.6263 | 30.45 | 114.2
231813 | 2021-10-29 09:43 | 10.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.9627 | μmol/L | 17.2044 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.381 | 117877.7078 | 308557.6909 | 30.45 | 114.2
231823 | 2021-10-29 09:43 | 10.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.7238 | μmol/L | 17.1982 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.397 | 117947.9517 | 308606.6363 | 30.45 | 114.2
231833 | 2021-10-29 09:43 | 10.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.5506 | μmol/L | 17.1982 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.407 | 118011.5435 | 308639.2833 | 30.45 | 114.2
231843 | 2021-10-29 09:44 | 11.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.416 | μmol/L | 17.1921 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.417 | 118070.3072 | 308661.714 | 30.45 | 114.2
231853 | 2021-10-29 09:44 | 11.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.2469 | μmol/L | 17.1859 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.429 | 118151.4401 | 308706.6935 | 30.45 | 114.2
231863 | 2021-10-29 09:44 | 11.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.0607 | μmol/L | 17.1798 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.442 | 118213.9187 | 308721.8834 | 30.45 | 114.2
231873 | 2021-10-29 09:45 | 12.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.0374 | μmol/L | 17.1614 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.45 | 118287.8325 | 308749.1377 | 30.45 | 114.2
231883 | 2021-10-29 09:45 | 12.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.8478 | μmol/L | 17.1614 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.461 | 118357.9237 | 308782.0338 | 30.45 | 114.2
231893 | 2021-10-29 09:45 | 12.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.7864 | μmol/L | 17.1491 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.469 | 118436.5759 | 308819.79 | 30.45 | 114.2
231903 | 2021-10-29 09:46 | 13.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.6524 | μmol/L | 17.143 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.479 | 118501.6411 | 308819.3911 | 30.45 | 114.2
231913 | 2021-10-29 09:46 | 13.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.5357 | μmol/L | 17.1368 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.488 | 118564.8016 | 308838.3345 | 30.45 | 114.2
231923 | 2021-10-29 09:46 | 13.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.4057 | μmol/L | 17.1245 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.5 | 118632.4219 | 308875.5268 | 30.45 | 114.2
231933 | 2021-10-29 09:47 | 14.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2168 | μmol/L | 17.1245 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.511 | 118724.3889 | 308917.0233 | 30.45 | 114.2
231943 | 2021-10-29 09:47 | 14.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.049 | μmol/L | 17.1184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.523 | 118784.8624 | 308950.8872 | 30.45 | 114.2
231953 | 2021-10-29 09:47 | 14.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.9537 | μmol/L | 17.1061 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.533 | 118865.9613 | 308977.4364 | 30.45 | 114.2
231963 | 2021-10-29 09:48 | 15.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.8376 | μmol/L | 17.1 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.542 | 118928.8619 | 308981.0779 | 30.45 | 114.2
231973 | 2021-10-29 09:48 | 15.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.8623 | μmol/L | 17.0877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.545 | 118968.7683 | 309005.9265 | 30.45 | 114.2